# ONTARIO

## ENERGY

BOARD

| FILE NO.: | ### EB-2005-0230 |  |
| --- | --- | --- |
| VOLUME: DATE: BEFORE: | 1 June 20, 2005 Gordon Kaiser Paul Vlahos Bob Betts | Presiding Member and Vice Chair Member Member |

EB-2005-0230

#### THE ONTARIO ENERGY BOARD

IN THE MATTER OF the Ontario Energy Board Act, 1998, S.O.1998, c.15, Schedule B;

AND IN THE MATTER OF an application by Erie Shores Wind Farm Limited Partnership for an Order granting leave to construct transmission facilities to connect a wind farm to the transmission facilities of Hydro One Network Inc.

Hearing held at 2300 Yonge Street,

25th Floor, West Hearing Room,

Toronto, Ontario, on Monday,

June 20, 2005, commencing at 9:00 a.m.

--------

Volume 1

--------

B E F O R E:

GORDON KAISER			PRESIDING MEMBER AND VICE CHAIR

PAUL VLAHOS			MEMBER

BOB BETTS				MEMBER

A P P E A R A N C E S

MICHAEL MILLAR  			Board Counsel

ANDREW TAYLOR			Erie Shores Wind Farm

Limited Partnership

MARY ANNE ALDRED			Hydro One Networks Inc.

DAVID BROWN				Independent Electricity

System Operator

BRYAN GILVESY			George and Margaret Gilvesy

I N D E X   O F   P R O C E E D I N G S

Description								Page No.

Appearances									1

Preliminary Matters						2

Erie Shores Wind Farm Limited Partnership Panel 1:	3

Carvalho, Eratostene, Kumar, Crawley; Sworn

Examination by Mr. Taylor					3

Cross-examination by Mr. Millar				23

Questions from the Board						30

Re-examination by Mr. Taylor					34

Self-represented Panel 1:						35

Gilvesy; Sworn

Opening Statement by Mr. Gilvesy				35

Cross-examination by Mr. Taylor				45

Cross-examination by Mr. Millar				50

Questions from the Board						51

Independent Electricity System Operator Panel 1:	66

Singh, Falvo, Lubek; Sworn

Examination by Ms. Aldred					66

Cross-examination by Mr. Brown				72

Cross-examination by Mr. Millar				81

Questions from the Board					88

Procedural Matters							91

Closing Argument by Mr. Taylor					97

Closing Argument by Mr. Millar					107

Decision								116

Appendix A								126

E X H I B I T S

Description								Page No.

EXHIBIT NO. D1.1:  CURRICULUM VITAE OF				4

MR. VIV CARVALHO

EXHIBIT NO. D1.2:  CURRICULUM VITAE OF				6

MR. JOSEPH ERATOSTENE

EXHIBIT NO. D1.3:  CURRICULUM VITAE OF				8

MR. SUNIL KUMAR

EXHIBIT NO. D1.4:  CURRICULUM VITAE OF				9

MR. MIKE CRAWLEY

EXHIBIT NO. D1.5:  PROPOSED FACILITIES				14

EXHIBIT NO. D1.6:  SUMMARY OF PRE-FILED EVIDENCE		14

EXHIBIT NO. D1.7:  REVISED MAP					15

EXHIBIT NO. D1.8:  STATEMENT OF COMPLETION			19

EXHIBIT NO. D1.9:  CURRICULUM VITAE OF				74

MR. BOB SINGH

EXHIBIT NO. D.1.10:  FINAL DRAFT OF THE CUSTOMER		74

IMPACT ASSESSMENT

EXHIBIT NO. D1.11:  CURRICULUM VITAE OF				74

MR. MIKE FALVO

EXHIBIT NO. D1.12:  CURRICULUM VITAE OF				75

MR. JACK LUBEK

U N D E R T A K I N G S

Description								Page No.

No undertakings provided during the hearing

Monday, June 20, 2005

--- Upon commencing at 8:58 a.m.

MR. KAISER:  Please be seated.  The Board is sitting today to hear an application filed January 18th by Erie Shores Wind Farm Limited Partnership.  This is an application under section 92(1) of the Ontario Energy Board Act.  The applicant is seeking an order of this Board to grant to obtain a leave to construct with respect to certain transmission facilities which will connect the applicant's wind farm on the north shore of Lake Erie to the transmission facilities of Hydro One Network.

Can we have the appearances, please?

APPEARANCES:

MR. TAYLOR:  Good morning, Mr. Chair, my name is Andrew Taylor.  I'm counsel for the Erie Shores Wind Farm Limited Partnership.

MR. KAISER:  Thank you, Mr. Taylor.

MS. ALDRED:  Mary Anne Aldred, Mr. Chairman, counsel for Hydro One.

MR. BROWN:  David Brown, counsel for the Independent Electricity System Operator.

MR. KAISER:  Mr. Brown.  Anyone else?  Mr. Millar.

MR. MILLAR:  Michael Millar for Board Staff, Mr. Chair.  And, Mr. Chair, there is a member of the public here, as well.  I invite him to introduce himself.

MR. GILVESY:  Bryan Gilvesy.  I'm representing my parents, George and Margaret Gilvesy.

MR. KAISER:  Any preliminary matters, Mr. Millar?

PRELIMINARY MATTERS:

MR. MILLAR:  No, Mr. Chair.  Mr. Mikhail has just brought up a set of exhibits that we will be introducing, so they are there.  They are not exhibits yet, but they will be throughout the course of the hearing.

MR. KAISER:  Mr. Taylor.

MR. TAYLOR:  Thank you, Mr. Chair.  We're actually waiting for one member of our panel, who should be here momentarily.  He just stepped out about five minutes ago.  But I can give you an overview of where we see things going today.  We have a panel here that's made up of members from the Erie Shores Wind Farm Limited Partnership team who will be discussing the -- giving an overview of the project, discussing any changes that have been made to the project that are not yet reflected in the evidence, and, as well, answering obviously any questions that you or counsel may have.

After this panel, we have a second panel that will be comprised of two members from the IESO and one employee of Hydro One.  The Hydro One employee, Mr. Bob Singh, will be here to discuss the CIA, final CIA, which has yet to be filed.

And the two members from the IESO are here today to discuss -- to discuss the IESO response to Board Staff's Interrogatory No. 2A, and, as well, to talk about congestion on the system and answer any questions that the Panel may have in that regard.

So at this time, I'd like to introduce my first panel. Sitting closest to me is Mr. Viv Carvalho.  Next to him is Joseph Eratostene.  Next to him is Mr. Sunil Kumar, and sitting next to him is Mr. Mike Crawley.  Perhaps we can have the witness panel sworn in.

ERIE SHORES WIND FARM LIMITED PARTNERSHIP - PANEL 1:

Viv Carvalho; Sworn

Joseph Eratostene; Sworn

# Sunil Kumar; Sworn

Mike Crawley; Sworn

MR. BETTS:  And the witnesses are sworn.

MR. TAYLOR:  At this point, Mr. Chair, I'd like to walk the witnesses through their credentials.

MR. KAISER:  Okay.

EXAMINATION BY MR. TAYLOR:

MR. TAYLOR:  We'll start with you, Mr. Carvalho.  I understand that you have a B.Sc. in electrical engineering, honours, as well as a Ph.D. in power systems and an MBA; is that correct?

MR. CARVALHO:  Yes.

MR. TAYLOR:  And that from 1967 to 1993 you worked with Ontario Hydro?

MR. CARVALHO:  That's right.

MR. TAYLOR:  And in 1967, you were an analytical planning engineer where you carried out detailed system planning studies for incorporation of major generation stations and for interconnected system operations; is that correct?

MR. CARVALHO:  Yes.

MR. TAYLOR:  I might add, also, that this resume is in the package of exhibits that is being left with the Panel members.

MR. KAISER:  Do you want to mark these?

MR. TAYLOR:  Yes.

MR. KAISER:  Mr. Carvalho's CV would be Exhibit D1.1.

EXHIBIT NO. D1.1.:  CURRICULUM VITAE OF MR. VIV

CARVALHO.

MR. TAYLOR:  And, Mr. Carvalho, in 1972, while at Ontario Hydro, you became a transmission planning engineer where you were responsible for the lease-cost transmission plans for the bulk system; is that correct?

MR. CARVALHO:  Yes.

MR. TAYLOR:  And in 1977, you became a system -- I'm sorry, in 1976 you became a supervising transmission planning engineer where you were responsible for transmission plans for northeastern and northwestern Ontario?

MR. CARVALHO:  Yes.

MR. TAYLOR:  And in 1977, you were a system performance manager where you were responsible for the provision of limits and instructions for the secure operation of Ontario Hydro grid system and of the impacts of interconnected system transactions and operations?

MR. CARVALHO:  Yes.

MR. TAYLOR:  Then in 1986, you became a resource utilization manager where you were responsible for short-term plans for optimum utilization of capacity and energy for the Ontario Hydro system and for implementing the plans through system control centre instructions and operator training?

MR. CARVALHO:  Yes.

MR. TAYLOR:  And then in 1991 you became a manager of information management and operations where you were appointed to do management function, responsible for improving performance by leading the planning and implementation of plans for improved access flow of information involving process improvement, information technology implementations?

MR. CARVALHO:  Yes.

MR. TAYLOR:  And then from 1993 to 2001 you were a senior staff specialist with -- power system planning with Acres International?

MR. CARVALHO:  Yes.

MR. TAYLOR:  And in that capacity you designed the process and first version of the 10-year and 18-month outlook for Ontario power system for the IMO?

MR. CARVALHO:  Yes.

MR. TAYLOR:  And since 2001 you have been operating as a consultant on system planning engineering?

MR. CARVALHO:  Yes.

MR. TAYLOR:  Can you please tell me what your involvement has been with the Erie Shores Wind Farm project?

MR. CARVALHO:  Yes.  I carried out initial studies for the system impact assessment for the IMO, under IMO direction.

MR. TAYLOR:  Okay, thank you.  This would have been a study that was submitted to the IESO for the purpose of creating the SIA, system impact assessment?

MR. CARVALHO:  That's right.  It's the appendix to the SIA.

MR. TAYLOR:  Mr. Eratostene.  We have a resume in that package, as well, Mr. Chair, the resume for Mr. Eratostene.  Perhaps you would like to label it as an exhibit.

MR. MILLAR:  D1.2.

EXHIBIT D1.2:  CURRICULUM VITAE OF MR. JOSEPH

ERATOSTENE.

MR. KAISER:  Thank you.

MR. TAYLOR:  Mr. Eratostene, you are a professional engineer.

MR. ERATOSTENE:  Yes, I am.

MR. TAYLOR:  And you obtained an BS in mathematics from the University of Toronto in 1983?

MR. ERATOSTENE:  Yes.

MR. TAYLOR:  And a BA in electrical engineering from the University of Toronto in 1990?

MR. ERATOSTENE:  A Bachelor of Applied Science, BASc.

MR. TAYLOR:  Okay, thank you.  And from 1990 to 1994, you were a field service engineer with Westinghouse Canada?

MR. ERATOSTENE:  Yes.

MR. TAYLOR:  Okay.  And from 1994 to 1995, you were an electrical specialist, technical services division, public works, with the Federal Government of Canada?

MR. ERATOSTENE:  Yes.

MR. TAYLOR:  And while there, you commissioned electrical projects, road specifications, energy studies and evaluations, drawings, reports; you supervised installations of projects and worked closely with contractors?

MR. ERATOSTENE:  Yes.

MR. TAYLOR:  And then from 1995 to 2000, you were the

engineering manager and president of EZ Engineering Inc.?

MR. ERATOSTENE:  EZ Engineering, yes.

MR. TAYLOR:  Thank you.  This was a small engineering firm that provided electrical, instrumentation and database

engineering services for Ontario and B.C.?

MR. ERATOSTENE:  Yes.

MR. TAYLOR:  And from 1999 to 2001, you were an electrical division manager, lead electrical designer, and

instrumentation designer of a Toronto consulting firm?

MR. ERATOSTENE:  Yes.

MR. TAYLOR:  What was that consulting firm?

MR. ERATOSTENE:  Acres & Associated.

MR. TAYLOR:  Thank you.  And since then you've been

working with MacViro.

MR. ERATOSTENE:  Sorry, I had two years with CH2M Hill as the group leader for their electrical and INC work.  For two years after Acres & Associated, I was with CH2M Hill for two years.

MR. TAYLOR:  Okay.  And when did you start with MacViro?

MR. ERATOSTENE:  Two years ago.

MR. TAYLOR:  Okay.  And at MacViro, you are a business unit leader for the power and automation group that's responsible for all aspects of the electrical and automation designs and upgrades at MacViro?

MR. ERATOSTENE:  Yes.

MR. TAYLOR:  Okay.  And what was your involvement in the Erie Shores project?

MR. ERATOSTENE:  I'm one of the senior designers on the Project, looking at -- you know, right from assisting in the inspection of the wind turbines to assisting in the connections, interconnections, designs.  All aspects of it.

MR. ERATOSTENE:  Okay.  Thank you, Mr. Eratostene.

Let's move on to Mr. Sunil Kumar.  Perhaps you would like to mark this CV as an exhibit.

MR. MILLAR:  D1.3.

## EXHIBIT NO. D1.3:  CURRICULUM VITAE OF SUNIL KUMAR

MR. TAYLOR:  Mr. Kumar, you are a provincial engineer?

MR. KUMAR:  That's correct.

MR. TAYLOR:  You also hold your MBA.

MR. KUMAR:  Yes.

MR. TAYLOR:  And you're a business manager, energy

solutions, with MacViro?

MR. KUMAR:  Correct.

MR. TAYLOR:  And I understand that you have over 24 years of experience in the energy and environmental fields?

MR. KUMAR:  Yes.

MR. TAYLOR:  And I understand that recently you've been leading MacViro’s projects in the wind sector and have been involved in over six potential projects?

MR. KUMAR:  That's correct.

MR. TAYLOR:  Are those potential wind projects?

MR. KUMAR:  That's correct.

MR. TAYLOR:  Okay.  And can you tell me what your involvement in the Erie Shores project has been?

MR. KUMAR:  Yes.  MacViro was retained by AIM as the owner’s engineer and to do the environmental studies, and I've been the project manager at MacViro working with AIM on these aspects.

MR. TAYLOR:  Thank you.

If we could move on to Mr. Crawley.

MR. MILLAR:  His CV will be Exhibit 1.4.

# EXHIBIT NO. D1.4:  CURRICULUM VITAE OF MIKE CRAWLEY

MR. TAYLOR:  Mr. Crawley, I understand you graduated from University of Western Ontario in 1990, with a Bachelor of Arts?

MR. CRAWLEY:  That's correct.

MR. TAYLOR:  And you worked with the Canadian Imperial

Bank of Commerce from 1995 to 2002; is that correct?

MR. CRAWLEY:  That's correct.

MR. TAYLOR:  And while you were there, from 1995 to ’97, you were a general manager of small business banking?

MR. CRAWLEY:  Yes.

MR. TAYLOR:  And you were involved in the development and implementation of a new small business banking strategy that involved the restructuring and retraining of the CIBC's small business sales force.

MR. CRAWLEY:  That's correct.

MR. TAYLOR:  And then in 1998, you became a senior consultant with CIBC, as well as Toronto Dominion Bank corporate merger team, where you led an analysis of competition law impediments related to small business banking and proposed -- in the proposed CIBC and TD merger, and developed a potential resolutions?

MR. CRAWLEY:  That's correct.

MR. TAYLOR:  And then from ‘98 to 1999, you were director of small business banking where you led the development of alternate sales transactions, channels and created e-commerce offer?

MR. CRAWLEY:  That's correct.

MR. TAYLOR:  And then from 1999 to 2002, you were a

national sales leader, director of sales, for Bizmark which explored growth opportunities in the small business market that led to the creation of the new small business bank?

MR. CRAWLEY:  That's right.

MR. TAYLOR:  And from 2002 to the present, you've been president and CEO of AIM PowerGen?

MR. CRAWLEY:  That's correct.

MR. TAYLOR:  Can you tell me what your functions have

been in that capacity?

MR. CRAWLEY:  Sure.  I've been responsible for the overall corporate direction and strategy of AIM, including, obviously, supplier selection, staffing, selection of new employees, recruiting new employees, vendor negotiation, land optioning, negotiation of agreements with municipal governments and other required permits, as well as development of projects that we have under development in Ontario and other provinces across Canada.

MR. TAYLOR:  Thank you.

At this time, with the Panel's permission, I'd like to walk our witness panel through a high-level overview of the Erie Shores project.

MR. KAISER:  Please proceed.

MR. TAYLOR:  Thank you.

Why don't we start with you, Mr. Crawley.  Can you please tell us a little bit about how the Erie Shores Wind Farm came to be?

MR. CRAWLEY:  Sure.  In early 2002, AIM had identified an area along the north shore of Lake Erie that, based on historical weather data, seemed to have a superior wind resource, a good wind resource.  Upon further conversations that we had with area landowners and some of the municipal leaders in that area, we determined that it had good suitability for development as a wind power facility or wind project.

At that point we began more intensive negotiations or discussions with landowners in the area and municipal leaders and were able to gradually successfully negotiate over 14,000 acres in land option agreements with private landowners in the area.

We also worked in parallel with the municipal governments in the area to determine routing for a collector system and for transmission lines to take the power up to a grid connection point within the Hydro One system.

That involved the use of the Otter Valley utility corridor.  And those negotiations took place probably over the better part of a year, a year and a half, with the municipal governments in that area that owned that corridor.  And that provided a critical link in terms of getting the power from the wind turbines that we were planning to site along the shore of Lake Erie, but approximately a 26-kilometre stretch of shoreline where these turbines would be sited, up to a connection point in the Hydro One grid.

MR. TAYLOR:  Okay.  Can you talk a little bit about the government’s request for proposal for new renewable energy projects and your participation in that process?

MR. CRAWLEY:  Yes.  Last June, the government issued a request for proposal for 300 megawatts of renewable power in Ontario.  We were one of the bidders.  We bid a 99-megawatt project in this area, in the Erie Shores area, into that RFP.  And we were informed in November that we had been successful.

As part of that process, then, by being the successful proponent, we executed an RES contract, or a power purchase agreement, with the Ontario Electricity Finance Corporation at the end of November.  It’s 20-year term for that contract.

MR. TAYLOR:  Okay.  And can you please talk, just very briefly, about the financial closing that's under way right now.

MR. CRAWLEY:  Yes.  The debt financing of the wind farm is closing at the end of this month, the end of June, so there's a -- the lead financier is Sun Life Canada.  And there are also two banks involved in the financing as well.  We've obviously be been working very hard over the last three months to prepare for this financial close.  And there is -- as with any financing, there is always a number of outstanding issues that you're dealing with as you get up to the close.  And one of the issues that the lenders have certainly been focussed on is the lead to construct.  They've understood that there is a possibility that there may not be a decision by the time they close, but it certainly has been an issue of concern and is something that is very much on the radar screen. And if there were able to be a resolution by the end of this month, by the financial close, it would be very helpful to the financing.

MR. TAYLOR:  Thank you, Mr. Crawley.

Mr. Kumar, can you please walk the Panel and Board Staff and Board Counsel through the project, taking us from the wind farm all the way up the transmission line to the connection to Hydro One system?

MR. KUMAR:  Okay.  I'll do that and I'll use the two maps that we've got back here, so I'm going to be turning a little bit.  So if you lose my voice, please let me know.

MR. TAYLOR:  And, actually, before you do, please, if I can interrupt.  In the exhibit packages that I've handed out, we've included revised project descriptions and these are revisions to the project description that was originally included in the evidence.  And the copies that you have are black-lined so that you'll be able to identify very easily what changes have been made to the project.

And, Mr. Kumar, as he walks through the transmission route, will indicate where the corresponding change has been made to the description of the project.

As well, there's a map in your package of exhibits that reflects the changes to the project description, and Mr. Kumar will explain the relevance of that map.  Go ahead, sir.

MR. MILLAR:  Mr. Chair, shall we mark these --

MR. KAISER:  Before the witness proceeds, let's mark the proposed facilities -- I see it says Exhibit B, tab 3.  I guess that's out of the main evidence, but let's give this a separate number.

MR. MILLAR:  So that would be D1.5.

EXHIBIT NO. D1.5:  PROPOSED FACILITIES.

MR. CHAIR:  Then let's mark the map.  Can we mark that --

MR. MILLAR:  I think there's a second document, Mr. Chair, which is the summary of the pre-filed evidence.

MR. KAISER:  All right.

MR. MILLAR:  And that could be D1.6.

MR. KAISER:  All right.

EXHIBIT NO. D1.6:  SUMMARY OF PRE-FILED EVIDENCE.

MR. MILLAR:  And then, finally, the map would be D1.7, the revised map.

EXHIBIT NO. D1.7:  REVISED MAP.

MR. TAYLOR:  Go ahead, Mr. Kumar.

MR. KUMAR:  So we have two maps back here.  One is an aerial map showing the overall project area, and the second map is an enlargement of the Tillsonburg area.  I'll speak to this one first.

This shows the area of the wind turbines, which is along the northern shores of Lake Erie.  Roughly the distance from west to east would be about 30 kilometres, and there will be 66 wind turbines, 1.5 megawatts each.  These are the general electric SLE type.  The power will be collected through a 34.5 kV system and will be brought to a substation located at this location.

That location is at the northeast corner of Glen Line and Plank Road over here, and this is a property that's owned by the owner.

At this point, the power will be stepped up from 34.5 KV to 115 kV via a transformer.

At this point, we utilize the Otter Valley utility corridor for a distance of about 27 kilometres.  The Otter Valley utility corridor is managed and owned by the Town of -- the Municipality in the Town of Tillsonburg.  It used to be an old CP rail line, and I believe about 10 to 15 years ago the rail lines were taken out.  The corridor is about 66 foot wide at the minimum point, and it goes up to about 100 foot at other sections.

And so from the transformer station up to the southern end of the Town of Tillsonburg, we're using this Otter Valley utility corridor.

As we get to the northern part of the town -- sorry, the northern part of the Otter Valley utility corridor, at the southern end of the Town of Tillsonburg, the corridor ends approximately there.  And on this map here, you can see it ends here.

What happens at this point is that we now move into a CP Rail line.  This is an active railroad line about 20 metres wide.  Hydro One already has some 27.6 kV lines in this section here.  They are on the eastern side of the rail line, and we plan to be on the west side of the rail line.

As we go up the CP Rail corridor up to Potter's Road, which you can't see too well here but it's roughly there, that's where we switch over.  We cross the road and there's a change in the evidence here.  So if we go to the previous -- the evidence, Exhibit B, tab 3, schedule 1, page 7 of 12, lines 12 to 16, that's where the change of evidence is.

MR. TAYLOR:  I think Mr. Kumar is referring to Exhibit D1.5.

MR. KAISER:  What page was it again?

MR. KUMAR:  Page 7.

And what the change is is in description of the routing and this portion here.  What happened was during the -- there was some feedback from some local landowners, concerns about where the line was originally going to be going.  So based on discussions with them, we shifted the line over to the other side of the rail tracks.

So basically we shifted it over to the east side, whereas it was previously on the west side.

MR. TAYLOR:  If I could just interject.  For clarification, those landowners are intervenors in this proceeding.  Those are what we refer to as the Lorraine Avenue landowners.

MR. KAISER:  Is Mr. Gilvesy one of them?

MR. TAYLOR:  No.  Mr. Gilvesy's property is along the Otter Valley utility corridor.

MR. KUMAR:  So here we cross over.  We're initially within the CP Rail right of way, and then there's an additional 10-metre easement that's been acquired from private landowner Mr. Andy Jacko.  We use that right of way and up to this point here, where we go back to the CP Rail line.  We follow that curve.  Again, there is an existing Hydro One line in this section, as well.

We go up to this point, and then we again have another private easement, 10-metre wide, from Mr. Cyril Demeyere, and then we go north and we connect into the Tillsonburg Junction.

And, again, I'd like to refer you to some change in evidence on Exhibit B, tab 3, schedule 1, page 8, lines 11 to 17.  There's been some change in the routing, as I've discussed, and that's outlined in the evidence here.

And then Tillsonburg Junction is where we interconnect into the Hydro One System.  There's a 1.5 kV line which comes Cranberry Junction, which is north here, comes south and comes into Tillsonburg transformer station, and we're connecting with the 115 kV line that's there.

And, again, I'd like to draw your attention to a change in evidence, again, Exhibit B, tab 3, schedule 1, page 9, lines 8 to 15, and the change here is the exact location of the Tillsonburg Junction.  Previously we were a little bit northeast with the location of the Tillsonburg Junction.  Now we moved it to the location that's shown here, and that was to meet the requirements of the property owner, Mr. Demeyere.

The other change in the evidence is that the access to this Tillsonburg transformer station will be through Terra Lane only.  In the evidence, we outline three different options, but now it's going to be from Terra Lane.

The other thing I would just like to point out is that in the evidence, the description I've given described what we expect to be the typical design.  As we go into detailed design, there might be some minor variations from this, but they will not be material for this purpose here.

Some of the detailed design that I've discussed, it may change as we get into the detailed design and construction, but they're not material.

MR. TAYLOR:  Mr. Kumar, can you tell us what the status is of the EA process?

MR. KUMAR:  Yes.  If you refer to your evidence on Exhibit B, tab 3, Schedule 1, at page 11 --

MR. TAYLOR:  This is still Exhibit D1.5.

MR. KUMAR:  Lines 8 to 12.  Since we filed the evidence, we have completed the environmental assessment process for the province.  There were no requests for elevation of the project to a full environmental review, and the statement of completion was submitted to the Ontario Minister of Environment on May 16, 2005.

MR. TAYLOR:  The statement of completion has been included in your package of exhibits, as well.

MR. KAISER:  So do I take it from that, Mr. Taylor, that the environmental process has been completed?

MR. TAYLOR:  Yes, sir.

MR. KAISER:  No outstanding issues there?

MR. TAYLOR:  No.

MR. KAISER:  Mr. Millar?

MR. MILLAR:  That would be D1.7 [sic], Mr. Chair, the statement of completion.

# EXHIBIT NO. D1.8:  STATEMENT OF COMPLETION

MR. KAISER:  Thank you.

MR. TAYLOR:  Thank you, Mr. Kumar.

Mr. Eratostene, I'm looking at Exhibit D1.5.  This is the revised project description.  Can you please talk about changes that have been made to the project description in regard to upgrades required to Hydro One’s system, please?

MR. ERATOSTENE:  Yes.  Can I put that little drawing up for a second, the block diagram?

MR. TAYLOR:  If you need to.

MR. ERATOSTENE:  Okay.  Then I guess I don't.

MR. TAYLOR:  You don't.

MR. ERATOSTENE:  No.

Hydro One will be putting in a tapping station, or poles, near Tillsonburg Junction.  We call it Tillsonburg Junction.  They'll be putting in poles and conductors and all the hardware associated from their 115 kV line to our

substation.

They're also going to be adding a transfer trip system, so that will cause protection on their system.  And that will be at Buchanan, as well as the switching station.  They'll be providing telecommunication and telemetering of equipment for communications.  They will be also supplying and upgrading their relays at the Buchanan transformer station, and they will be providing a monitoring device at the Tillsonburg TS, I believe, for their ULTC, underload tap changer.

MR. TAYLOR:  Thank you.  And all of these changes have been summarized on pages 11 and 12 of Exhibit D1.5.

Mr. Crawley, subject to the changes that we have just discussed, do you adopt the evidence that we have filed?

MR. CRAWLEY:  Yes, I do.

MR. TAYLOR:  Mr. Kumar, do you?

MR. KUMAR:  Yes, I do.

MR. TAYLOR:  Mr. Eratostene, do you?

MR. ERATOSTENE:  Yes, I do.

MR. TAYLOR:  And Mr. Carvalho, do you?

MR. CARVALHO:  Yes, I do.

MR. TAYLOR:  Thank you.

There's one legal change that I'd like to bring to your attention.  It was a mistake that I made.  It pertains to the responses to Board Staff’s interrogatories.  It was interrogatory 10, where it asked about outstanding

easements.  The response indicates that there are

three easements outstanding with landowners.  In truth,

though, the crossing over CPR's land is not actually an

easement that's being obtained, it's a licence that's being

obtained.  CPR does not grant easements over its land.  So I just want to point that out for the record.

MR. KAISER:  So there are two easements from private

landowners and one licence?

MR. TAYLOR:  Well, in total there are three easements.

One is with the Otter Valley Utility Corp., which would be with Tillsonburg and Bayham.  Another one would be with Mr. Andy Jacko.  That one has been obtained.  And then the third one would be with Mr. Demeyere.  And Mr. Crawley can answer any questions that Board Counsel might have on the status obtaining that easement.

MR. KAISER:  But they've all been obtained?

MR. TAYLOR:  No, they haven't.  The only one that has

been obtained is from Mr. Jacko.

MR. KAISER:  The Otter Valley one has not been obtained?

MR. TAYLOR:  Not yet.

MR. KAISER:  When will that get obtained?

MR. TAYLOR:  Why don't you give the status, Mr. Crawley, of the easements.

MR. CRAWLEY:  Sure.

The Otter Valley Utility Corridor easement has gone -- there's two municipalities that jointly own that corridor.

It's gone to Bayham council and has been approved.  It is substantially the same form of easement as we'd obtained the option agreement for a year earlier.  Simply, the counterparty changed because of the nature of the financing on the agreement, and there had been some small changes in

language to suit the lender for the project.

Because of that, it went back to Bayham council.  It was approved last week by Bayham council in that form, and -- subject to revisions by their lawyer, which is happening

this week.  And then it is also going to Tillsonburg council on the 27th of June.

MR. KAISER:  Is your financing contingent on these easements as well?

MR. CRAWLEY:  Yes.

MR. TAYLOR:  Can you tell us what the status is of the easement with Mr. Demeyere?

MR. CRAWLEY:  With Mr. Demeyere, the easements -- the counterparty's -- Annandale Heights is his company name.  And on that we're just negotiating final terms, which should be finished by the end of this week.

MR. TAYLOR:  And the licence to cross CPRs land, can you tell us the status of that?

MR. CRAWLEY:  Yeah.  A form of licence has been proposed by CP Rail which is, by and large, acceptable to both the limited partnership and to the limited partnership's lenders.  And we anticipate having that finalized in the next few days.

MR. TAYLOR:  I open the panel for cross-examination.

MR. KAISER:  Thank you.

Did you wish to proceed first?

MR. MILLAR:  I'm not sure if counsel for the IESO or Hydro One have any questions.

MR. KAISER:  Mr. Brown, any questions?

MR. BROWN:  No questions, Mr. Chair.

MS. ALDRED:  No questions from me, Mr. Chair.

MR. KAISER:  Mr. Gilvesy, do you have any questions?

MR. GILVESY:  Not at this time.

MR. KAISER:  Mr. Millar.

MR. MILLAR:  Thank you, Mr. Chair.

CROSS-EXAMINATION BY MR. MILLAR:

MR. MILLAR:  We were just speaking about easements,

Mr. Crawley, and just a couple more follow-up questions to

that.

This first question may be more a question for Mr.

Taylor than for you, but I'll open it to the panel.  You indicated that CPR -- or, pardon me, Mr. Taylor did, that CPR does not grant easements, they issue licences over their property.  Could you please explain for the Panel what the difference would be between a licence and an easement?

MR. TAYLOR:  I think that's something I should probably take a shot at as it’s a legal question.  It's my understanding -- I’m not a real estate lawyer, but it’s my understanding that an easement is a more permanent form of tenure; that it runs with the land, it's registered on title with the land registry office - do you want me to repeat that? - whereas a licence is something that's more akin to what you would see with a land-use permit that you would obtain from the Ministry of Natural Resources.  There would be conditions.  There would be a licence fee.  But it's a less -- it's not as strong a form of tenure in the land.

MR. MILLAR:  Thank you.  What term would these licences be for?

MR. CRAWLEY:  Twenty years, with a five-year renewal.

MR. MILLAR:  And what about the easements or -- help me out.  Again, I'm not a real estate lawyer either.  Are they permanent easements or are they for a term as well?

MR. CRAWLEY:  The easements are for between 40 and 50 years.

MR. MILLAR:  I see.  Thank you.  Okay.  Just to confirm what I’ve heard earlier, there are still -- you've obtained one easement, and there are still two more easements outstanding, and the licence with CPR is still outstanding.

MR. CRAWLEY:  That's correct.  To be clear, with respect to Annandale Heights, we have an option agreement with an easement that can be exercised at our sole discretion.  All that's remaining is just negotiation of some of the final terms and details of that easement, but it's optional, at our sole discretion.

MR. MILLAR:  Okay.

MR. CRAWLEY:  As is the option agreement with the Otter Valley Utility Corridor.

MR. MILLAR:  And in terms of the forms of these easements, did you or your company prepare the easement forms?

MR. CRAWLEY:  With our counsel.

MR. MILLAR:  With your counsel, of course.  And did you offer essentially the same form of easement to all of the landowners?

MR. CRAWLEY:  Yeah.  The form is the same.

MR. MILLAR:  Okay.  I have a form of the easement, a draft of the easement, with me, and I understand it was in response to an interrogatory.  But I just want to make sure it is on the record.  Did you provide a form of easement in response to an interrogatory?

MR. TAYLOR:  Yes, we did.

MR. MILLAR:  Okay.  Because I didn't see it in the main binder that came with the interrogatories.

MR. TAYLOR:  That's right.

MR. MILLAR:  Okay.  Thank you.

And just to confirm, in the event that you were not able to obtain an easement from any of the landowners or a licence, for example, I assume the project would not be able to go ahead, or at least as it currently stands

MR. CRAWLEY:  I wouldn't say that.  To be clear, again, with Annandale Heights, we have an option that we exercise at our sole discretion.  So it's a matter of some final details to be worked out with the landowner.  So with respect to the CPR, we were not able to conclude a licence agreement with CPR, which we don't anticipate being a problem at this point.  There is alternate routing that we have explored, but we expect that we should be able to get that finalized in the next few days.

MR. MILLAR:  But as a worst-case scenario, if that were not to happen, you would be looking at changing the route?

MR. CRAWLEY:  As a worst-case scenario, yes, that would be the alternative.

MR. MILLAR:  And I assume that would require a revised application, if that were necessary?

MR. CRAWLEY:  That would be my understanding.

MR. TAYLOR:  If I could just jump in for a moment, just so it's understood, if we were unable to obtain easements for the Otter Valley utility corridor or for the Demeyere property, then we obviously would have the -- could rely on the mechanisms under the Ontario Energy Board Act for authorization to expropriate.  I would imagine that would be the worst-case scenario.

MR. MILLAR:  Oh.

MR. TAYLOR:  In regard to CPR's land, it's a federally-regulated entity and, therefore, there are mechanisms in place for obtaining authorization to cross its property.  And those mechanisms exist under the Canadian Transportation Act, and specifically section 101 of that act grants authority to the Canadian Transportation Agency to authorize a crossing of a railroad or railroad property.

So if, worst-case scenario, we were unable to obtain authorization or licence from CPR, at that point we would not be back before the Ontario Energy Board seeking to expropriate.  We would be before the Canadian Transportation Agency seeking authorization to cross.

MR. CRAWLEY:  And if I could add, just to be clear, with respect to the CPR licence, CPR has much earlier agreed to grant us a licence, and all that's changed is that based on comments from our lender, we've gone back to ask for some different terms.  And that's where we've received verbal agreement and we're just finalizing the details.

MR. MILLAR:  I understand.  Thank you.

MR. KAISER:  In any event, Mr. Taylor, for the purpose of this application, is it acceptable to your client that if we were to grant a leave to construct, it would be conditional upon obtaining the necessary licences and easements?  Is that an acceptable condition?

MR. TAYLOR:  Yes, it would be, Mr. Chair.

MR. MILLAR:  Moving on to the environmental assessment, first I'd like to point out an error I made.  I marked the statement of completion as Exhibit D1.7.  The map is actually already D1.7, so the statement of completion should properly be D1.8.

I have a couple of questions about this document.  Is this document prepared the applicant; is that correct?  This is a statement of completion.

MR. CRAWLEY:  Yes, that's correct.

MR. MILLAR:  And what, if any, response or feedback do you get from the government?

MR. CRAWLEY:  Sunil?

MR. KUMAR:  Yes.  Maybe I could just clarify that.  In the process, before you actually file the statement of completion, there's a notice of completion that needs to be filed, and this was done for the project.  And basically it's filed and copies are delivered to adjacent landowners.  It's published in the newspaper, and then the public has a 30-day response period in which to provide comments back.

We did not receive any such responses and, based on that, we filed the statement of completion.  And the statement of completion signifies the end of the environmental process.

MR. MILLAR:  Okay.  So there's no additional feedback required from the Ministry?

MR. KUMAR:  No.

MR. MILLAR:  Thank you.  And you discussed today some changes to the route of the proposed transmission line.  Does the environmental assessment reflect these changes in the route?

MR. KUMAR:  Yes, it does.

MR. MILLAR:  Okay.  And just be to be 100 percent clear, then, there's nothing further that has to be done for the environmental assessment?

MR. KUMAR:  That's right.

MR. MILLAR:  We're going to address some of the landowner issues briefly.  I understand that the reason you altered the route slightly was to accommodate the Lorraine owners, as we call them, and I can't recall exactly how many.  I believe five of them filed letters of intervention with the Board.  And I understand you had discussions with these landowners; is that correct?

MR. CRAWLEY:  We did.

MR. MILLAR:  And this route change was done to accommodate them?

MR. CRAWLEY:  That's correct.

MR. MILLAR:  I notice that none of them are here today, but have you received any feedback from the landowners regarding these changes?

MR. CRAWLEY:  Yeah.  I believe we received feedback from those landowners that they're satisfied with the changes.

MR. MILLAR:  Okay.  And we note that Mr. Gilvesy is here today.  Could you just, for the Board's information, point approximately to where his property is on the route, if you know?

MR. KUMAR:  I believe it's south of -- or it would be somewhere in -- I don't know the exact location.

MR. MILLAR:  All right.  Mr. Gilvesy will point to it exactly, but just for the Board's information.  Have there been any route changes conducted to accommodate Mr. Gilvesy?

MR. CRAWLEY:  No.

MR. MILLAR:  Those are my questions.  Thank you.

Are there any questions from the Panel, Mr. Chair?

QUESTIONS FROM THE BOARD:

MR. BETTS:  Thank you.  Just, I guess, one technical question that just relates to the size of the easement.

It's my understanding that the pole structures will be an H-frame, generally, two-pole H-frame?  Is that...

MR. ERATOSTENE:  At this time, that's one of the items that may be changing.  For the most part, they look like they're going to be single poles now, single pole structures.

MR. BETTS:  And what would the height of those poles be?

MR. ERATOSTENE:  From what I remember, it's 50 feet.

MR. BETTS:  And what is the easement that's allowed for that corridor, the width?

MR. CRAWLEY:  Sorry, what's the width?  The width varies between 20 and 30 metres.

MR. BETTS:  I noticed there was one easement that referred to a 10-metre width.  What would that one be?  That was in the revised evidence.

MR. KUMAR:  Maybe I could just clarify.  The CP Rail is within the 20 to 30 metres, and some of the additional easements that AIM is obtaining, for example, the Andy Jacko and Cyril Demeyere properties, those are 10 metres.

MR. BETTS:  Which is less than the height of the pole?  If the pole were to fall over, it falls on the neighbouring property, is that correct?

MR. KUMAR:  Yeah, I think if it falls over, then it would be there, right.

MR. BETTS:  Then I'll just ask this question, which will probably help everybody.  Is 10 metres in that case a standard easement width, or is -- it seems as though it's on the -- a typical road allowance, for example, is 66 feet, which is 20 metres.  Is 10 metres a reasonable width to operate within?

MR. CRAWLEY:  We believe it is.  There's also an existing Hydro One line along the CP Rail line, as well.

MR. BETTS:  Okay.  And just a final question along that same line.

Ten metres is ample for you to perform all of the maintenance that's required on that -- the line within that 10-metre easement?

MR. CRAWLEY:  Yes, it is.  And the design builder has reviewed it, as well.

MR. VLAHOS:  Mr. Taylor, if I may just ask you this question.  Could you remind the Panel again, what is the authority of this Panel or the Board with respect to the easements issue?

MR. TAYLOR:  Sorry, I don't understand your question, Mr. Vlahos.

MR. VLAHOS:  Well, there's the issue of the easements.  What is the authority of this Board?  What is its responsibility with respect to this application on the easement issue?

MR. TAYLOR:  It's my understanding that this Board, as a condition of approval required on all easements, all licences and permits, be obtained prior to construction.

MR. VLAHOS:  Okay.  And you mentioned that to the extent that some of the easements may not be obtained, then you have the legal right, or the applicant, to come before this Board to what?

MR. TAYLOR:  Well, if leave were granted under section 92, then under section 99 of the OEB Act, the applicants would have the right to come to the Board and ask for authorization to expropriate, because the applicants wouldn't be able to start construction until they obtain the necessary land rights.

MR. VLAHOS:  Okay.  So you would need an approval under section 92 first by this Panel.

MR. TAYLOR:  Yes.  In order to be eligible for -- to come to the Board and request an order for expropriation, you would have to have leave to construct.

MR. VLAHOS:  Okay.  Thank you, sir.  Those are all my questions.

MR. KAISER:  Mr. Taylor, you filed today the customer impact assessment dated June 17th, 2005.  It says:  "Final

Draft."  Does that mean there's going to be a final document?  Is this a provisional document or is this a --

MR. TAYLOR:  It's my understanding, Mr. Chair, from a conversation with Hydro One representatives here today, that a final document will be completed and provided to the Board.  What you're looking at here is a draft that reflects all of the changes that will be incorporated into the final document.  It's labelled "Draft" for a couple of reasons.

One, the changes from the version that was originally filed with the Board are highlighted.

MR. KAISER:  That was the one dated April 18th?

MR. TAYLOR:  That's correct.  So that you can see exactly how it's been revised, number 1.

Number 2, there are two signatures missing from the front page.

MR. KAISER:  I see that.

MR. TAYLOR:  And it's my understanding that the reason for the absence of those signatures is that those two individuals are on strike.  I'm not sure when they'll be back and able to sign the document, but the document that they do sign will be the same as the one that we filed today.

And Mr. Singh from Hydro One, who will be on our second panel, I'm sure, will be able to answer these questions a lot better than I am.

MR. KAISER:  The changes that you've just alluded to - I'm looking at page 7 - I'm not an engineer, but are any of these relevant?  I'm talking about the changes between the April 18th and the current version, dated June 17th.

MR. TAYLOR:  I've been advised by Hydro One that none of these changes are material, and that Hydro One's customers will not be adversely affected by the project.

But, again, I would request that you would ask Mr. Singh any of these questions.  He'd be happy to answer them.

MR. KAISER:  I'll do that.

And, Ms. Aldred, also, if you would - you probably intended to do this - but address this in final argument just so we have the position of your client.

MS. ALDRED:  Yes, sir, I'll do that.

MR. KAISER:  Mr. Crawley, is your financing contingent on this final document being signed off by Hydro One?

MR. CRAWLEY:  No, it's not.

MR. KAISER:  And, Mr. Taylor, with respect to the system impact assessment, April 20th, that is the final document?

MR. TAYLOR:  Yes, it is.

MR. KAISER:  Okay.  There's no outstanding issues with respect to that, as I understand it?

MR. TAYLOR:  No, there are not.

MR. KAISER:  Thank you.

RE-EXAMINATION BY MR. TAYLOR:

MR. TAYLOR:  If I could follow up with one question

related to Mr. Betts' question regarding the easement and the height of the poles.  Will the transmission line be built in accordance with CSA standards?

MR. ERATOSTENE:  Yes, it will.

MR. TAYLOR:  Thank you.  That was the only question I had.

MR. KAISER:  Mr. Millar?

MR. MILLAR:  Mr. Chair, we have one more panel today, but we also have Mr. Gilvesy.  I spoke with him before the hearing today.  He asked if he could make a statement immediately after the applicant's evidence.  I spoke with Mr. Taylor; he was agreeable to that.  I apologize, I didn't have a chance to speak with my other friends here, but if that's acceptable to them, then Mr. Gilvesy would like to go next.  I believe he intends to read a statement into the record, and that way we don't have to take up his entire way as well.

MR. KAISER:  Any problems with that, Mr. Brown?

MR. BROWN:  None whatsoever, Mr. Chair.

MR. KAISER:  Ms. Aldred?

MS. ALDRED:  No, that's fine.

MR. KAISER:  Mr. Gilvesy.

MR. MILLAR:  So perhaps, should we excuse the panel, Mr. Chair?  I'm not sure, should we swear in Mr. Gilvesy?

MR. KAISER:  I suppose we should.

MR. MILLAR:  So perhaps we could have Mr. Gilvesy come up to the...

MR. KAISER:  Thank you, gentlemen.

SELF-REPRESENTED - PANEL 1:

# Bryan Gilvesy; Sworn

OPENING STATEMENT BY MR. GILVESY:

MR. GILVESY:  Good morning.  That loud enough?

I can't tell you how -- I’m very grateful to be here this morning, but I can't tell you how intimidating it is for like a country boy like me to get up at 4:30 and fight this traffic for my first Ontario Energy Board hearing.  So forgive my nervousness.

My name is Bryan Gilvesy, and I'm representing my parents, George and Margaret Gilvesy, who own approximately 12 acres of land on the south side of Eden.  The property fronts on to Plank Road, Highway 59, and the rearward portion of the property has approximately a thousand feet of frontage on to the Otter Valley –- what formerly was the Otter Valley nature trail, now being called the Otter Valley Utility Corridor.

I don't have a very impressive CV like the others, but I can tell you that of the names that you've heard thrown around here, like Potters Road and Demeyere and Jacko, I grew up on Potters Road.  Cyril Demeyere is our town engineer.  Jacko is a family friend.

We own the property immediately to the north of the Demeyere property here in Tillsonburg, which we developed into a 156-lot subdivision, which is now nearing completion.  There are eight lots left to be sold.  That's not to say that we're big-time developers.  What it is to say is I believe I have a firm understanding on how and why people purchase residential properties in our particular neck of the woods.

One of the things we've learned over the years in our area is it's different than Toronto in some respects because people won't put up with as much.  We don't have to.  Lots are bigger.  Trees are more plentiful.  But I can say, no matter where you live, if you ask 100 percent of the people, even the engineers for Erie Shores, would you prefer to live –-

[Audio feedback]

MR. KAISER:  Sorry about that.

MR. GILVESY:  If you asked the question, Would you prefer to live with a power line in your backyard, a transmission line in your backyard, 100 percent of the time, the answer would be, No, I would prefer to live elsewhere.

So my basic argument is this:  We have a residential property that's nearing fruition as far as development, a piece of land.  There's now a transmission line there.  It's impacted our property values.

The idea behind the purchase of this property over ten years ago by my father was, he was looking into the future and he was saying, Look, we know that in our neck of the woods residential severances in the country are grinding to a halt, and recently that has happened.  We know that the MOE is forcing people in hamlets and villages like Eden to put in sanitary sewer systems, and that has happened.  We know that water systems are coming to these villages.

And the third thing that impacted -- or the fourth thing that impacted this particular property in Eden was it just happened to be backing on what was at that point called the Otter Valley nature trail.  It was to be part of the Canada-wide nature trails.

So, as you can see, we have a property here that's maturing, it's coming to fruition.  The market is coming to us.  There's a desire for people to live in the country, but there's no more rural severances, so they're settling in villages like Eden.  Eden is only about 400 or 500 people.  There's a little general store at the corner.  There's not even a stoplight.  But it's the closest thing to country living that you can get, without -– with the lack of rural severances.

So the long-term plan was, and we're just entering into that now, was to develop this 12-acre parcel into approximately 34 residential lots.

Now, this coincided with the maturation of the property we had in Tillsonburg, and we'll be moving over and proceeding with the development in Eden.

So essentially what we're saying is this transmission line has a severe negative impact on our property values, as it will become residential properties.  And maybe not even for me, but for the residents of Eden, they're literally having a transmission line put in their backyard.

Now, when they moved to Eden and purchased their properties, this is not what they bargained for and this is not what we bargained for when we bought our properties.

The fact for us is that we believe that the corridor as it stands is too narrow.  My understanding is that when Hydro One goes to put in a new transmission line, they purchase 75-foot easements on both sides, and that's to avoid a conflicting use.  I mean, it's not like it's a noise issue or anything like that, but it is a conflicting use.  People don't like to live by these things.

Now, in our community, if I wanted to build a dairy barn in Eden, I would have to build it 1,500 feet from the village limits.  1,500 feet is the minimum separation distance for something like that, and the reason that exists is because it's a conflicting use.  And I would argue that a transmission line and high-residential properties, they don't run together.

Now, I would not dare to argue that this wind farm and this new way of creating electricity is not in the public interest, because I believe it is.  However, I think quite succinctly, in this particular circumstance, the Gilvesy family and the residents of Eden, because this transmission line is coming through their backyard, are being asked to subsidize Erie Shores.  If you make my connection, yes, it's for the greater good, perhaps, but in the end, we're taking a hit in our property values to benefit a for-profit company called Erie Shores, not the greater good.

So I just wanted that distinction to be very clear.  We're taking property values from us and accruing it to them, and no money has changed hands, and that's wrong.

So I believe that -- you must understand that the way this corridor developed was through expediency.  This was not something that Erie Shores carefully put together this route.  This route existed.  The municipalities of Tillsonburg and Bayham could not come to some agreement as to what to do with this nature trial, and, lo and behold, we have the wind farm, and this suddenly becomes the transmission corridor.

So, fundamentally, I'm just saying that that corridor is fine, but for a place like the Village of Eden, it's too narrow, it's too close to the village, and it needs to be either moved outside of the village or the landowners must be compensated or it must be buried.

So, in summation, the corridor is convenient and cheap for Erie Shores, but I don't believe it's wide enough, and it doesn't -- I believe if they're going to continue with the overhead transmission lines, there should be wider easements; or the project should not proceed up until such time as they've completed a study as to the impact on the residential properties in Eden and the landowners there be compensated; or the line be buried or rerouted.

I just object to this portion within Eden.  I know the line that -- in Tillsonburg, because I'm familiar with where that's going to run.  There's already power lines there.  And the properties, including ours, have sprouted up with that in plain sight, but this is a chicken and egg situation.  We were there first.  Thank you.

MR. KAISER:  Mr. Gilvesy, just a couple of questions.

Where is Eden on this map?

MR. GILVESY:  The Village of Eden is right here.

MR. KAISER:  So is it right in the middle of this corridor now?

MR. GILVESY:  If you see -- I don't know if you can see it clearly.  Highway 19 runs here.  The corridor runs here.  There are homes on both sides of the corridor in the village of Eden.  Our property is in this triangle between the highway and the corridor.

MR. KAISER:  Sir, does the utility corridor as it now stands run right through the village?

MR. GILVESY:  Right through.  Not exactly downtown, but it will be in people's backyards.

MR. KAISER:  There are residents currently on both sides of the corridor?

MR. GILVESY:  Exactly.

MR. KAISER:  Now, in the corridor as it exists today, is there not already a transmission line?

MR. GILVESY:  No.  The history of the area was this.  Port Burwell was a primary entry for coal, years back when coal was used to heat their homes and things like that.  And that rail line existed to bring the coal up from the lake.  That rail line long since ceased to be functioning and useful, and the municipality seized upon the opportunity, about ten years ago, to try and turn it into a nature trail.

That's how the municipalities came to own it, but they couldn't ever come to an agreement between themselves as to who would maintain it and fencing and keeping landowners off and happy, and it was just a mess.

MR. KAISER:  Did you appear before the two municipalities that own this corridor and voice your concerns?

MR. GILVESY:  We've always had a good relationship with several of the councillors and the mayors, and we've always been in close contact with them.  I just had one of the councillors from Bayham at my home, and we've always expressed our concerns.

The problem, of course, is we're in a region down there that was heavily influenced by the tobacco industry, which, as you've all heard, is in steep decline.  And municipalities like Bayham are always looking for something to come in and help save the day, and certainly this serves that purpose.

It's giving -- on the several towers they're doing, it's certainly providing some income for some of the landowners.  It's bringing much-needed wealth into the area, because there's about $2- to $400 million that's not flowing into that area any longer because of the decline in the tobacco industry.

So I'm afraid that the municipalities there are so hungry for growth and to grab whatever economic thing they can get, that sometimes we rush into things.

And, again, I just think that this is going to be here for a lifetime, and it should be done properly the first time.

MR. KAISER:  Now, you mentioned there's, as I understand, about 400 residents of Eden?

MR. GILVESY:  Approximately.  There isn't a sign on the edge of the village.  I'm just...

MR. KAISER:  Right.  Are you the only one that's objecting?

MR. GILVESY:  I've not seen all of them, and I believe Michael would know better.  I've not seen any of them intervene, but I -- I -- I kept thinking on the way up here this morning, Listen, I'm a university-educated fellow, and I've been before the OMB, and I've done these sorts of things.  The people of Eden -- the average home is probably $120,000.  These are people that work hard and these are people that are used to having things rammed down their throat from Toronto, believe me.

And I could give you example after example, but there's just such an apathy towards this sort of thing that they cannot be heard.  I would suggest that if you had this hearing in Eden on a Wednesday night around 7:30, you would have a far different turnout, if you can understand what I'm trying to say.

I'm just saying we're not talking of a community of sophisticated people, of doctors and lawyers.  We're talking about working people.

MR. KAISER:  Now, the housing developments that you spoke of, as I understood it there were two of them.  One was north of the Demeyere property.

MR. GILVESY:  Yes.

MR. KAISER:  That's not going to be affected by this development?

MR. GILVESY:  No, it isn't.  I was just trying to indicate my -- that we are familiar with what people traditionally look for in housing and that sort of thing.

MR. KAISER:  And there was another housing development you referred to, a smaller one.  Where was that, or is there just the one?

MR. GILVESY:  Just the one.  What I referred to was we are about to begin the process to subdivide or -- do a Planning Act subdivision in Eden with a 34-lot plan.

MR. KAISER:  That's different from the Demeyere one, the one that's north of Demeyere?

MR. GILVESY:  Yes.

MR. KAISER:  All right.

MR. GILVESY:  That one, it's just filling up.  It was 156 units.

MR. KAISER:  Right.  So it's the smaller one in Eden that you're concerned about?

MR. GILVESY:  Exactly.

MR. KAISER:  And that was, what, 34 lots?

MR. GILVESY:  Approximately.

MR. KAISER:  That's all within the town?

MR. GILVESY:  Yes.

MR. KAISER:  On both sides of the corridor?

MR. GILVESY:  No.  It's only on the westerly side of the corridor.

MR. KAISER:  And where do you live?

MR. GILVESY:  I live about five miles east.

MR. KAISER:  So you're on the east side?

MR. GILVESY:  Yeah.

MR. KAISER:  Your housing development is on the west side?

MR. GILVESY:  Right.

MR. KAISER:  And the housing development you're referring to, the future housing development, does that abut on the corridor?

MR. GILVESY:  Yes, for over 1,000 feet.

MR. KAISER:  Mr. Millar, any questions?

MR. MILLAR:  I'm not sure if Mr. Taylor has any questions.

CROSS-EXAMINATION BY MR. TAYLOR:

MR. TAYLOR:  Sure.  I do.  Just in regard to the last comment that you made about your property abutting on the Otter Valley utility corridor, does it run adjacent to the Otter Valley utility corridor?

MR. GILVESY:  Yes.

MR. TAYLOR:  Okay.  So when you say that the transmission line will run in your backyard, that's really figurative, it's a matter of a figure of speech, it's not actually going run through your property, is it?

MR. GILVESY:  Oh, no.  I'm sorry.  No, it will not run right through our property.  Our property abuts to the corridor, yes.

MR. TAYLOR:  Okay.  And that you said your property value would be adversely affected as a result of the transmission line.

MR. GILVESY:  Absolutely.

MR. TAYLOR:  Do you have any evidence to support that position?

MR. GILVESY:  My evidence is this:  Would you prefer to live with a transmission line in your backyard; yes or no?

MR. TAYLOR:  Well, what I think is really irrelevant, but I just want to know if you have any evidence to support your position.

MR. GILVESY:  I'm not a professional appraiser.  One of the things I came here to say is, why not look at this?  There’s no doubt.  I mean, it's only anecdotal but 100 percent of the people would agree that it has a negative affect.  100 percent of the people would say, I would rather not have that in my backyard, and that tells me that that reflects itself in a lower property value of the property.

MR. TAYLOR:  But you’re only person from the town of Eden who is here today who is complaining about this transmission line.

MR. GILVESY:  Yes.

MR. TAYLOR:  And you haven't spoken to any other people from the town of Eden who've asked you to represent their interests here today.

MR. GILVESY:  No, but I'm going to -- I don’t know if you’ve been to Eden before, or if you're familiar with the people there or how things work in our part of the world.  I can tell you a small story about -- and maybe this is out of line, but I'm going to tell the story anyways.

The people of Eden in our area, it's a tobacco-related community.  We just had hearings on the new Tobacco Control Act.  We had hearings in our community where people flooded in to have their say about this Act.  And the Act went completely unchanged without any -- nobody listened to any of the concerns of any of the residents.  And that's just typical about how the people feel in our area.  Well, nobody listens.

MR. TAYLOR:  Well, isn't it true -- first of all, you purchased this property that abuts the Otter Valley utility corridor in 1994; correct?

MR. GILVESY:  Correct.

MR. TAYLOR:  And it's my understanding that the Otter Valley utility corridor became the Otter Valley utility corridor in 1997.

MR. GILVESY:  Right.

MR. TAYLOR:  And isn't it true that there were public consultations in regard to creating the Otter Valley utility corridor?

MR. GILVESY:  The point I was trying to make was, if you are buying a piece of land for investment purposes to eventually develop into residential lots, the maturation of this thing was coming nicely.  I spoke earlier about the cessation of the rural severances.  I spoke about the sanitary sewer coming into Eden, and I also spoke to the fact that they were talking about constructing a nature trail, which they could never agreed to.  And it was called the Otter Valley nature trail at that time.  Now we're calling it today "the utility corridor."

I'm just trying to make the point that all these things were positives in the maturation, the development, the adding to the property value of this particular piece of property, and now that we have a utility corridor, that's a negative to that value.

MR. TAYLOR:  Well, I would suggest to you that, in fact, in 1997, when the corridor was being discussed, it was referred to as the Otter Valley utility and recreational corridor; isn't that correct?

MR. GILVESY:  I couldn't answer that accurately.

MR. TAYLOR:  And you did participate in a public consultation meeting, did you not, in 1997?

MR. GILVESY:  I believe we did.

MR. TAYLOR:  Okay.  And did you voice your concerns then?

MR. GILVESY:  Well, it was very clear to us at that time that it was to be part of the Canada-wide trail network.

MR. TAYLOR:  But did you voice your concerns?

MR. GILVESY:  No, because we had absolutely no problem with being part of a Canada-wide trail network.  That would add value to our property.

MR. TAYLOR:  I see.  There still will be a trail there, will there not?

MR. GILVESY:  I don't know.

MR. TAYLOR:  You'll be happy to know there will still be a trail there; it won't simply be a corridor that houses utility poles.  So knowing that, do you still think that it will affect your property value?

MR. GILVESY:  Absolutely.  Because I think 100 percent of the people 100 percent of the time would prefer not to live with a power line, transmission line, abutting their property.

MR. TAYLOR:  Now, you said that you believe that this investment in Bayham will be a good thing for Bayham, or it will bring investment dollars into Bayham.

MR. GILVESY:  No doubt.

MR. TAYLOR:  But I suggest to you that your concern is really about your own personal investment in the town of Eden.

MR. GILVESY:  Exactly.  And my point is very clear.  If this goes through as stated, we're a taking some of our wealth and handing it to Erie Shores.  We're not handing it to Bayham Township or for -- if greater good, it's for the benefit of Erie Shores.  They have an option of going underground here for the benefit of the residents of Eden, or go around Eden, or even compensate the existing landowners for their property value loss.  None of this has even been proposed to us.  There's been no discussion with us about our concerns.  I think that's only right.

MR. KAISER:  Mr. Taylor, is Erie Shores, as part of the easement, paying money to the Township?  Is the Township getting compensated for this easement?

MR. TAYLOR:  They pay for the easement.

MR. KAISER:  Do you know how much?

MR. TAYLOR:  To the townships.

MR. CRAWLEY:  Yes.  The easement -- excuse me, may I respond?

MR. KAISER:  Yes, go ahead.

MR. CRAWLEY:  Sorry, Mr. Chair.

The easement agreement with the Township of Bayham and the Town of Tillsonburg involves consideration, as do all of the easements along the routing of the transmission line.

MR. KAISER:  So they're not getting it for free?

MR. CRAWLEY:  That's correct.

MR. KAISER:  You're not getting it for free.

MR. CRAWLEY:  We're not getting it for free, that's correct, Mr. Chair.

MR. KAISER:  Thank you.

MR. TAYLOR:  I have no further questions.

MR. KAISER:  Mr. Millar?

CROSS-EXAMINATION BY MR. MILLAR:

MR. MILLAR:  Just very briefly, Mr. Gilvesy.  Currently, you indicated the utility corridor is currently completely empty; is that right?

MR. GILVESY:  Yes.

MR. MILLAR:  So there are no poles whatsoever currently.

MR. GILVESY:  No, no.

MR. MILLAR:  Okay.  Do you have any concerns, and I know we spoke earlier before the hearing, but I just wanted to get some things on the record here.

Do you have any concerns regarding electricity prices as a result of this proposed transmission line?

MR. GILVESY:  My understanding that this Board sits to make sure that electricity prices are maintained at a reasonable level before this project goes ahead.  So no, that wasn't a concern.  I believe that that's what this

Board's duty is to do.

MR. MILLAR:  So that's not one of your concerns here today?

MR. GILVESY:  No, sir.

MR. MILLAR:  And I assume that you're not concerned about the reliability of the system.

MR. GILVESY:  No.  I'm fully in support, we're fully in support of the wind farm and everything else.  We just don't like the fact that a transmission line is coming through the village of Eden.

MR. MILLAR:  So you wouldn't have any concerns about the quality of the electricity service resulting from this.

MR. GILVESY:  No.

MR. MILLAR:  Those are my questions, sir.

QUESTIONS FROM THE BOARD:

MR. KAISER:  Mr. Taylor, you said earlier that a nature trail was going to be maintained in this corridor.

MR. TAYLOR:  It’s my understanding is that this corridor, it serves as a nature trail.

MR. KAISER:  Currently?

MR. TAYLOR:  Currently it does.  There will be poles and lines strung along the corridor as well, but it's my understanding that will not affect the use as a nature trail.

MR. KAISER:  So what does that mean?  I mean, if hikers or whoever are going down this trail, there will just be poles that they'll be walking by now?  Or are the poles going to be put in some special part of it?

MR. TAYLOR:  I understand that the poles will be placed down the centre of the corridor.

MR. KAISER:  But that won't affect, I take it, from what you just said, its current use as a nature trail.

MR. TAYLOR:  It can still be used as a nature trail, from what I understand.  I think that by going down the centre of the corridor, it would probably have less impact on the landowners on either side of the corridor as well.

MR. KAISER:  And how far would it be from the pole to this gentleman's property?

MR. GILVESY:  33 feet.

MR. KAISER:  33 feet; is that correct?

MR. GILVESY:  If that’s how broad the easement is; right?

MR. TAYLOR:  Yes.

MR. KAISER:  And you have a thousand feet abutting the trail, is that what you're saying?

MR. GILVESY:  It's over a thousand feet of frontage, yes.

MR. KAISER:  How many lots would that be that would actually be abutting on the trail?

MR. GILVESY:  It would be a significant portion of the 34.  Just guessing, probably, maybe a third.  Maybe up to a third.  We haven't got a firm idea of the plan yet.

MR. KAISER:  How wide will your lots be?

MR. GILVESY:  Oh, we'll be building 60-footers there.

MR. KAISER:  60.

MR. GILVESY:  Yeah.

MR. TAYLOR:  I should also point out that there was a meeting that Erie Shores Wind Farm Limited Partnership had in December 2004 with the residents of the town of Eden to discuss the project.

MR. KAISER:  When was that, December?

MR. TAYLOR:  It was December of 2004.  And if the Panel would like, we'd be happy to put the witness up from Erie Shores to discuss that meeting.

MR. KAISER:  Were you at that meeting, Mr. Gilvesy?

December of 2004?

MR. GILVESY:  No, sir.  And I don't even know if my father was in attendance.  I don't know.

MR. KAISER:  Thank you.  Any other meetings, any other consultation with the town of a public nature, other than the December 2004 meeting?

MR. TAYLOR:  Well, that was actually for the project.  There would have also been public consultations that would have been conducted through the environmental assessment process.  And, again, there would have been consultations in 1997 for the creation of the corridor.  So, essentially --

MR. KAISER:  Well, in the '90s, and you referred to this 1997 agreement, but at that time did they contemplate a transmission line?

MR. TAYLOR:  Well, all I can say is that it was -- in the documentation I've seen, it was referred to as the Otter Valley utility and recreational corridor.  I don't know the extent to which, you know, transmission lines were discussed as part of those public meetings.

MR. KAISER:  What was the purpose of that public hearing?  Was that when the line got transferred from somebody to the two townships?

MR. GILVESY:  It was for the purpose of the township and the town going ahead with the nature trail.

MR. KAISER:  Is that when they acquired title to it, the two townships jointly?

MR. GILVESY:  Yes, and they could never -- they ran into problems with the Line Fences Act and with liability issues, and things like that, so right now there's nobody on the -- legally, on the trail there now.  But the only thing that I might say that's relevant to all this is we only just saw the design of the transmission line as part of this process.  Nobody ever said whether the line was above ground, below ground, steel, whatever.  We didn't know.  Sure, the corridor was there.  What's relevant is we're talking about an above-ground transmission line.

MR. KAISER:  Just clarify one point.  Is it used currently as a nature trail or not?

MR. GILVESY:  Not legally.  Legally, there's supposed to be nobody on it, because they have never settled -- they have run into problems with the abutting landowners with the Line Fences Act.  And basically this is what stopped the thing from becoming a nature trail, because in order to turn it into a nature trail, they had to fence both sides of that property and take on the liability for that property and they weren't willing to go to that extent.  They thought that the Act provided that the landowners had to put up the fences, but this is 26 kilometres of fencing, which would be several hundred thousand dollars of fencing they didn't want to do.  Plus, they've decided they didn't want to come up with liability insurance.

There were other issues, as well.  They wanted foot traffic only; they wanted to keep the four-wheelers off; that sort of thing.

MR. KAISER:  So there's no fences now?

MR. GILVESY:  There's fences in places, the old fences from the railway days.  There aren't a lot of livestock on that corridor anymore, but it was fenced.  Essentially we just took our fence down last fall because it was tumbling down and falling, but it was just the old livestock type of fence.

MR. KAISER:  Up until now, I take it you've been using -- it's 12 acres you have, right?

MR. GILVESY:  Yes.

MR. KAISER:  You've been using it for agricultural purposes?

MR. GILVESY:  [Inaudible] ... rocks off the property.  We've got three rocks off so far and we've just been cutting hay on it, that's all.

MR. KAISER:  You have to go and get a severance on it each time you decide a severance is necessary?

MR. GILVESY:  Up until the ... [inaudible] ... but the Planning Act was a favourable step for us now we've got sanitary sewers, because the lot sizes under the severance process included a septic bed on the site, so the lots had to be fairly big.  They had to be almost 200 by 200 to accommodate the house and the septic bed.  Now we've got sanitary sewers, we'll have a much smaller lot size and a much higher density.

MR. KAISER:  So the three lots that you've severed already are sold?

MR. GILVESY:  Three are sold with houses on them, yes.

MR. KAISER:  Are they abutting on this transmission line?

MR. GILVESY:  I believe their backyards abut to -- they front onto Highway 19 and they back onto the corridor.

MR. KAISER:  And so two -- you've sold two of these lots and people have built houses on them?

MR. GILVESY:  Actually, we built the houses on each lot, and then sold them together.

MR. KAISER:  So those two properties, they're owned by somebody else?

MR. GILVESY:  Yes.

MR. KAISER:  Are they complaining?

MR. GILVESY:  They didn't formally complain in this process, no.  I believe there was no one listed as a -- from Eden in the process.

MR. MILLAR:  That's correct.

MR. KAISER:  Is that right, Mr. Millar?

MR. MILLAR:  That's correct.

MR. KAISER:  And the third lot, I take it, has been sold -- has not been sold?

MR. GILVESY:  No, not at this point.

MR. MILLAR:  Mr. Chair, if I may just ask one more question to be 100 percent clear.  I apologize, I think I have asked this before, but there's a little bit of confusion in the evidence.  I thought I had seen a reference in the evidence that there are some pre-existing wires running through the utility corridor, and perhaps they're just not where you live, but are there any wires --

MR. GILVESY:  [Inaudible] ... where we live, there's nothing there.

MR. MILLAR:  Not a thing.

MR. GILVESY:  Not a thing.

MR. MILLAR:  As far as you are aware, there's nothing underground, either?

MR. GILVESY:  As far as I'm aware.

MR. TAYLOR:  If I could assist, there are no wires around Eden.  However, there are transmission lines in the southern part of the Otter Valley utility corridor, and those are Hydro One transmission lines.

MR. KAISER:  That's what I thought you said in your opening, that Hydro One had some transmission facilities in this corridor.

MR. TAYLOR:  It does.

MR. KAISER:  Well, where do they start and where do they stop?

MR. GAFUR:  Through the Town of Straffordville.

MR. KAISER:  So they go about halfway up?

MR. GAFFNEY:  It's within about 44 kilometres, I think, of Hydro One lines through that stretch of the corridor.

MR. KAISER:  That clarifies that, Mr. Millar.

MR. MILLAR:  I have no further questions.

MR. KAISER:  Mr. Vlahos?

MR. VLAHOS:  Mr. Gilvesy, I guess a couple of things to clarify for me.  You're looking for, I guess, a different routing as far as the Village of Eden is concerned.  So to the extent there is a different routing, I guess there has to be some easement issues, as well, with other, perhaps, private owners?

MR. GILVESY:  I think there's one or three solutions.  You can either route around the Village of Eden, which would be perhaps the most complicated.  You could go underground, and I don't understand the technical nature of that.  I know that in our subdivision we provide power to the homes underground.  There's no overhead in our subdivision that we've constructed.

The third one is to simply compensate the landowners and let's go, because, in the end, it's about the value that's been taken from one party to the other.  That's what my argument is about.

MR. VLAHOS:  Now, you said that your own property is about 1,000 feet.

MR. GILVESY:  Yes, of frontage.

MR. VLAHOS:  Adjacent to the corridor?

MR. GILVESY:  Yes.

MR. VLAHOS:  So what is 1,000 feet in relation to the full length of the township, of the village?

MR. GILVESY:  Of the village?  Actually, we pretty much go -- it's pretty much the southerly half of the village.  We go to the southerly tip of the village.  Virtually, there's a couple of houses south of us.  And we nearly head to the centre of the village on the other side.  We back up to the homes that are on the other crossroads.

MR. VLAHOS:  So I say it's about 2,000-plus feet, then.  You're talking about the corridor that would be crossing the town?

MR. GILVESY:  I would say perhaps even more.  It's probably a pretty good guess.

MR. VLAHOS:  No more than 3,000, somewhere between 2 and 3,000?

MR. GILVESY:  No.  No.  We're not talking -- it's not a very big place.

MR. VLAHOS:  And you never had an opportunity to speak to the company representatives on this?

MR. GILVESY:  No.

MR. VLAHOS:  Have you attempted to?

MR. VLAHOS:  No, we simply put our objection in to the overhead transmission lines through this process.

MR. VLAHOS:  Have you attempted to call them or seek a meeting?

MR. GILVESY:  No.  Normally, if I've ever been developing a piece of ground and I've had somebody object to me, I usually go to try and mollify their concerns one way or another.  That's -- so I guess we've been waiting to hear.

I mean, we formally made our objection, and I suppose what we normally would expect is to hear from them in the meantime before this hearing, so...

MR. VLAHOS:  Okay.  But you have noticed that there have been public meetings about this or there have been meetings where people in the village would be invited to attend?

MR. GILVESY:  Yes.

MR. VLAHOS:  But you yourself haven't been part of them.

MR. GILVESY:  My father's been part of these hearings, but we've never objected to the use of this corridor for this.  We're saying, Let's find a different way to do this.  Can't we go underground through the Village of Eden, for instance?

We don't want to hold up this project.  This is definitely -- it's clearly for the greater benefit of the residents of Ontario, and I know that's your mandate.  I'm just saying don't ask the Gilvesy family and the residents of Eden to bear an undue portion to have the burden of the costs?  Let Erie Shores; if they're going to make a profit off this project, let them carry the full burden.

MR. VLAHOS:  I'm just going to go through the three options.  You talked about the compensation one, and you talked about --

MR. GILVESY:  Right.

MR. VLAHOS:  Then there's going around the village.

MR. GILVESY:  Yes.

MR. VLAHOS:  If that's the case, there have to be additional easements obtained, and the Township will not get any easement payment.  There would be presumably some other third party.

MR. GILVESY:  Right.

MR. VLAHOS:  And the underground option, that's the other option that you mentioned.  Do you have any notion as to what may be involved by way of expenses?

MR. GILVESY:  Not at all.

MR. VLAHOS:  You don't.  And would you know if it's more expensive or less expensive?

MR. GILVESY:  I would surmise that it's tremendously more expensive, otherwise they'd go underground all the way.

MR. VLAHOS:  Tremendously, if it's more than double?

MR. GILVESY:  That I couldn’t speak to.

MR. VLAHOS:  You have not enquired?  That has not been

something that you have not played in your mind as to, if I

were to argue before this Board about underground, what am

I causing by way of additional costs?  That has not gone

through your mind?

MR. GILVESY:  No, what has gone through my mind is:

What cost, if it goes overground, will I be contributing to

Erie Shores' coffers?  That's what's been going through my mind.  That's the number that I've been concerned with.

MR. VLAHOS:  So you're not suggesting underground, you're simply saying to this Board:  Board, find out more?

MR. GILVESY:  That's what I'm suggesting.  Look, this is going to be here for a life time.  If this is going to indeed have a detrimental impact, then let's find a solution to the problem.  Listen, if it's going to knock property value out of $100,000, and we agree on $100,000, then the problem is solved, for instance, if that's the solution we come to.

MR. VLAHOS:  Okay.  So just finally, you talk about a thousand feet frontage to the corridor.  And what would be the length from the - I guess there must be a road - from the road to the corridor?  What would be the length of that?

MR. GILVESY:  It's a triangular property.  So at one point it's zero, and the other end, it's about -- I'm guessing about 600 feet, or not quite, about 500 feet.

MR. VLAHOS:  Thank you.  And the way you envisage your

homes, still to be designed in terms of the planning, I guess --

MR. GILVESY:  Well, we have an idea of how we envision that street running in.  And basically, you had a street running into the property, turning back with a cul-de-sac, with homes along the exterior of the property, backing on to the exterior.

MR. VLAHOS:  Okay.  And you say most of the homes, then, based on that design, they will be adjacent to the corridor?

MR. GILVESY:  Not most.  I'm just guessing right now, very preliminarily, that perhaps a third.

MR. VLAHOS:  A third.

MR. GILVESY:  That would be a very rough estimate.

MR. VLAHOS:  Mr. Gilvesy, thank you.  Just finally, 150 homes you have built already or you're in the process of building, plus another 34, potentially, in this second

property.  Based on a population of 450, that's pretty good

growth.  Where is it coming from?

MR. GILVESY:  You must understand one thing, this is

exactly where the growth is coming from.  There are two

areas where the growth is coming from.  Number 1, rural

severances have effectively been stopped in Southern

Ontario.  Both the Township of Bayham and the Township of

Norfolk, which is the adjoining township, allowed rural

severances.  So every year there were some 20 or 30 lots

created in the countryside.  They've since stopped doing

that because they see it as a conflicting use.

A house, a residential property, they don’t see as

fitting in with a farm property next to it, because a

farmer may spray or spread manure or these sorts of things.

They consider that conflicting.  So they've stopped that

process.

But what we haven't stopped is people's desire to live

in the country, and a little bit away from the towns.  And

this is where we always envisioned Eden filling the gap.

Villages like Eden, and there's lots of them down in our

area, little villages like this where growth will come to

to fill that gap.

The third thing that is happening, and perhaps you

don't see it in Toronto, but we definitely do is, there's

so may people driving trucks these days.  They can’t live

within most town limits because there are subdivision

agreements preventing them from parking their trucks in the

towns.  These are the type of people that are taking up

these country properties and these village properties,

because they haven't got the restriction about where they

park their trucks at night when they come home from

carrying their loads.

So we have got push to growing these communities.  Make

no mistake.

MR. VLAHOS:  Thank you, sir.  Thank you, Mr. Chair.

MR. KAISER:  Let me just clarify one thing.  You

mentioned that a third of the lots are on this corridor,

and you told us earlier there were 12 lots, potentially?

MR. GILVESY:  No, 12 acres, approximately, of land is

what there is.

MR. KAISER:  How many lots?

MR. GILVESY:  Approximately 34.

MR. BETTS:  Just a couple of questions to help me

understand, I think, what you've emphasized to be the

visual effects of these poles and how they might affect the

value of your land.

You indicated that you have already put in one

subdivision in a different location.  How is it serviced

electrically?

MR. GILVESY:  Underground.

MR. BETTS:  It's underground service.

MR. GILVESY:  Yeah.

MR. BETTS:  And the three properties that exist, two

that have houses on them and one that doesn't have a house,

at this location, how are they serviced?

MR. GILVESY:  They're underground.

MR. BETTS:  They're underground as well.  So there are

no other wires in the area.

MR. GILVESY:  No.  Those times are long gone where

people want to see the wires in their residential

subdivisions.

MR. BETTS:  Thank you.

MR. KAISER:  Mr. Millar, any other questions?

MR. MILLAR:  No.  Thank you, Mr. Chair.

MR. KAISER:  Mr. Taylor, any other questions?

MR. TAYLOR:  No, I don't have any further questions.

But I have been advised by my advisor from Erie Shores that

the cost of burying the transmission line along the Otter

Valley utility corridor would be significantly higher than

the cost that is being factored into the Erie Shores Wind

Farm proposal, or response to the RFP with the government.

It would significantly change the costing.  And it's my

understanding that we're talking in the neighbourhood of

about two or three times, the cost of burying it rather

than having an overhead transmission line.

MR. KAISER:  And what would that be in dollars?

Mr. Taylor, we'll take the morning break now.  You can

consult with your witnesses during that time.  And do I

understand you have another panel?

MR. TAYLOR:  Well, we do.  We have a panel that will be comprised of Hydro One witness as well as two witnesses

from the IESO.

MR. KAISER:  Mr. Gilvesy, anything you wanted to add to what you've already said?

MR. GILVESY:  No, I just appreciate the opportunity to

come down and have our say.

MR. KAISER:  Well, we appreciate your coming.  And I

certainly don't like getting up at 4:30 in the morning any

more than you do, so thank you for coming.

MR. GILVESY:  Thank you.

MR. KAISER:  We'll come back in 15 minutes.

--- Recess taken at 10:35 a.m.

--- On resuming at 10:53 a.m.

MR. KAISER:  Mr. Millar?  Mr. Taylor, rather?

MR. MILLAR:  Thank you, Mr. Chair.  We have our second panel now.  There should be some new CVs in front of you.  I believe we'll be entering those as exhibits, but I'll wait until we introduce the panel.  Mr. Taylor, are you  leading this panel?

MR. TAYLOR:  No. Actually, I'm not.  The IESO's counsel and Hydro One's counsel will be doing that.

MS. ALDRED:  Certainly we can go first.  That's fine.  Mr. Singh needs to be affirmed or sworn.

INDEPENDENT ELECTRICITY SYSTEM OPERATOR - PANEL 1:

Bob Singh; Sworn.

Mike Falvo; Sworn

Jack Lubek; Sworn

MR. BETTS:  Mr. Chairman, the witnesses are sworn.

MR. KAISER:  Thank you.  Mr. Brown?

EXAMINATION BY MS. ALDRED:

MS. ALDRED:  I think I was going to go first, okay.  Mr. Chairman, Mr. Brown and I were wondering whether it would be convenient for us to do all of the witnesses in- chief, and then the cross-examination to follow from there.  Is that --

MR. KAISER:  Yes, that would be fine.

MS. ALDRED:  Mr. Singh, I understand that you have a master's of engineering, electrical power, from Memorial University in Newfoundland?

MR. SINGH:  Yes.

MS. ALDRED:  And you're a member of the Professional Engineers of Ontario, the North American Electrical Reliability Council, NAERC, on their wind generation task force; is that true?

MR. SINGH:  Yes, I am.

MS. ALDRED:  You're also a member of the Canadian Wind Energy Association and the Association of Power Producers of Ontario?

MR. SINGH:  That's correct.

MS. ALDRED:  And can you tell us what your current position is with Hydro One?

MR. SINGH:  I'm responsible for generation connections, which involves CI assessments -- in connection with CI assessments.  I'm responsible for generation connections through the Hydro One transmission and distribution system, where assessments, whether they're on the customer or on the distribution side system, are carried out.

MS. ALDRED:  And I understand you're been working for Hydro One since approximately September of 2000, and prior to that you worked for Toronto Hydro, and before that as an engineer in Newfoundland; is that correct?

MR. SINGH:  Yes.

MS. ALDRED:  And I understand that the CIA or customer impact assessment, which is being filed today, was prepared under your supervision; is that correct?

MR. SINGH:  Yes, it was.

MS. ALDRED:  And you're therefore familiar with its content?	MR. SINGH:  Yes, I am.

MS. ALDRED:  Can you just explain for us briefly what a customer impact assessment is and what type of impacts are assessed?

MR. SINGH:  Customer impact assessments are carried out to understand and assess the impact of transmission customers as a result of the generation connection.

MS. ALDRED:  And in this particular case, how many customers are potentially impacted by this connection?

MR. SINGH:  In this particular case there are three customers that are affected.  All the three were local distribution companies, Power, Hydro One Distribution, and Tillsonburg Hydro.

MS. ALDRED:  And have all of those customers been given a copy of this report, and have they all commented back on the contents of the report?

MR. SINGH:  Yes, they have received a copy of the report.  They were also given the preliminary connection impact assessment, and none of them have any comments except -- sorry.  None of them have any objections to this.  They were given the outcome of the report and they have provided us comments, and we have incorporated their comments into this final draft that you have in front of you.

MS. ALDRED:  And the copy of the customer impact assessment which was filed this morning is labelled "Final Draft".  Is it not, in fact, the case that this particular document could be immediately re-submitted as a final copy and signed off just by you, rather than waiting for the signatures of the two engineers?

MR. SINGH:  Yes, it can be submitted.  It's been fully updated.

MS. ALDRED:  And is it in fact the case that there are no more changes expected?

MR. SINGH:  No more changes expected.

MS. ALDRED:  Now, if we look at the copy of the CIA which was submitted this morning, we'll note that there are some areas which are highlighted within the document where there have been some changes made since the April copy; is that correct, Mr. Singh?

MR. SINGH:  That's true.

MS. ALDRED:  And would you like to just highlight for the Board those changes which you view as somewhat significant in this document?

MR. SINGH:  Yes, I would.  What we've done, we have highlighted the changes, the significant changes, and we have also shown the information that existed before so that you can compare what was there before and what it is now.

We've added the forward section, which is just next to the front page, right after that.

There were some typos in the original document, original CIA, which we have corrected.  It was 34.5 kV by mistake and should have been 27.6, so that's been corrected.

The short-circuit study was done with three transformers in service at Tillsonburg TS.  Transformers were replaced in November, up last year, and we are undertaking the study with two transformers in service.  And that was the biggest impact that will be worth mentioning in this document.

MS. ALDRED:  And can you help the Panel by telling them what page those changes would have been reflected on?

MR. SINGH:  If you go to the page 5, at the top of page 5 it says that:

"There are two transformers at Tillsonburg."

And go to page 6.  Look at the changes in the table, where we have shown the old numbers, as well as the new numbers for short-circuit levels.  And what's important to focus on is the numbers at 27.6 kV, voltage level, because that's where the customers are connected.  That's where the local distribution companies are connected.

So look at Tillsonburg 27.6 kV and Aylmer 27.6 kV.  Looking at table 1, for example, without the generation connected, I'll just give you one example.  The three-phase fault level in the previous report was 6.4, and it drops to 5.3 at Tillsonburg.

MR. BETTS:  Mr. Singh, Ms. Aldred, if you wouldn't mind, it would help me a lot if Mr. Singh could be -- and go back to this information, but help me by telling me what a short-circuit study analysis is and, in as much as possible, in layman's terms what it is that you're looking for.

MR. SINGH:  A short-circuit analysis provides the values of currents that flow in when there is a fault in the system.  Basically, it looks at two values of faults, three-phase faults and line development faults.  So the numbers that you see in the table, they are thousands of amps.  In brackets it says kilo amps.  That's what that stands for, thousands of amps.

So in the preliminary CIA that was submitted earlier on, the number was 6,400 amps, 6.4 kilo amps.  With two transformers in service it's dropped to 5.3 kilo amps, which is 5,300 amps.

So, in general, you see the drop at the short-circuit level -- in the short-circuit levels at the buses where -- at the delivery points where the local distribution companies are connected.

MS. ALDRED:  Are there any other significant exchanges from the report that was filed in April?

MR. SINGH:  Basically, no, there's only a drop in the short-circuit levels before and after the connection as a result of the transformer changes.

MS. ALDRED:  And I take it that a drop in the

short-circuit levels is a good thing?

MR. SINGH:  Yes, it's a good thing.

MS. ALDRED:  And are you satisfied that the Erie

Shores Wind project will not cause any adverse impacts on

the three customers involved?

MR. SINGH:  No, it will not.

MS. ALDRED:  So you're satisfied.

MR. SINGH:  Satisfied, yes.

Just one other point, I wanted to mention that

Appendix B was added.  That talks about, gives you the

summary of, the comments on the CIA and Hydro One Network

comments as well.  So it basically concludes the customer

impact assessment report.

MS. ALDRED:  Thank you, Mr. Singh.

CROSS-EXAMINATION BY MR. BROWN:

MR. BROWN:  Mr. Chair, with respect to the IESO

panel, perhaps before I ask some questions and introduce

the panel, I can give you a bit of the background.  As the

Panel knows, whenever a proponent proposed to connect to

the IESO-controlled transmission grid, the market rules

require that the proponent ask the IESO to conduct a

connection assessment.

That assessment is designed to ascertain whether or not the connection would have any impact on the reliability of the integrated power system.  The results of that

assessment are contained in a document called:  "The system

impact assessment report."  One has been performed in this

case, and it's included in the evidence.

Generally, in the leave to construct applications,

the system impact assessment report speaks for itself

and folks from the IESO don't normally appear to testify.

However, during the course of the interrogatory process in

this proceeding, Board Staff asked some interrogatories of

the deponent, parts of which required the assistance of the

IESO to answer.

So the IESO did assist in answering, and the IESO is

advised by Board Staff that it would be useful if some of

the folks from the IESO could be here to answer some

questions.

And so they're here.  They're happy to help and

provide you with information, primarily in two areas.

First, there are some questions surrounding the system

impact assessment report.  In particular, the issue of

transformer ULTC,  which I understand is under load

transformer changes, or something to that effect.  Mr.

Falvo will correct me.

Mr. Michael Falvo, who's in the middle of the panel,

is the head of the department who authored the report.

Board Staff also asked some questions and indicated

that the Panel might want some assistance on the issue of

congestion, what impact, if any, the project would have on

congestion.  No specific study has been done by the IESO

for this particular project, but Mr. Jack Lubek is here to

answer general questions that anyone, including the Board

Panel, might have on that issue.

So perhaps with that by way of background, I can

formally introduce the two gentlemen.  And there are CVs

for Mr. Falvo and Mr. Lubek that I have provided to you.

Mr. Falvo, I'll start with you, first.  You're the

manager of transmission assessment and performance at the

IESO, I understand.

MR. FALVO:  Yes, that's correct.

MR. BROWN:  And you've provided me with a copy

of your CV.

MR. FALVO:  Yes.

MR. BROWN:  And if I could ask for that CV to

be marked as the next exhibit.

MR. MILLAR:  Yes, Mr. Chair.  I apologize, we actually

missed two exhibits when we were speaking with Mr. Singh.

So first, I would propose to enter Mr. Singh's CV as

an exhibit.  I believe that's D.1, I think we're at 9 now.

EXHIBIT NO. D1.9:  CURRICULUM VITAE OF MR. BOB SINGH.

MR. MILLAR:  And then there's also the final draft of

The customer impact assessment, which would be D.1.10.

EXHIBIT NO. D1.10:  FINAL DRAFT OF THE CUSTOMER IMPACT

ASSESSMENT.

MR. MILLAR:  And then if we move to Mr. Lubek first?

MR. BROWN:  Mr. Falvo.

MR. MILLAR:  Mr. Falvo, that would be D.1.11.

EXHIBIT NO. D1.11:  CURRICULUM VITAE OF MR. MIKE

FALVO.

MR. MILLAR:  And I assume you'll be doing Mr. Lubek's

next?

MR. BROWN:  Yes, we will.

MR. MILLAR:  So we'll just mark that as D.1.12.

EXHIBIT NO. D1.12:  CURRICULUM VITAE OF MR. JACK

LUBEK.

MR. BROWN:  Thanks.

Mr. Falvo, I understand that your staff prepared the

System impact assessment report for the Erie Shores project, that report's been filed at Exhibit B, tab 3, schedule 5?

MR. FALVO:  Yes.

MR. BROWN:  So you're in a position today to

answer some questions, if they arise, on that report?

MR. FALVO:  Yes, I am.

MR. BROWN:  I also understand that you assisted in preparing some of the responses to the interrogatories that Board Staff posed to the proponent of the project; correct?

MR. FALVO:  Yes, I did.

MR. BROWN:  You told me this morning that you were reading over the interrogatory responses over the weekend, and you noticed that a clarification should be made to one of the responses.

MR. FALVO:  Yes, that's right.

MR. BROWN:  I believe that's a response to Board Staff interrogatory question 4, Part A?

MR. FALVO:  Yes, that's correct.

MR. BROWN:  Could you explain to the Panel what

corrections should be made to the answer to question 4A?

MR. FALVO:  Yes.  In our response where we indicate

The percentage of time of the congestion, the hours are

correct, and the fraction is correct, but when it's

expressed as a percentage, we missed converting it.

So that should read 0.15 percent of time, or 13 hours,

And 0.08 percent of time, or 7 hours.

MR. BROWN:  Mr. Lubek, turning to you, sir,

we've marked your CV as Exhibit D1.12.  I understand you are the senior analyst of market assessment at the IESO.

MR. LUBEK:  Yes, I am.

MR. BROWN:  Could you please describe to the

Board, briefly, what your responsibilities are in that position.

MR. LUBEK:  We do a number of activities.  Perhaps I could primarily focus on two of them.

The market assessment unit in general provides support to the market surveillance panel in monitoring the market, doing an occasional review or study for them, and when they've produced their semi-annual reports, we're very involved in providing them information for that.

There's a second area I'm considerably involved in as

well, which is related to congestion payments to market

participants.  We review those congestion payments, and in a large area, we look at whether there's an existence of local market power.  And if there is, we recover some of

those payments, we mitigate those when there is local market power.

MR. BROWN:  Now, Mr. Lubek, am I correct that

you did not play any role in preparing the system impact assessment report for this project?

MR. LUBEK:  That's correct.

MR. BROWN:  Nor did you play any role in

preparing interrogatory responses?

MR. LUBEK:  That's right.

MR. BROWN:  Has the IESO conducted any specific

study of the impacts of the proposed facility on the IESO-

administered markets?

MR. LUBEK:  No, we haven't.

MR. BROWN:  Notwithstanding that, are you in a

position today to talk generally about the nature of the

impacts that new generation resources might have on the

IESO-administered market, such as on market prices or

congestion, settlement credits?

MR. LUBEK:  Yes, I could speak to some of the

dynamics, the impact on the economics of the market.

MR. BROWN:  Mr. Falvo, I'd like to go back to

you and just ask you a series of questions to clarify one

of the interrogatory responses that you gave some

information on.

Could I ask you to turn to the system impact assessment report that your staff prepared.  That's Exhibit

B, tab 3, schedule 5.  And if you could go with me in that

report to what I believe is page 15, although they aren't

actually numbered.  But the page I'm looking at has a table

under the heading: "Short-circuit current level" and then

there's a final heading at the bottom of the page entitled:

"Performance of transformer ULTC."  Do you see that?

MR. FALVO:  Mm-hmm.

MR. BROWN:  Perhaps my first question to you, sir, should be:  Could you please explain for the Board what the purpose is of an automatic ULTC facility and how such facility operates?

MR. FALVO:  Yes, I can.  ULTC stands for under load tap changer.  It's a commonly used component on electrical transformers.  As you may know, transformers on used on the power system to convert voltage from one level to another.

Most transformers have what we call a tap changing mechanism that allows this voltage conversion to be adjusted generally in the order of 10 to 20 percent.

And an under load tap changer mechanism is a mechanism that will perform that function while the transformer is still under load, without having to disconnect it or interrupt the customer.  And an automatic one will have an automatic controller that will do that to adjust the voltage to a specified target.

MR. ^D. M. BROWN:  Now, if you look at page 15 of the

SIA report, under the heading “Performance of transformer

ULTC,” the first sentence reads:

"Several transformers in the vicinity of the proposed wind generation facility are equipped with automatic ULTC facilities."

Just sort of keeping your finger there, if you could turn back with me to the responses to undertakings that -- or to interrogatories that the IESO provided some information on, and if I could ask you, sir, to turn to Board Staff Interrogatory 2 on the document titled "IESO Responses", and if you could turn with me to page 5 of 8 of the IESO's response to question 2, you'll see part way through the response, you've written, or your staff wrote:

"Given that there are no automatic ULTC transformers electrically upstream of the Erie Shores project, the IESO does not expect there will be an increase in the number of transformer tap changes at Tillsonburg due to the facilities."

So in the system impact assessment report, there's a reference to some automatic ULTC facilities in the vicinity of the project, but here in the IR response, there's a reference to "no automatic ULTC transformers".

Is there a contradiction between those two pieces of information, or is there some way to reconcile the two?

MR. FALVO:  No, I believe both statements are consistent.

There are automatic ULTC facilities at Tillsonburg and Aylmer.  However, those facilities are not in the upstream series path from the project to Buchanan TS.  They're in parallel, not in series.  So while they're in the vicinity, they're not electrically upstream of the Erie Shores project.

MR. ^D.M. BROWN:  And it's in that sense that the response to the interrogatory should be read?

MR. FALVO:  That's right.

MR. BROWN:  One final question, sir, and it goes back to the system impact assessment report.  If you could turn with me towards the end of the report, there's a section "10.0 Summary of Requirements".  And in that section, on the second page, if I could ask you to look at requirement number 9, requirement number 9 states:

"Care must be taken to ensure that the duty cycle of automatic ULTC facilities of existing transformers not increase beyond current level due to variations in the reactive power output of the wind generation facility."

And perhaps you could explain the purpose of that requirement and how you see that requirement being satisfied.

MR. FALVO:  That requirement was a general point that we wanted to make to both the transmitter, Hydro One, and to the connection proponent to be aware of the potential for an impact on the duty cycle on the existing -- the OLTC facilities and that they should take steps to monitor the duty cycle to their satisfaction.

I understand from Hydro One that, I believe, they intend to do that.  They intend to monitor those facilities to their satisfaction.

MR. BROWN:  Thank you, Mr. Falvo.  Mr. Chair, those are all the questions I have, and I understand all three members of the panel are now available for questioning.

MR. KAISER:  Thank you, Mr. Brown.  Mr. Millar, how do you wish to proceed?

MR. MILLAR:  Mr. Taylor, did you have any questions?

MR. TAYLOR:  No, I don't.

MR. MILLAR:  Okay.  Then I'll proceed with the cross-examination.

CROSS-EXAMINATION BY MR. MILLAR:

MR. MILLAR:  I'll start with Mr. Singh and the customer impact study.  Now, the version we have here today, I think you indicated on the direct examination it's labelled as a final draft, and I believe you indicated that you could actually submit this as a final draft today; is that correct?

MR. SINGH:  Yes.

MR. MILLAR:  Is there a reason it hasn't been submitted as a final draft today?

MR. SINGH:  Yeah, one of the reasons was that you could see the mark showing up in this, so the changes have not been accepted in this draft.  That's why it was marked as a final draft, but once the changes are accepted and the dates are changed and modified, yes, it could be accepted as final draft.

MR. MILLAR:  Now, it says at the bottom -- there are spaces for three signatures -- well, four signatures, actually.  Two of them are Mr. Ellen and a Mr. Sabastin, and I understand those are the gentlemen who are currently on strike?

MR. SINGH:  Yes, they are.

MR. MILLAR:  And then under the signed portion, there's yourself and a Mr. Nematula.

MR. SINGH:  That's right.

MR. MILLAR:  And it said it was revised by you and this gentleman.  Were you involved in the original preparation of the report?

MR. SINGH:  Yes, I was.

MR. MILLAR:  Was that original report actually prepared by Mr. Ellen and Mr. Sabastin?

MR. SINGH:  Yes, they were.

MR. MILLAR:  And what was your role in the original draft?

MR. SINGH:  I closely worked with those individuals, and I reviewed the report before it went out.

MR. MILLAR:  So were you involved in actually writing the report?

MR. SINGH:  I was involved in reviewing it and working with Mr. Ellen and Mr. John Sabastin.

MR. MILLAR:  Now, in the original draft there was not a space for your signature.  Why wouldn't your signature have been attached to the original document?

MR. SINGH:  The original draft was basically part of the package that was sent out to all our proponents, and my signature was right on the letter that went out.  And there were a number of things attached to that, and this was one of them.  So, yes, the package was going out under my name and there were attachments inside this.  Other individuals' names were on those.

MR. MILLAR:  Would this document itself have been signed by you if these gentlemen weren't on strike?

MR. SINGH:  They could have signed it, but I would still have to review it and basically authorize it.

MR. MILLAR:  Now, in the normal course of events, again, imagining they weren't on strike, I imagine we would see their signatures here?

MR. SINGH:  Yes.

MR. MILLAR:  Have these gentlemen seen the revisions that you have made to the report?

MR. SINGH:  No, they haven't.

MR. MILLAR:  So do you know if they would sign off on them?

MR. SINGH:  I don't see any reason why they wouldn't.

MR. MILLAR:  But of course you can't speak for them, I guess?

MR. SINGH:  As a technical study, I have the authority to review and approve, basically.  So it goes to me, anyway.

MR. MILLAR:  And from your perspective, as you say, aside from cleaning up the typos in the black-lined version, you could issue this; Hydro One would be happy to issue this today?

MR. SINGH:  Yes.

MR. MILLAR:  If these gentlemen were not on strike, would you issue a document that didn't have their signatures attached to it?

MR. SINGH:  Yes, I have no problems.

MR. MILLAR:  Okay.  So even if they --

MR. SINGH:  As long as I reviewed it.

MR. MILLAR:  As long as you have reviewed it?

MR. SINGH:  Yeah.

MR. MILLAR:  So their signatures, you're saying, are not necessary?

MR. SINGH:  Yes.

MR. MILLAR:  Now, just to be 100 percent clear, originally a draft of this document was filed with the applicant's evidence.  I assume that this document completely replaces that draft?

MR. SINGH:  Yes, it does.

MR. MILLAR:  When would you think you would be able to submit the final version without the word "draft" in it?  I know you said you could do it today if you had to.  When do you anticipate you will do that?

MR. SINGH:  We could do it today.

MR. MILLAR:  So today or very soon thereafter?

MR. SINGH:  Or very soon thereafter.  Sure.

MR. MILLAR:  I notice there's an Appendix B attached that wasn't there before, and I've had a quick look through.  If we turn to page 14, under point 3, section 2.1, I guess these are comments from Tillsonburg.  Comments were made regarding provisions of more reliable supply to Tillsonburg, and I see that Hydro One has committed to undertake a study aimed at improving the reliability of the transmission service to the area, in general.

Would you care to -- I was interested to read that.  Would you care to comment on that a little bit more?

MR. SINGH:  Yes.  This was a comment raised by one of the affected customers in this particular case, Tillsonburg Hydro, and we sat down, reviewed it and we said, Yes, let's take a look at this with all the customers that are fed in that particular from our transmission lines and see what options exist, and then we'll make a decision after, after this study has been completed.

MR. MILLAR:  Does the proposed wind farm come into play here at all?  Would that have any impact on the reliability of the transmission service?

MR. SINGH:  It has no impact on the reliability of the transmission.

MR. MILLAR:  Okay.  And you've undertaken to perform this study.  Is there a time line attached to that?

MR. SINGH:  There's no time line attached to that.

MR. MILLAR:  Do you plan to do it in the near future?  In the medium term?

MR. SINGH:  In the near future.

MR. MILLAR:  Okay.  Okay.  Those are my questions for Mr. Singh.

For the IESO witnesses, I think I'm satisfied with the

responses to the questions regarding the ULTCs.  But just

perhaps for the Panels benefit, and maybe for my own

benefit, I'd like to just briefly review the congestion

issue.

And I understand that you've -- that Phase I of this

project should have a load of 99 megawatts?

MR. FALVO:  That's what we understand, yes.

MR. MILLAR:  And I understand that over the course of

the year, there's the potential for there to be congestion

for 13 hours?

MR. FALVO:  Our response was that that's what we

observed in the past 12 months.

MR. MILLAR:  And maybe if I can just take a step back,

I'm not an engineer myself, could you just briefly explain

what we mean when we say congestion?

MR. FALVO:  On the wholesale market, when we talk

about congestion, what we mean is that there are more

offers, economic offers, of generation that can be

transmitted across the limiting section of the transmission

system.  So that not all of them can be accepted.

MR. MILLAR:  Okay.  So for 99 megawatts, we'd be

looking at approximately 13 hours.

MR. FALVO:  I believe that was the answer in the

question that said we would be within 99 megawatts.

MR. MILLAR:  I see.  And I understand that these 13

hours in question, this is only -- this only means a

potential for congestion; is that right?  That's assuming

that the wind farm is going at full-time tilt at those

times?

MR. FALVO:  It's just indicating the past performance

of the system, indicating that that limited period of time

was  when we had observed that the flow was at or near the

limit.

MR. MILLAR:  Okay.  And as I understand the way wind

farms work, obviously they're only producing energy when

the wind is blowing.  And I know this evidence isn't before

the Panel, but I understand typically that's about -- I

think they're going full tilt about a third of the time,

something like that.  Again, I stand to be corrected if

that's incorrect.

So it's possible, certainly, that during these 13

hours that you've observed in the past, assuming that work

to go forward, it's possible that during these hours that

the wind farm wouldn't even be producing electricity at

those times.

MR. FALVO:  That's possible.

MR. MILLAR:  Okay.  And if we were to bump the project

-- Phase II of the project calls for 150 megawatts.

MR. FALVO:  That's what I understand.

MR. MILLAR:  And you've indicated that there would be

a potential for 7 more hours of congestion, if that were to

happen.

MR. FALVO:  Again, that's what we observed in the past

year.

MR. MILLAR:  Now, let's assume that during these 13

hours or 20 hours, if past trends are to continue, let's

assume that the wind farm is producing at full output

during one those hours, for example.  What would happen?

MR. FALVO:  The IESO would direct some other resource

to reduce its output so the flow does not exceed the limit

on the transmission system.

MR. MILLAR:  And who -- how would you determine who to

-- who you would order to take some load off?

MR. FALVO:  We would go to the economic offers in the

market and select the most expensive one.

MR. MILLAR:  Those are my questions.  Thank you.

QUESTIONS FROM THE BOARD:

MR. BETTS:  Could I just follow up with a question, if

I may.  Just with respect to the very last question that

Mr. Millar asked, you indicated that you would approach the

offer with the highest bid, and that would be the one that

would be curtailed.

If that was, in fact, if Erie Shores had the highest

cost, would it still be someone else that would be

curtailed rather than Erie Shores?

MR. FALVO:  My understanding is that the wind

resources would operate as an intermittent resource, or

they wouldn't put an offer in the market.  They're not

dispatchable.  They don’t receive a regular dispatch

instruction the way the other resources do, like a coal-

fired station, for example.

MR. BETTS:  And in that sense, they wouldn't be

considered for curtailment at all, it would be one of the

others that would be involved in that process?

MR. FALVO:  That's right.

MR. BETTS:  Thank you.

MR. VLAHOS:  Gentlemen, on this 13 hours, the expected

occurrence, and then there was another 7 hours, I just want

to make sure I'm clear on this.

The 13 hours is on the basis of the 99 megawatts.

That’s the first phase; right?

MR. FALVO:  Well, the question specifically was:

Estimate the hours during year that the interface is within

99 megawatts of its limit.

MR. VLAHOS:  Right.  Okay.  And you would do the same

thing if there were 150?

MR. FALVO:  Right, those are the questions --

MR. VLAHOS:  So the 13 becomes 20.

MR. FALVO:  Yes.

MR. VLAHOS:  That's all I have, gentlemen.  Thank you.

MR. KAISER:  Mr. Taylor, did you have any questions?

MR. TAYLOR:  No, Mr. Chair.

MR. KAISER:  Mr. Brown, anything further?

MR. MILLAR:  No, Mr. Chair.

MR. KAISER:  That completes -- you're finished with your questions, Mr. Millar?

MR. MILLAR:  No, that's all the questions I have.  I

think that concludes the evidentiary portion of the

hearing.

MR. KAISER:  Thank you.  Thank you, gentlemen.

Any other witnesses?

MR. MILLAR:  No, Mr. Chair.

MR. KAISER:  Mr. Vlahos has -- you gentlemen are excused.

Mr. Vlahos has a question left over from the earlier

panel, Mr. Millar, that they could just answer from the

bleachers, if that's acceptable.

MR. VLAHOS:  Mr. Taylor, I was trying to ascertain

from the evidence as to what other villages there may be

being crossed by the proposed routeing.  And I see here

from the map in the pre-filed evidence, and I guess that's

over there as well, that I count about three townships or maybe four.  Let me just read them for the record.

I'm not sure if it's townships or villages, but it's,

I guess, a concentration of residents.  Is Port Burwell -- is it Burwell?

MR. TAYLOR:  Yes, it is.

MR. VLAHOS:  Maybe someone can answer that from the

witnesses as long as the reporter could pick that up.

MR. CRAWLEY:  I can answer that, that question.  Port

Burwell is at the base, but the transmission line starts just north of Port Burwell.

MR. VLAHOS:  All right.  So that's not affected.

Okay.  Then we go to Straffordville?

MR. CRAWLEY:  Yeah, Straffordville and Eden are the two towns that the corridor crosses through.

MR. VLAHOS:  Okay.  And it does cross through

Straffordville.

MR. CRAWLEY:  Yes, it does.  Yes, sir.

MR. VLAHOS:  And is Straffordville bigger than Eden in terms of population, do you know?

MR. CRAWLEY:  I believe Straffordville is somewhat bigger, but they're both small towns.

MR. VLAHOS:  And had we had interventions from that town, from that village?

MR. CRAWLEY:  No, we haven't, and we held public hearings in both Eden and Straffordville.

MR. KAISER:  Were those the hearings in December,

2004?

MR. CRAWLEY:  Yes, those were.  That's correct, Mr.

Chair.

MR. VLAHOS:  Thank you very much, gentlemen.

MR. KAISER:  Thank you, Mr. Millar.  We'll come back

in an hour with our decision.

PROCEDURAL MATTERS:

MR. MILLAR:  If I may, Mr. Chair.  We had discussed,

in the event the Panel wished to grant the application, we

had discussed some possible conditions, my friend Mr.

Taylor and I.  Would the Board like to have submissions on

any of those matters, or final submissions at all, before

considering --

MR. KAISER:  Well, that would be helpful.  I

understand you've distributed the suggestion.

MR. MILLAR:  Yes, and certainly Mr. Taylor has a copy

of our draft conditions, and I know he's looked at them.  We didn't speak about them this morning, but we spoke –

MR. KAISER:  Did you distribute them to other counsel

as well?

MR. MILLAR:  I don’t think Mr. Brown -- no, but I can

do that.

MR. KAISER:  Why don't you give a copy to Mr. Brown.

I don't know whether those conditions will affect the IESO

In any respect, or Hydro One for that matter, but I suppose --

MR. MILLAR:  I wouldn't think, but there's certainly

-- it's well to have a look.

MR. KAISER:  But just as a matter of procedure, why 
don't you give them a copy.

MR. MILLAR:  We may have to run off a few copies Mr.

Chair.  I'm not sure if we have enough.

MR. TAYLOR:  Mr. Chair, I don't want to be presumptuous, but can I take it to mean by the fact that you intend to give a decision in an hour, that there's no need to make final submissions?

MR. KAISER:  No, no.  We'll hear your submissions.  I was just trying to do some scheduling here.  Will you be long in argument?

MR. TAYLOR:  I don't intend to be, sir.

MR. KAISER:  Right.

MR. BROWN:  Mr. Chair, perhaps just to save time, I think from the IESO's perspective, the system impact assessment report has been prepared.  Section 10 contains a summary of requirements.  The IESO would expect those requirements to be satisfied by the proponent.

And, in any event, at the end of the day, before an actual connection is made with the grid, the facilities do have to be registered, and there's an inspection process which the IESO undertakes to make sure that the facilities comply with what they said they were going to be, throughout the process, before you actually hook them up.

So I think that's probably where the IESO's concerns are satisfied, rather than any potential conditions for the leave to construct.

MR. KAISER:  So you'd be satisfied if the conditions simply referenced the Section 10 requirements?

MR. BROWN:  That's right, that the proponent be satisfied that they have complied with the requirements of Section 10 of the SIA.

MR. KAISER:  Mr. Millar, could you copy the Section 10 requirements separately?  You don't need to mark it as an exhibit.  I'd just like to have a copy of it.

MR. MILLAR:  I'm sorry, Mr. Chair?

MR. KAISER:  Mr. Brown was indicating that on behalf of his client, his only concern with respect to conditions is that the Section 10 requirements in his report are met.  I just want to make sure that we all understand what those are, because I certainly don't, but if you or one of your associates could just provide us with a copy of that --

MR. MILLAR:  Yes.

MR. KAISER:  -- for the purpose of the decision.

MR. MILLAR:  We'll do that, Mr. Chair.

MR. KAISER:  Ms. Aldred, Hydro One, do you have any remarks on conditions before we get to final argument?

MS. ALDRED:  My remarks would be similar to Mr. Brown's, in the sense that we would be satisfied if all requirements of the customer impact assessment had to been met.

MR. KAISER:  And is there any particular section in that report that you or Mr. Singh can point us to?

MS. ALDRED:  I believe if one turns to page 9, your recommendations are there.

MR. KAISER:  Is that right, Mr. Singh?  That would encompass all of the conditions from the perspective that would be required by Hydro One?

MS. ALDRED:  Yes, that would be correct, sir.

MR. KAISER:  All right.

MR. BROWN:  I notice, Mr. Chair, Board Counsel has given us the draft conditions.  The proposed draft condition 4.1 would satisfy the IESO's concern with respect to the SIA report.

MR. KAISER:  So there's no ambiguity, if we simply reference Section 10, everyone knows what we're talking about?

MR. BROWN:  That's right.  That's the requirements section.

MR. VLAHOS:  Ms. Aldred, just to clarify, on page 9 you are referring to Section 8, only, are you?

MS. ALDRED:  I'm sorry, yes, I do.  Section 8.

MR. TAYLOR:  The only concern that I have with regard to the draft conditions pertain to section 2.7, where it requires:

"Within 15 months of the completion of construction Erie Shores shall file with the Board a written post-construction financial report which will indicate the actual capital costs of the project and detailed explanation of the cost components and explain all significant variances from the as filed by the Board."

I can understand that this would be a standard condition that would be imposed on a leave to construct for a transmitter who serves customers, and, therefore, would likely try to have those -- the construction included in rate base at a subsequent rate hearing.

However, in this case, the applicant will be paying for all of the upgrades itself.  And that information, the construction cost information, is actually highly sensitive to the applicant, just because other competitors out there responding to future RFPs might be able to use that costing information and back out certain information in order to assist them with their bid proposal.

So we would request that this condition be excluded from the conditions.  If the Board wishes to include it, we would request that there would be a provision included that allows us to file under the Board's confidentiality guidelines.

MR. KAISER:  I understand.  Mr. Millar, is there any reason why we need this information in point 7?

MR. MILLAR:  No, I think on further review, Mr. Chair, we don't have an objection to that condition being removed.

MR. KAISER:  All right.  Any other comments, Mr. Taylor, with respect to the conditions?

MR. TAYLOR:  No, I don't.

MR. KAISER:  Do you have submissions?

MR. TAYLOR:  May I have a few moments to prepare for my final submissions?

MR. KAISER:  All right.  We'll come back.  Would ten minutes be sufficient?

MR. TAYLOR:  That would be fine.  Thank you.

MR. KAISER:  One more question.

MR. BETTS:  One more question of Hydro One.  Ms. Aldred, in the conditions document, 5.1 refers to the customer impact assessment.  Have you reviewed that?  Are you comfortable with that?

MS. ALDRED:  Just let me take a second.

MR. KAISER:  I assume we should be changing the date on this, Mr. Millar?  It's no longer April 18th?

MR. MILLAR:  Yes, Mr. Chair.

MS. ALDRED:  Other than the fact that it should be June 20th, I'm satisfied with that.

MR. BETTS:  And is there anything else required, in your opinion, to satisfy the needs of Hydro One?

MS. ALDRED:  No, sir.

MR. KAISER:  Mr. Millar, just one final.  How have we left it with Mr. Singh and the final version as opposed to the draft version?  Do I understand that Hydro One's made an undertaking that they'll file the final report today?

MR. MILLAR:  Yes, I believe that's correct, either today or within the next few days, if I'm not mistaken.

MR. KAISER:  Is that acceptable, counsel?

MS. ALDRED:  Yes, it is.

MR. KAISER:  Just so the record's clear.  So we don't have to look at any further drafts?

MR. MILLAR:  No.

MR. TAYLOR:  And we're amenable, as well, to including as a condition of service that the final SIA be filed.

MR. KAISER:  Will you give an undertaking for it to be filed today?

MS. ALDRED:  Yes, we'll do that.

MR. KAISER:  All right, Mr. Taylor.  We'll take ten minutes and come back and hear you.

MR. TAYLOR:  Yes, Mr. Chair.

--- Recess taken at 11:40 a.m.

--- On resuming at 11:58 a.m.

MR. KAISER:  Please be seated.

Mr. Taylor.

CLOSING ARGUMENT BY MR. TAYLOR:

MR. TAYLOR:  First off, we reviewed the draft conditions of service and we have no further comments to make on those conditions of service.  They're acceptable, subject to the changes we've discussed.

I'd like to talk a little bit about the need for the transmission facilities.  The Electricity Conservation and Supply Task Force's report to the Minister of Energy entitled "Tough Choices Addressing Ontario's Power Needs," and that's dated 2004, stated:

"Ontario faces a looming electricity supply shortfall in the years ahead as coal-fired generation is taken out of service and existing nuclear plants approach the end of their planned operating lives.  Current projections suggest that without new supply and substantial conservation efforts, Ontario could have insufficient power to meet its peak requirements by 2006.  By 2014, the province would have only half of the generation capacity it needs to ensure

adequate and reliable electricity service."

And that's on page 1 of that report, and that's a public document.

The government of Ontario responded to this looming shortfall of electricity supply in part by issuing a request for proposal on June 24th, 2004, for 300 megawatts of new, renewable energy.  This RFP also served to advance the government's commitment to renewable sources of energy, and, according to the RFP document, which is also a public document:

“The government of Ontario is committed to making electricity from renewable sources an important part of Ontario's energy future.  The government of Ontario has set targets of having 1,350 megawatts of renewable generating capacity to be in service by the year 2007, and 2,700 megawatts to be in service by the year 2010.”

That quote is on page 2 of the RFP document.

Erie Shores Wind Farm Limited Partnership responded to that RFP.  It was selected from 41 proposals, and has entered into a 20-year power supply contract with the Ontario Power Authority.

The proposed transmission facilities that are the subject of this leave-to-construct application are essential in order to connect the wind farm to Ontario's transmission grid.  And therefore we submit that the proposed facilities play a key role in furthering the government's objective to address Ontario’s supply shortfall and the government's renewable energy targets.

Now, in regard to the proposed facilities, some land issues were raised at today's hearing.  We've heard that approximately 28 kilometres of the 30-kilometre transmission route will be contained within an existing utility corridor called the Otter Valley Utility Corridor.  We've heard that we are still in the process of negotiating an easement with the municipalities of Bayham and the Township of Tillsonburg.  However, no problems have arisen and we expect for the easement to be finalized in the near future.  And the form of the easement that was offered to the Township of Tillsonburg and the municipality of Bayham was included as an attachment to our interrogatory responses.

The remaining 2 kilometres of the transmission line will cross the property of three other entities, one of whom, Mr. Jacko, has already entered into an easement agreement; and the second, the Demeyere property, is in the process of being finalized.  We've heard from Mr. Crawley that we're almost there, and it's expected in the near future.

In regard to CPR's land, we've heard also that the Erie Shores Wind Farm Limited Partnership has made efforts with them to enter into a licensing arrangement, and that the only matter left to discuss under that arrangement is pricing.  Any issues that could arise as a result of that negotiation not moving forward would be dealt with by the Canadian Transportation Authority, under The Canadian Transportation Act.

In regard to the form of easement -- and this probably goes towards Mr. Vlahos's question, which I don't think that I've answered fully, when he asked about the Board's authority in regard to the easement.  If I could refer you to section 97 of The Ontario Energy Board Act, “Condition Landowners Agreements”:

"In an application under section 90, 91, or 92, leave to construct shall not be granted until the applicant satisfies the Board that it has offered, or will offer, to each owner of land affected by the approved route or location an agreement in a form approved by the Board."

This section does not require that we've actually entered into easements with the landowners prior to obtaining leave to construct.  It really only deals with the form of easement agreement, or agreement, that we're offering to landowners, it's my understanding, the purpose of which is to make sure all landowners are treated essentially the same; that we're not being underhanded with one landowner versus another.

So to answer Mr. Vlahos's question, yes, we have filed a form of easement that we have offered to the landowners, and we would expect that, as a condition of approval, that we be required to obtain all required easements, licences, permits, before we can construct the transmission facilities.

I don't really think that I need to spend much time, if any, on the customer impact assessment or the system impact assessment.  We've already discussed that we have a near-final version before the Board right now, and that Hydro One has undertaken to file a final version today or tomorrow, and that final version will have no changes to the one that's before the Board right now.

In regard to the system impact assessment, we do have a final version before the Board, and the applicant is amenable to satisfying all the requirements of that system impact assessment prior to construction of the transmission facilities, should leave be granted.

I don't think we need to get into the issue of underload tap changers.  I think there was a slight discrepancy in the IESO's -- or potential discrepancy in the IESO's response to Interrogatory 2 -- 2A, but I think that's been resolved.

In terms of cost, as we've indicated in the evidence, the cost of the project will be paid for by the applicant.

As well, all upgrades that have been identified by Hydro One are the subject matter of a connection cost recovery agreement that is currently being negotiated between the Erie Shores Wind Farm Limited Partnership and Hydro One, so those costs as well will be paid for by the applicant.

The result is that there will be no rate impacts to customers as a result of this project whatsoever.

We did hear some information today about congestion on the system.  I understand that the scope of public interest includes the pricing of electricity service, so congestion or payments that result out of congestion.  Congestion management settlement credits that are paid by the IESO and picked up through uplift by the system are something that the Board would want to turn its mind to.

We've heard today that the wind farm, in the past 12 months, or within the 12 months, we've come within 99 megawatts of the limit for only 13 hours.  And as well, we don't know whether or not the wind was even blowing during those 13 hours.  So we would suggest to you that this is an immaterial amount of congestion that results from this project and therefore does not affect pricing of electricity services in an adverse way.

We've also heard that the environmental assessment process is complete for the project, and a statement of completion was being filed as an exhibit today.

In regard to landowner concerns, the applicant has agreed to relocate the transmission line in regard to the portion that runs near the Lorraine Avenue landowners’ property, as you heard today.  It's doing so at its own expense.

In regard to Mr. Gilvesy -- and I should add that we haven't heard any objections from the Lorraine Avenue landowners.  None of them are here today.  And it's our understanding, from conversations between Erie Shores Wind Farm Limited Partnership representatives and those landowners, that they're satisfied with the adjustment to the transmission route.

So with regard to Mr. Gilvesy's submission, the jurisdiction of the Board in dealing with this leave to construct application is clear from the Ontario Energy Board Act.  According to section 96 of the Act:

"If, after considering an application under section 90, 91, or 92, the Board is of the opinion that the construction expansion or reinforcement of the proposed work is in the public interest, it shall make an order granting leave to carry out the work."

Subsection 2 goes on to provide:

"In an application under section 92 the Board shall only consider the interests of consumers with respect to prices and reliability and quality of electricity service."

And it goes on.

We heard from Mr. Gilvesy that he, in fact, supports the project and acknowledges that it will be financially beneficial to the Town of Eden.  He testified that he had no objections or issues in regard to reliability, quality or pricing of electricity service.

He certainly does have pricing concerns; however, his concerns are related to his 30-plus investment properties.  And those concerns are, I submit, beyond the jurisdiction of the Board in this proceeding.

However, even if the Board did have the jurisdiction to consider an individual landowner's property values being adversely affected, we would submit that no evidence has been put before this Board to demonstrate that his property value will be affected in an adverse manner.  And, as well, he's the only person from the Town of Eden who has intervened in this proceeding, and, on top of that, he is here only representing his own interests and none of the interests of the other townspeople of Eden.

Mr. Gilvesy suggested that we shouldn't rush into building a transmission line along the Otter Valley Utility Corridor.  We would submit that we are hardly rushing into matters.  There have been a number of consultations with the public whereby Mr. Gilvesy had an opportunity to participate.

In the environmental assessment report that was included in the evidence, we can tell you that notice of the proposed transmission line was published in the Tillsonburg newspaper on February 11th and 16th of 2004, and the Delhi News-Record on February 11th, 2004, the Simcoe Reformer on February 10th and 16th, 2004, and the Aylmer Express on February 16th, 2004.

A public information consultation was also held on February 25th in Tillsonburg; on February 26th in Port Burwell, in which 30 and 32 participants were involved respectively.  There was another notice of a second public consultation under the environmental assessment process that was published in the Tillsonburg News on November 17th, 2004, the Aylmer Express November 17th, 2004, and the Simcoe Reformer on November 16th, 2004; and a consultation session was held on November 30th, 2004 in Port Burwell, and on December 1st at Tillsonburg, to address the transmission project.

On top of that, on December 8th, 2004, as we've mentioned, presentations were held in Straffordville and Eden to discuss issues and answer questions related to the transmission line, and these meetings were open to the public.

We also heard that in 1997 there were public consultations in regard to the creation of the Otter Valley Utility Corridor, and Mr. Gilvesy said that he remembers participating in one of those consultations.

So Mr. Gilvesy has had a number of opportunities to address his concerns about a transmission line being strung within the Otter Valley Utility Corridor.  He's intervened in this matter, as well.  However, Mr. Gilvesy did not file any interrogatories.  Other than his letter of intervention, the first that we've really heard of Gilvesy and an understanding of his concerns was here today.

Mr. Gilvesy's suggestions to the Board were essentially that -- one, that the Erie Shores Wind Farm Limited Partnership bury the line.  During the break we discussed this, and it's my understanding that if we were to bury the line, and we were to bury the line over the entire transmission route through the Otter Valley Utility Corridor, since it wouldn't be really fair if we buried it only in respect to one landowner's property, that the costs could range -- the additional costs could range anywhere between $17 and $50 million.

These costs would, without a doubt, destroy this project, not just the transmission project, but the whole wind farm.  They weren't considered within the costing estimates that were submitted to the government in response to its RFP.

The second suggestion that Mr. Gilvesy had was that we circumvent the Town of Eden.  You know, we could always move the transmission line, but then wherever we move it to, we are always going to be moving it to the backyard or adjacent to some other landowner.  If we were to do that, obviously, we would be back before the Board, and we could be dealing with a whole slew of landowner complaints saying that we should move it back to the Otter Valley Utility Corridor, a corridor that's actually meant to house a transmission line.  It would seem odd not to use that corridor for its intended purposes.

And the final suggestion by Mr. Gilvesy was that we offer a cash settlement.  And, quite frankly, we're not in the business of offering cash settlements to all affected land owners, and, if we were to do so along the Otter Valley Utility Corridor, again, it would bankrupt the project, and I'm sure that it would set a terrible precedent for anyone who intends to build transmission facilities in the province that it's going to have to buy off all adjacent landowners.

There are mechanisms in place to deal with affected landowners.  They are either through the environmental process or through a municipal process.

The mechanisms, however, for the types of complaints that Mr. Gilvesy has raised are really not appropriate before this Board and at this hearing.

So we would ask that if the Board does consider Mr. Gilvesy's submissions - and we submit that it should not as a result of the jurisdiction set out under the Ontario Energy Board - we would request that limited, if any, weight be given to Mr. Gilvesy's submissions.

Those are my submissions.

MR. KAISER:  Thank you, Mr. Taylor.  Mr. Brown, did you have any?

MR. BROWN:  No submissions, Mr. Chair.

MR. KAISER:  Mr. Millar?

CLOSING ARGUMENT BY MR. MILLAR:

MR. MILLAR:  Thank you, Mr. Chair.  I'll be very, very brief.  Board Staff is generally satisfied with the application from a technical point of view.  Any outstanding concerns we have after today's -- the oral portion of today's hearing are dealt with by the conditions of approval.  So if this draft or a very similar document were -- was entered as conditions of approval, Board Staff would be satisfied with that.

I do want to address Mr. Gilvesy's comments.  By and large, I'm going to echo Mr. Taylor's comments on this issue.  It's not often, I think, that we get a landowner before the Board who wishes to bring these kinds of arguments, so it's a little bit unique.  But I do wish to point out, as Mr. Taylor did, that section 96(2) of the Act clearly limits the Board's jurisdiction to deal with these issues to issues with respect to prices and the reliability and quality of electricity service.

And the Board will recall I actually asked Mr. Gilvesy about all three of those issues, and to each one he responded in the negative, that he did not have a concern regarding any of those three issues.

Mr. Gilvesy is concerned about property values.  I think he's very forthright about that.  But I think, unfortunately for Mr. Gilvesy, those issues do not fall within the jurisdiction of the Board.

And as a final comment, he also suggested, as Mr. Taylor pointed out, there were three solutions for this.  One of his solutions was -- it wasn't entirely clear to me, but perhaps he was suggesting that the Board order the applicant to compensate him for the loss of his property values.  And in that instance, I'd like to say even more strongly that that is well outside the Board's jurisdiction.  There is absolutely nothing in the Act that would allow the Board to make such a compensatory order, and, therefore, the Board simply does not have the jurisdiction to do that.

So subject to any questions you may have, those are my submissions.  Thank you.

MR. VLAHOS:  Mr. Taylor -- or, Mr. Millar, I'm just looking at the conditions.  If you turn to page 3 of 3, just a clarification.  We heard about the licensing by the Canadian Transportation Authority, and is this meant to be captured under section 7?  Mr. Millar, perhaps I can ask you or staff, through yourself, as to whether this is what they had in mind for that section?

MR. MILLAR:  Well, I think it speaks generally to all licences, but would it be helpful to the Board if that particular licence were mentioned, as well?  I don't know what Mr. Taylor feels about that.

MR. TAYLOR:  I actually believe that section 8.1 would address the CPR issue.  It's an approval, permit or licence.  I think that section 7.1 really deals with licences such as a generator licence.

MR. VLAHOS:  Or, alternatively, could one look at 6.2 and add easement rights or licences?  Could that have done it?

MR. TAYLOR:  You could do that.  We'd be fine with that.

MR. VLAHOS:  Okay.  But from Board Staff's perspective, I just want to be as generic as possible to capture...

MR. MILLAR:  I think that's right.  And I think your concerns are captured there, but if you would prefer, certainly, I don't think the applicant has any objection to us specifically mentioning that licence.

MR. KAISER:  So we can add in 6.2, after the word “easement”, “and/or licences?”

MR. TAYLOR:  Or licence or authorization, because, ultimately, if we can't get a licence from CPR, then when we apply to the Canadian Transportation Agency, what we would be obtaining is an authorization from them.

MR. KAISER:  All right.  So, Mr. Taylor, we'll add the words "or licences or authorizations."  Is that acceptable?

MR. TAYLOR:  Yes.

MR. KAISER:  This is in 6.2.

Now, you spoke a minute ago about a generator licence and you referred, I believe, to 7.1.  What's the status of your application now?

MR. TAYLOR:  We've applied for a generator licence, and it's my understanding from our discussions with Board Staff that it should be issued within the next couple of weeks.

MR. KAISER:  And your position is that 7.1 would cover that; in other words, this licence would be conditional upon you obtaining that generator licence from the Board?

MR. TAYLOR:  I guess it could be read that way.  I don't know why you would need a generator licence, though, to construct --

MR. KAISER:  I'm just trying to get your position.  You suggested that that's what 7 was referring to.  I just wanted to make sure that was your position.

MR. TAYLOR:  Yeah, I would actually rather the -- I would rather the conditions, when we say licences here, not apply to any Board-approved licence; just in case there is a delay in issuing a licence, such as a generator licence, that we wouldn't be delayed in constructing.  The facility wouldn't require a generator licence for construction, in any event.

MR. KAISER:  I don't imagine, in a practical sense, you're going to start construction unless you get a generator licence; right?

MR. TAYLOR:  Well, it's not really just the generator licence issue.  The other issue that remains outstanding is the distribution licence.

MR. KAISER:  I see.

MR. TAYLOR:  The wind turbines are connected by low-voltage lines.  Under a strict interpretation of the Ontario Energy Board Act, we are required to obtain a distribution line, even though we don't have any distribution customers.

So Erie Shores, along with Superior Wind and along with the Canadian Wind Energy Association, has applied to the Ministry of Energy to have the regulations, the exemption regulations to the Ontario Energy Board Act amended to exempt wind farm developers from having to obtain a distribution licence in these circumstances.  And I understand that Board Staff has supported the proposed amendment to the regulations, as well.

A similar amendment actually exists for transmission facilities that are used just to connect generation to the grid, but unfortunately a parallel exemption doesn't exist for distribution facilities that are used to connect -- for the sole purpose of connecting generation to the grid.

So we're waiting for that amendment.  I guess worst-case scenario, there's a delay, we don't get the amendment, and then we have to go back to the Ontario Energy Board, apply for a distribution licence, and I would imagine it would be a stripped-down distribution licence, because all the provisions relating to customers would be irrelevant.

I would hate for the issuance of that distribution licence, which has nothing to do with construction, stalling the construction process as a result of section 7.1 of the conditions.

So I'm not 100 per cent certain what the intention was of 7.1, and if we could cross it out altogether, I would be pleased, just so that there's no confusion in the future.

MR. KAISER:  Well, Mr. Millar, there does seem to be some confusion.  What do you think about striking out 7.1?

MR. MILLAR:  Well, Mr. Chair, I'm just speaking with staff here to assist me, and I think in terms of what Mr. Taylor says about the distribution licence, I think we could certainly agree to have that requirement removed.

I'm not as certain about the generation licence.  As you say, they're not likely to build this project without a generation licence.  But certainly there would be -- it would certainly be a shame to me that we started building a transmission line, and then the generation licence for whatever reason -- I understand it's probably just a matter of a few days before they get it.  But there would be some concern, I would think, to be building transmission lines without a generation licence, because if the generation licence for whatever reason didn't materialize, then you would just have this transmission line with no purpose.

And for that reason, I would certainly agree on the distribution licence, but, again, I'm in the Board's hands.  But the generation licence, I think, should probably still remain, that condition.

MR. KAISER:  All right.  Well, we can make the change to remove the distribution licence from this.  Are there any other licences that -- or should we make this section specific to the generation licence?  I'm with Mr. Taylor.  I don't want to have some broad language that people end up arguing about later in the day.  Can we just make this a little bit clearer as to what you're trying to capture here?  This is your proposal.

MR. MILLAR:  Yes.

MR. KAISER:  Was this intended to cover the generation licence, and can it be restricted to that?

MR. MILLAR:  That's right.

MR. KAISER:  That way Mr. Taylor knows what it covers.

MR. MILLAR:  The only concern that I have is, even before we obtain a generator licence, there's still a lot of preparation work that goes into the development of a transmission line.  For example, there might be some shrubbing along the corridor, and we would start that process, which could be considered construction of the transmission line, and we would hate for any delays in obtaining a generator licence to delay that type of process.

I can understand you don't want transmission lines sitting dormant, but we would be a long way into the construction process before we actually have transmission lines that are strung.  Presumably we would know about the generator licence in advance of that.  So I don't really see why the requirement is even necessary.

MR. KAISER:  One of the concerns Mr. Crawley expressed was he would like to close his financing, and the financing, as we have heard, was in part conditional upon this leave to construct being granted.  Do you know if the financing is also conditional upon this Board's issuance of the generator licence?

MR. TAYLOR:  Obtaining a generator licence is a post-closing condition.

MR. KAISER:  All right.  So financing is not conditional on that?

MR. TAYLOR:  No, it's not.  And the reason is that we don't foresee any problems in obtaining a generator licence.  It seems to be going along the normal course, without any bumps.

MR. KAISER:  What's your position, Mr. Millar?  They want to close on this deal.

MR. MILLAR:  Yes.  No, I understand, Mr. Chair.  And by no stretch of the imagination are we trying to hold up this project.  These conditions are taken from a precedent that the Board used, so these are very standard conditions.  And I'm wondering if there's some way we can tweak this requirement to allow them to do preliminary work, or something like that.  Again, we don't wish to hold anything up, but these conditions were all -- are applicable generally to all leave to construct applications.

I'm a little bit uncomfortable about entirely taking the requirement, but, again, if there's some wording that perhaps Mr. Taylor and I can agree to something that will satisfy both of us, then I'd be happy to submit that for the Board's consideration.

MR. KAISER:  Well, you want the generator licence condition in, and he doesn't want it in.  That's the issue.

MR. MILLAR:  Well, I think his position is, he wants

-- as I understand, there's not likely to be any problems with the generation licence, but he may wish to do some preliminary work, as he suggested, clearing branches out of the way or something of that nature, and we're not opposed to that.

MR. KAISER:  All right.  Do you have any tweaking language to deal with the branches?

MR. TAYLOR:  The branches were just an example.  I would have to speak to my client here and find out if there are other things planned.

MR. KAISER:  In the interest of time, Mr. Crawley may have some suggestions.

MR. MILLAR:  Mr. Chair, I think we've come to language that's agreeable to both of us.  Mr. Taylor has proposed that they be allowed to do site preparation before a generation licence has been obtained, and we don't have any objection to that -- or objection, I guess, would be a bit -- no poles or wires themselves would go up until the generation licence is obtained.

So I think we could make some very minor changes to 7.1.  I think that would satisfy both of us.  Is that right, Mr. Taylor?

MR. TAYLOR:  Yeah, I think so.  Do you want to try to do it right now?

MR. KAISER:  Why don't you do this?  If I can suggest, we're going to take about an hour.  If the two of you could amend this document so that I have something that I can attach to this decision as Schedule A, change the dates, get rid of 2.7, make any amendments that you agree upon, so we have a clean, revised document, and then we'll reference that.

MR. MILLAR:  Certainly, Mr. Chair.  And I'll bring that to you before the hour is up.

MR. KAISER:  Thank you.  Anything further?  All right, we'll come back at 1:30.

--- Luncheon recess taken at 12:29 p.m.

--- On resuming at 1:36 p.m.

MR. KAISER:  Please be seated.

DECISION:

MR. KAISER:  Today the Board heard an Application by Erie Shores Wind Farm Limited Partnership seeking an order from this Board granting leave to construct certain transmission facilities.  The Application is brought pursuant to section 92 of the Ontario Energy Board Act.

The Applicant, Erie Shores, is a limited partnership between AIM PowerGen Corporation and the Clean Power Income Fund.

The Applicant is constructing a wind farm along the north shore of Lake Erie in the townships of Bayham, Malahide and Norfolk County.  This wind farm consists of some 66 wind turbines with a net output of 99 MW.  The wind farm will cover some 14,000 acres of farmland in the townships referred to.

The purpose of the Application is to obtain leave from the Board to construct transmission facilities which will connect this wind farm to the transmission facilities of Hydro One Networks Inc.  This would involve the construction of a new transformer station to be located at Port Burwell that consists of 34.5/115 kV transformer, a capacitor bank, switch gear, and a space for a future transformer.

Secondly, it will consist of a 30-km 115 kV transmission line from the Port Burwell transmission station referred to, to Hydro One's circuits at Cranberry Junction near Tillsonburg.

The Applicant proposes to construct approximately 27 kilometres of the proposed 30-km 115 kV transmission line within the existing Otter Valley Utility Corridor, which runs from Port Burwell to the southern boundary of the Town of Tillsonburg.

The Applicant proposes to run the remaining three kilometres of this transmission line along an active Canadian Pacific Rail corridor and then over certain private lands located just south of Tillsonburg Junction.

As indicated, this Application is brought pursuant to section 92 of the Act.  That section provides that:

"No person shall construct, expand or reinforce an electricity transmission line or an electricity distribution line, or make any interconnection, without first obtaining from the Board an order granting leave to construct, expand or reinforce such line or interconnection."

Certain tests are set out in section 96 and 97 of the Act.  Section 96 provides:

"If, after considering an Application under section 90, 91 or 92 the Board is of the opinion that the construction, expansion or reinforcement of the proposed work is in the public interest, it shall make an order granting leave to carry out that work."

Section 96(2) provides that:

"In an Application under section 92, the Board shall only consider the interests of consumers with respect to prices and the reliability and quality of electricity service when, under subsection 1, it considers whether the construction, expansion or reinforcement of the electricity transmission line or electricity distribution line or the making of the interconnection is in the public interest."

Section 97 provides:

"In an Application under section 90, 91, or 92, leave to construct shall not be granted until the Applicant satisfies the Board that it has offered or will offer each owner of the land affected by the approved route or location an agreement in the form approved by the Board."

With respect to the latter, the Applicant has filed the proposed agreement in a form acceptable to the Board.

For reasons that will follow, the Board grants this Application and finds the project to be in the public interest.  As indicated, we're guided by the statute that restricts our jurisdiction to the interests of consumers with respect to price, reliability and quality of service.

Of significance in this regard is the fact, as pointed out by Counsel for the Applicant, that this particular project is in response to the Minister of Energy's request for proposals for 30 MW of renewable energy.  That RFP was issued on June 24th, 2004.

The Applicant was one of the successful bidders and has entered into a 20-year renewable energy supply contract with the Ontario Electricity Financial Corporation with respect to 99 MW to be generated in the wind farm previously described.

The Applicant's counsel stated that this RFP reflected and was, in part, a response to the government's concern about the supply of electricity in this province and potential shortages which may result.

Accordingly, it's a significant factor in determining whether this matter is in the public interest, as reliability of electricity is one of the factors that this Board is directed to consider under section 96(2).

There were a number of witnesses and considerable evidence on different aspects of this project.  I will address them in turn.

First is what is called the System Impact Assessment or SIA.  The IESO issued and filed in evidence an updated final System Impact Assessment Report.  That document sets out in section 8 certain requirements that the IESO expects the Applicant to follow in terms of the system impact.  The Applicant has indicated that such requirements are acceptable and such requirements will be incorporated in the conditions which will attach to this Decision.  I will come to these conditions at the end of this Decision.

A second study the Board heard evidence on was the Customer Impact Assessment or CIA.  That was marked as Exhibit D10 in these proceedings.  That document was prepared by Hydro One, and Mr. Bob Singh testified in support of it.

There were only three customers who were impacted by this project.  All are LDCs:  Tillsonburg Hydro, Hydro One Distribution and Erie-Thames Hydro.  None of them claimed any adverse impact.

A preliminary draft dated June 17th was filed with this Board.  The Board received an undertaking by Hydro One that the final draft will be filed either today or tomorrow.

The next document tendered in this proceeding is the Environmental Assessment Report.  The Applicant called two witnesses from MacViro Consultants who had prepared the environmental assessment report for the wind farm and the project.  The Provincial environmental review process has been completed and a Statement of Completion was sent to the Ministry of the Environment on May 16th.

Notice of completion of the environmental screening report was published in local newspapers on February 7th and delivered to adjacent landowners.  There were no requests for the elevation of the project to full environmental review, and, as indicated, a Statement of Completion was filed with the Ontario Ministry of the Environment on May 16th.

There was also certain evidence tendered by the IESO with respect to congestion.  This project has two phases, the first being 99 MW, which can be expanded to 150 MW in Phase Two.

The IESO determined that at the 99-megawatt hour level, there might be 13 hours of congestion.  If elevated to 150 MW, that congestion might increase by another 7 hours.

The IESO determined that this was all within acceptable limits, particularly having view to the fact that the power being generated by this wind farm is of an intermittent nature.

The IESO accordingly registered no concern with respect to these congestion levels.

Another matter, which the Board is required to consider in these types of decisions, is the cost responsibility and the rate impact.  The Board is advised by the Applicant that the project will be paid for and owned by the Applicant.  There will be a number of upgrades required by Hydro One.  Those are identified in the evidence, but for the purpose of this Decision, it is sufficient to say that none of these costs will be incurred by the ratepayers.

We then come next to the issue of landowners, which involved considerable evidence.  The proposed route, as indicated previously, in large part, falls within what is called the Otter Valley Utility Corridor.  That's approximately 27 kilometres, or roughly 90 percent of the proposed 30-km transmission line.  That corridor runs from the Port Burwell transmission station to the southern boundary of the Town of Tillsonburg.

The Applicant plans to run the remaining 3 kilometres through the active Canadian Pacific Rail corridor described earlier, and then over certain private lands.

There was also reference to a group of landowners called the Lorraine landowners.  Apparently a settlement has been reached with those landowners, and no evidence was tendered in this proceeding with respect to that.

With respect to the necessary easements and licences, we were advised that negotiations are under way with respect to the Otter Valley Utility Corridor and its owners, the Township of Bayham and Tillsonburg.  The Board was advised by Mr. Crawley, the President of the Applicant, that he anticipated no difficulties and, in fact, most of these easements and licences were expected within the week.

With respect to the CPR, we're advised that a licence is required and that negotiations are under way.  The Applicant advises that if there is a difficulty, they'll apply to the Canadian Transport Commission.

With respect to the lands of Andy Jacko, apparently an agreement has been reached and discussions are under way with another landowner, Cyril Demeyere.

We then heard from Mr. Gilvesy, who appeared on behalf of his parents, George and Margaret Gilvesy.  Mr. Gilvesy lives in the town of Eden, which apparently has some 400 souls in it.  He and his parents own a considerable amount of land abutting the Otter Valley Utility Corridor.  In

fact, a thousand feet of his land, some 12 acres, abuts on that property.  He is attempting or is in the process of severing that acreage into 34 lots for the purpose of development.

His concern is that location of this transmission line in this utility corridor will devalue his property.  That property he purchased in 1994.  This utility corridor was created in 1997, when the two municipalities referred to acquired land rights over it.

At that time, that is, in 1997, certain public hearings were held with respect to the establishment of this utility corridor.  Also, since that time, in connection with this Application, there have been public hearings.  This Board was advised that in December 2004, following Public Notices in November of that year, public hearings were held in Tillsonburg and Port Burwell.  On December 8th, public hearings were held in Straffordville and Eden.  It is unclear whether Mr. Gilvesy appeared, but we are led to believe that if he didn't, perhaps his parents did.

Counsel for the Applicant argues that this Board has no jurisdiction to hear the complaints registered by Mr. Gilvesy, that this transmission line would devalue his property.  He is supported in that argument by Board Counsel.

It is clear, when section 96 is read, that the value of land or the potential devaluation of land of an abutting property owner does not fall within the scope of the Board's jurisdiction.

Moreover, it is clear that the process has involved an opportunity for Mr. Gilvesy to register his concerns with the proper authorities.  It is significant that the municipalities that own this corridor are in the process, we are led to believe, of granting an easement to the Applicant and will receive remuneration from them.  It is also significant that Mr. Gilvesy is the only landowner complaining.

Accordingly, viewing the public interest in its largest sense, and having in mind the restrictions on our jurisdiction, we find that this project is in the public interest and that the leave to construct should be granted.

But it should be granted with conditions.  The Board was presented with a list of 17 conditions, which the Board believes are acceptable to the Applicant and to Board

Counsel.  Those 17 conditions will form Appendix A to this Decision.

That completes the Board's ruling in this matter.

Any questions?  Thank you.

--- Whereupon the hearing concluded at 1:54 p.m.

APPENDIX A

Conditions of Approval

Erie Shores Wind Farm Limited Partnership.

EB-2005-0230

________________________________________________________________________

1 	General Requirements

1.1	Erie Shores Wind Farm Limited Partnership. (“Erie Shores”) shall construct the facilities and restore the land in accordance with its application, evidence and undertakings, except as modified by this Order and these Conditions of Approval.

1.2 	Unless otherwise ordered by the Board, authorization for Leave to Construct shall terminate December 31, 2006, unless construction has commenced prior to that date.

1.3 	Erie Shores shall advise the Board's designated representative of any proposed material change in the project, including changes in: the proposed route; construction techniques; construction schedule; restoration procedures; or any other impacts of construction. Erie Shores shall not make a material change without prior approval of the Board or its designated representative.

2 	Project and Communications Requirements

2.1 	The Board's designated representative for the purpose of these Conditions of Approval shall be the Manager, Licensing and Facilities.

2.2 	Erie Shores shall designate a person as project engineer and shall provide the name of the individual to the Board's designated representative. The project engineer will be responsible for the fulfillment of the Conditions of Approval on the construction site. Erie Shores shall provide a copy of the Order and Conditions of Approval to the project engineer, within seven days of the Board's Order being issued.

2.3 	Erie Shores shall give the Board's designated representative ten days written notice in advance of the commencement of construction.

2.4 	Erie Shores shall furnish the Board's designated representative with all reasonable assistance for ascertaining whether the work is being or has been performed in accordance with the Board's Order.

2.5 	Erie Shores shall develop as soon as possible and prior to start of construction, a detailed construction plan. The detailed construction plan shall cover all activities and associated outages and also include proposed outage management plans. These plans should be discussed with affected transmission customers before being finalized. Upon completion of the detailed plans, Erie Shores shall provide 5 copies to the Board's designated representative.

2.6 	Erie Shores shall furnish the Board's designated representative with five copies of written confirmation of the completion of construction. This written confirmation shall be provided within one month of the completion of construction.

- Monitoring and Reporting Requirements

3.1 	Both during and after construction, Erie Shores shall monitor the impacts of construction, and shall file five copies of a monitoring report with the Board within fifteen months of the completion of construction. Erie Shores shall attach to the monitoring report a log of all complaints related to construction that have been received. The log shall record the person making the complaint, the times of all complaints received, the substance of each complaint, the actions taken in response, and the reasons underlying such actions.

3.2 	The monitoring report shall confirm Erie Shores' adherence to Condition 1.1 and shall include a description of the impacts noted during construction and the actions taken or to be taken to prevent or mitigate the long-term effects of the impacts of construction. This report shall describe any outstanding concerns identified during construction and the condition of the rehabilitated land and the effectiveness of the mitigation measures undertaken. The results of the monitoring programs and analysis shall be included and recommendations made as appropriate. Any deficiency in compliance with any of the Conditions of Approval shall be explained.

- System Impact Assessment

  - Erie Shores shall implement all the recommendations of the Independent Electricity System Operator (“IESO”), as set out in the System Impact Assessment dated April 20, 2005.

- Customer Impact Assessment

  - Erie Shores shall as soon as possible and prior to start of construction, obtain and submit to the Board the final official Customer Impact Assessment, dated June 20, 2005 issued and signed off by Hydro One.

- Easement Agreements

  - Erie Shores shall offer the form of agreement approved by the Board to each landowner, as may be required, along the route of the proposed work.

  - Erie Shores shall obtain all necessary easement rights, authorizations and licences prior to commencement of construction.

- Ontario Energy Board Licences

  - Erie Shores shall obtain a Generator licence prior to construction of the transmission facilities. Notwithstanding the foregoing, Erie Shores may commence site preparation prior to obtaining a Generator licence.

- Other Approvals

8.1	Erie Shores shall obtain, prior to commencement of construction, all other approvals, permits, licences, and certificates required to construct, operate and maintain the proposed project.