## Inputs & Formulas
Synthetic Class Load Data
The purpose of this data is to provide enable practice runs of Cost Allocation model prior to receiving load analysis report
Synthetic loads are to be replaced with data from the HONI load analysis report ASAP.
The values are consistent with the EDR 2006 NARD Decision Model that accompanies this model.
Sequence of classes must match the Cost Allocation model Sheet I2, including blank columns for "No" entries
User inputs class energy (green cells in row 21) on this sheet.
User inputs billing kW of customer-owned transformers (green cells in row 64)
User adopts defaults values of conversion factors or changes them to suit local tastes (brown cells)
User provides local value of DLF (row 46)
Even with HONI load analysis, user will have to provide a coincidence factor(s) at row 66.
See next worksheet for instructions, and the final worksheet for notes about the class load patterns
Disclaimers:
■ these loads and parameters are illustrative only.They are not based on analysis of actual loads, even at the most rudimentary level.
■ If the load data is used in this example in a manner inconsistent with Board Direction report, latter takes precedence
| Rate Classes |  |  | not used |  | not used |  | not used |  | not used | not used | not used | not used | not used | not used | not used | not used | not used | not used | not used
| Res | GS<50 | GS>50 |  | Intermediate |  | Streetlights |  | USL
Annual Energy (EDR submission) | 138708487 | 190000000 | 25076049 |  | 6000000 |  | 3423810 |  | 3000000 | [11 empty] | 366208346 | matches EDR '6-2' N120
Total System, Average Month | 11559040.5833 | 15833333.3333 | 2089670.75 |  | 500000 |  | 285317.5 |  | 250000
Conversion factor: Hrs' Use | 300 | 350 | 375 |  | 400 |  | 360 |  | 720
NCP: average month | 38530.1353 | 45238.0952 | 5572.4553 |  | 1250 |  | 792.5486 |  | 347.2222
12NCP | 462361.6233 | 542857.1429 | 66869.464 |  | 15000 |  | 9510.5833 |  | 4166.6667
4 average months | 154120.5411 | 180952.381 | 22289.8213 |  | 5000 |  | 3170.1944 |  | 1388.8889
Conversion factor: 12 to 4 | 1.05 | 1.05 | 1.05 |  | 1.05 |  | 1 |  | 1
4NCP | 161826.5682 | 190000 | 23404.3124 |  | 5250 |  | 3170.1944 |  | 1388.8889
Conversion factor: 12 to 1 | 1.1 | 1.1 | 1.1 |  | 1.1 |  | 1 |  | 1.01
1NCP | 42383.1488 | 49761.9048 | 6129.7009 |  | 1375 |  | 871.8035 |  | 381.9444
Conversion factor: 1NCP to 1CP | 0.85 | 0.88 | 0.9 |  | 0.9 |  | 0 |  | 1
1 CP | 36025.6765 | 43790.4762 | 5516.7308 |  | 1237.5 |  | 0 |  | 381.9444
Conversion factor: 4NCP to 4CP | 0.875 | 0.9 | 0.92 |  | 0.92 |  | 0 |  | 1
4 CP | 141598.2471 | 171000 | 21531.9674 |  | 4830 |  | 0 |  | 1388.8889
Conversion factor: 12 NCP to 12 CP | 0.9 | 0.94 | 0.96 |  | 0.96 |  | 0.5 |  | 1
12 CP | 416125.461 | 510285.7143 | 64194.6854 |  | 14400 |  | 4755.2917 |  | 4166.6667
Bulk System CP
Conversion Factor: Fraction of Total System | 1 | 1 | 1 |  | 1 |  | 1 |  | 1
1 CP | 36025.6765 | 43790.4762 | 5516.7308 |  | 1237.5 |  | 0 |  | 381.9444
4 CP | 141598.2471 | 171000 | 21531.9674 |  | 4830 |  | 0 |  | 1388.8889
12 CP | 416125.461 | 510285.7143 | 64194.6854 |  | 14400 |  | 4755.2917 |  | 4166.6667
Transformation CP
Conversion Factor: Bulk * DLF | 1.04 | 1.04 | 1.04 |  | 1.04 |  | 1.04 |  | 1.04
1 CP | 37466.7035 | 45542.0952 | 5737.4 |  | 1287 |  | 0 |  | 397.2222
4 CP | 147262.177 | 177840 | 22393.2461 |  | 5023.2 |  | 0 |  | 1444.4444
12 CP | 432770.4794 | 530697.1429 | 66762.4729 |  | 14976 |  | 4945.5033 |  | 4333.3333
Primary NCP
Fraction of Class included | 1 | 1 | 0.75 |  | 0 |  | 1 |  | 1
1 NCP | 42383.1488 | 49761.9048 | 4597.2756 |  | 0 |  | 871.8035 |  | 381.9444
4 NCP | 161826.5682 | 190000 | 17553.2343 |  | 0 |  | 3170.1944 |  | 1388.8889
12 NCP | 462361.6233 | 542857.1429 | 50152.098 |  | 0 |  | 9510.5833 |  | 4166.6667
Secondary NCP
Fraction of Class included | 1 | 0.95 | 0 |  | 0 |  | 0 |  | 1
1 NCP | 42383.1488 | 47273.8095 | 0 |  | 0 |  | 0 |  | 381.9444
4 NCP | 161826.5682 | 180500 | 0 |  | 0 |  | 0 |  | 1388.8889
12 NCP | 462361.6233 | 515714.2857 | 0 |  | 0 |  | 0 |  | 4166.6667
Transformer ownership
kW of customer-owned line transformers |  |  |  |  | 1417 | [15 empty] | 17004 | matches EDR Sheet 6-3 cell P120
Transformer NCP
Conversion factor: individual to "class-coincident" |  |  |  |  | 0.8
1NCP | 42383.1488 | 49761.9048 | 6129.7009 |  | 344.4545 |  | 871.8035 |  | 381.9444
4NCP | 161826.5682 | 190000 | 23404.3124 |  | 931.5238 |  | 3170.1944 |  | 1388.8889
12NCP | 462361.6233 | 542857.1429 | 66869.464 |  | 1396.8 |  | 9510.5833 |  | 4166.6667

## Copy&Paste
Synthetic Class Load Data
Insert columns to match those in the previous worksheet. Put classes in the same sequence.
The purpose of this worksheet is to provide data to copy and paste into the Cost Allocation model Sheet I8.
Copy starting at cell D9. Use Edit,Paste Special, Values into I8 at cell D38.
[6 empty] | not used |  | not used |  | not used |  |  | not used for Nard
|  | Class | Res | GS<50 | GS>50 |  | Intermediate |  | Streetlights |  | USL | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
Row 37 | 1 CP
Row 38 |  |  | 37466.7035 | 45542.0952 | 5737.4 | 0 | 1287 | 0 | 0 | 0 | 397.2222 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Row 39 |  |  | 36025.6765 | 43790.4762 | 5516.7308 | 0 | 1237.5 | 0 | 0 | 0 | 381.9444 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Row 40 |  |  | 36025.6765 | 43790.4762 | 5516.7308 | 0 | 1237.5 | 0 | 0 | 0 | 381.9444 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Row 41
Row 42 | 4 CP
Row 43 |  |  | 147262.177 | 177840 | 22393.2461 | 0 | 5023.2 | 0 | 0 | 0 | 1444.4444 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Row 44 |  |  | 141598.2471 | 171000 | 21531.9674 | 0 | 4830 | 0 | 0 | 0 | 1388.8889 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Row 45 |  |  | 141598.2471 | 171000 | 21531.9674 | 0 | 4830 | 0 | 0 | 0 | 1388.8889 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Row 46
Row 47 | 12 CP
Row 48 |  |  | 432770.4794 | 530697.1429 | 66762.4729 | 0 | 14976 | 0 | 4945.5033 | 0 | 4333.3333 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Row 49 |  |  | 416125.461 | 510285.7143 | 64194.6854 | 0 | 14400 | 0 | 4755.2917 | 0 | 4166.6667 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Row 50 |  |  | 416125.461 | 510285.7143 | 64194.6854 | 0 | 14400 | 0 | 4755.2917 | 0 | 4166.6667 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Row 51
Row 52 | Non CP
Row 53
Row 54 | 1 NCP
Row 55 |  |  | 42383.1488 | 49761.9048 | 6129.7009 | 0 | 1375 | 0 | 871.8035 | 0 | 381.9444 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Row 56 |  |  | 42383.1488 | 49761.9048 | 4597.2756 | 0 | 0 | 0 | 871.8035 | 0 | 381.9444 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Row 57 |  |  | 42383.1488 | 49761.9048 | 6129.7009 | 0 | 344.4545 | 0 | 871.8035 | 0 | 381.9444 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Row 58 |  |  | 42383.1488 | 47273.8095 | 0 | 0 | 0 | 0 | 0 | 0 | 381.9444 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Row 59
Row 60 | 4 NCP
Row 61 |  |  | 161826.5682 | 190000 | 23404.3124 | 0 | 5250 | 0 | 3170.1944 | 0 | 1388.8889 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Row 62 |  |  | 161826.5682 | 190000 | 17553.2343 | 0 | 0 | 0 | 3170.1944 | 0 | 1388.8889 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Row 63 |  |  | 161826.5682 | 190000 | 23404.3124 | 0 | 931.5238 | 0 | 3170.1944 | 0 | 1388.8889 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Row 64 |  |  | 161826.5682 | 180500 | 0 | 0 | 0 | 0 | 0 | 0 | 1388.8889 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Row 65
Row 66 | 12 NCP
Row 67 |  |  | 462361.6233 | 542857.1429 | 66869.464 | 0 | 15000 | 0 | 9510.5833 | 0 | 4166.6667 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Row 68 |  |  | 462361.6233 | 542857.1429 | 50152.098 | 0 | 0 | 0 | 9510.5833 | 0 | 4166.6667 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Row 69 |  |  | 462361.6233 | 542857.1429 | 66869.464 | 0 | 1396.8 | 0 | 9510.5833 | 0 | 4166.6667 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Row 70 |  |  | 462361.6233 | 515714.2857 | 0 | 0 | 0 | 0 | 0 | 0 | 4166.6667 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Assumptions
Synthetic Class Load Data
Notes about the inputs to Sheet 'Inputs & Formulas' ('I&F')
Row and cell references are to Sheet 'I&F'
Required inputs:
Energy: Inputs at row 21 match EDR sheet 6-2, column N
Transformer load: | ■ | Total of row 64 (times 12 months) matches EDR sheet 6-3 cell P120.
| ■ | Amounts shown in rows 67-69 are class-coincident loads of customers that use the LDC's line transformers
Parameters that can be replaced by the user:
The parameters in brown cells in sheet 'I&F' are made-up values representing various diversity factors and coincidence factors
Many of them become redundant upon receiving the HONI load analysis report.
User will need to provide local DLF for Transformer CP (row 46)
User provides a local estimate of coincidence factor at row 66
Assumptions about NARD's customer class loads:
■ | All customers in all classes use the Bulk System (all 1.00 at row 40)
■ | All customers have same DLF= 1.04 ie 4%. (Large Users would have 1.01 at row 46)
■ | No customer in the Intermediate class uses the primary system (0 in cell E52)
■ | 75% of the customer load in GS>50 kW class uses the primary system (0.75 at cell D52)
25% uses only the bulk system
■ | No customer in Intermediate class or GS>50 uses the secondary system. Ditto Streetlights.
(In reality, NARD would be too large to have Intermediate customers, ie a customer larger than 10% of the load would be over 5MW. No matter….)
■ | 95% of the customer load in GS<50 uses secondary system (0.95 at cell C58)
5% uses only bulk and primary.
■ | The transformer credit is given to customers in the Intermediate class only.
■ | The conversion factor at row 66 converts from billing demand to the class coincident value,
The value at cell F69 is the proportion of the amount at F25. The difference between F25 and F69 is lower than 17000 kW (ie total of customer billing demands in EDR).