Vulnerable Energy Consumers Coalition (VECC) Interrogatory

for Hydro One Networks

INTERROGATORY #2.2.1 List 1

## Interrogatory

Generic Issue #2.2:  Deferral Accounts – Revenue Losses Attributable to Unforecasted Distributed Generation

Question  #2.2.1

Reference:	Application

- Is the Applicant currently aware of any potential load displacement projects that could affect revenues for 2006?

- How far in advance (i.e., months) of the actual installation of load displacement generation would the Applicant typically expect to become aware of such a project?

Response

a)	At present Hydro One Distribution is not aware of any potential load displacement projects that could affect revenues for 2006.

b)	Hydro One Distribution typically becomes aware of potential load displacement generation projects about a year in advance of actual installation.  The potential generation customer is asked to identify any load displacement in their application to connect a generator to the distribution system.