## Overview
[6 empty] | Appendix A |  |  |  | Page 1-3
Interim Process to Develop Unbundled Dx Rates
Step 1: Determine Dx Revenue by Class | [6 empty] | Step 3: Design Unbundled Rates (e.g. residential)
| Revenue |  | Cost of Power |  | Dx Revenue |  | (1) Variable Dx Rate (¢/kwh) = (End Rate IDC - Losses) * Some Variance
Residential | Known | - | Unknown | = | Unknown |  | (2) Energy Based Dx Revenue = Variable Dx Rate * kwh in class
General Service | Known | - | Unknown | = | Unknown |  | (3) Fixed Rate Revenue = Class Revenue - Energy Based Revenue
Large Users | Known | - | Unknown | = | Unknown |  | (4) Fixed Rate ($/Month) = Fixed Rate Revenue / Class customers
| Known |  | Known |  | Known
(Loss Rates need to be estimated = cost of losses / delivered energy)
Step 2: Determining Customer Class COP | [5 empty] | Data We Have
A) |  |  | Allocate Utility Volumes |  |  | - Utility WP/SP kW, WP/WOP/SP/SOP kWh
| LU Volumes |  |  |  |  | - Large UserWP/SP kW Coincident with
| (direct assignment, |  |  |  |  | Utility Peak, WP/WOP/SP/SOP kWh
from the data we have)
Data We Need to Estimate
|  |  | General Service & Residential | [5 empty] | - GS kW Coinc with Utility * Loss Factor
|  |  | (Utility - Large User) | [5 empty] | - Residential kW Coinc with Utility * Loss Factor
(can be estimated using Generic
Cost of Service Data or NSLS)
| General Service |  |  |  | Residential |  |  |  | - GS kWh by Period * Loss Factor
- Residential kWh by Period * Loss Factor
- Loss Factor (estimated as difference between
energy purchased and accrued billed energy)
B) | Class COP | = | Class Volumes | * | Utility Rates
|  |  | (WP/SP kW, |  | (Wholesale
|  |  | WP/WOP/SP/ |  | Rates) |  |  | Principles:
|  |  | SOP kWh) |  |  |  |  | - Bill Impacts, hold class revenues constant
- Minimize the number of estimates required and impact
- Use available data or soon to be available
(eg. Generic CoSS, NSLS)

## Calculations
|  |  | Appendix A |  |  |  |  | Page 2-3
Interim Process to Develop Unbundled Dx Rates
1) Determine Dx Revenue by Class
| Revenue | Revenue Adjust | Cost of Power | Distribution
| (Input) | (Input) | (Calculated) | Revenue
Residential | 10634495 | 0 | 8858597.9403 | 1775897.0597
General Service | 20095977 | 0 | 18244781.9496 | 1851195.0504
Large Users | 2935684 | 0 | 3018897.8682 | -83213.8682
Streetlights | 145768 | 0 | 142432.5248 | 3335.4752
Subtotal | 33811924 | 0 | 30264710.283 | 3547213.717
Adjusted for Other Class Revenue (Late payments, rentals, etc.)
2) Class Cost of Power
Volumes (input) | WP kW | SP kW | WP kWH | WOP kWH | SP kWH | SOP kWH | Total kWh
Residential | 161708.949 | 118856.819 | 38319752.7539 | 37087735.4253 | 31105023.2471 | 30313993.4211 | 136826504.8473
General Service | 256284.1164 | 276106.4916 | 81376476.8036 | 73445325.8164 | 75752380.5807 | 62586399.9082 | 293160583.1089
Large Users | 42883.09 | 38918.5185 | 13554231.7514 | 12007110.6004 | 12672836.9346 | 12433781.7684 | 50667961.0549
Streetlights | 3569.2911 | 605.1861 | 450965.396 | 1066938.6872 | 202242.3487 | 894989.557 | 2615135.989
Sentinel Lights | 0 | 0 | 0 | 0 | 0 | 0 | 0
483270185
Rates(Input) | 12.05 | 9.02 | 6.09 | 3.35 | 5.03 | 2.3
Cost of Power | [6 empty] | Total $ | $/kwh
Residential | 1948592.8355 | 1072088.5073 | 2333672.9427 | 1242439.1367 | 1564582.6693 | 697221.8487 | 8858597.9403 | 0.064743
General Service | 3088223.6025 | 2490480.5538 | 4955827.4373 | 2460418.4148 | 3810344.7432 | 1439487.1979 | 18244781.9496 | 0.062235
Large Users | 516741.234 | 351045.037 | 825452.7137 | 402238.2051 | 637443.6978 | 285976.9807 | 3018897.8682 | 0.059582
Streetlights | 43009.958 | 5458.7782 | 27463.7926 | 35742.446 | 10172.7901 | 20584.7598 | 142432.5248 | 0.054465
3) Simplified Rate Design
|  | Residential |  |  | General Service
| Wholesale kWh | 136826504.8473 |  | Wholesale kWh | 293160583.1089
| Loss Factor % | 4.088% |  | Loss Factor % | 4.088%
| Retail kWh | 131453349 |  | Retail kWh | 281648212
| IDC | 0.0062 | <---- $/kwh ----> | IDC | 0.0062
| Loss Rate | 0.0026464 | <---- $/kwh ----> | Loss Rate | 0.0025438
| Variable Dx | 0.0035536 | <---- $/kwh ----> | Variable Dx | 0.0036562
| Variance | 0% |  | Variance | 20%
| Variable Rate | 0.0035536 | <---- $/kwh ----> | Variable Rate | 0.0043874
| Dx Revenue | 1775897.0597 |  | Dx Revenue | 1851195.0504
| Variable Rev | 467134.9822 |  | Variable Rev | 1235698.9526
| Fixed Rev | 1308762.0775 |  | Fixed Rev | 615496.0978
| Customers | 9115 |  | Customers | 1975
| Monthly Fixed Rate | 11.9653 | <---- $/Month ----> | Monthly Fixed Rate | 25.9703

## Inputs
Appendix A | [17 empty] | Page 3-3
Distribution Load Profile Data
Utility Annual Energy (kWh) Retail Sales
| Billed | Adjustments | Accrued |  | Revenues - $ |  | Customers
Total Residential | 131453349 | 0 | 131453349 |  | 10634495 |  | 9115
Sentinal Lighting |  | 0 | 0
Total General Service | 281648212 | 0 | 281648212 |  | 20095977 |  | 1975
Large Use | 48678238 | 0 | 48678238 |  | 2935684 |  | 1
Street Lighting | 2512440 | 0 | 2512440 |  | 145768
Total | 464292239 | 0 | 464292239 |  | 33811924 |  | 11091
(excludes late payments, rentals, etc.)
Calculation of Distribution System Losses
| KWH | KWH | Total | KWH | KWH Sold | Loss
| Purchased | Generated | Wholesale | Adjustment | Adjusted | Factor
ABC Utility | 483270185 | 0 | 483270185 | 0 | 464292239 | 4.088%
Table 2-1
[18 empty] | COINCIDENT LOAD (DEMAND) FACTOR | [13 empty] | COINCIDENT LOAD (DEMAND) FACTOR
Ontario Hydro-MEU Load Research Data (1980's data) | [17 empty] | ONTARIO HYDRO-MEU LOAD DATA (1980'S DATA) | [13 empty] | ONTARIO HYDRO-MEU LOAD DATA (1980'S DATA)
[15 empty] | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sept | Oct | Nov | Dec |  |  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sept | Oct | Nov | Dec
COINCIDENT LOAD (DEMAND) FACTOR | [13 empty] | COINCIDENT LOAD (DEMAND) FACTOR | [13 empty] | COINCIDENT LOAD (DEMAND) FACTOR
Hours in Month | 730 | 730 | 730 | 730 | 730 | 730 | 730 | 730 | 730 | 730 | 730 | 730 | 8760 | Hours in Month | 730 | 730 | 730 | 730 | 730 | 730 | 730 | 730 | 730 | 730 | 730 | 730 | 8760 | Hours in Month | 730 | 730 | 730 | 730 | 730 | 730 | 730 | 730 | 730 | 730 | 730 | 730
Residential | 68.12% | 57.09% | 69.26% | 71.07% | 92.32% | 60.76% | 68.56% | 71.55% | 67.54% | 66.88% | 62.1% | 61.67% |  | Residential | 68.12% | 57.09% | 69.26% | 71.07% | 92.32% | 60.76% | 68.56% | 71.55% | 67.54% | 66.88% | 62.1% | 61.67% |  | Residential | 68.12% | 57.09% | 69.26% | 71.07% | 92.32% | 60.76% | 68.56% | 71.55% | 67.54% | 66.88% | 62.1% | 61.67%
Sentinel Lighting | 62.08% | 51.93% | 51.6% | 43.88% | 0% | 0% | 0% | 0% | 0% | 61.55% | 58.74% | 63.53% |  | Sentinel Lighting | 62.08% | 51.93% | 51.6% | 43.88% | 0% | 0% | 0% | 0% | 0% | 61.55% | 58.74% | 63.53% |  | Sentinel Lighting | 62.08% | 51.93% | 51.6% | 43.88% | 0% | 0% | 0% | 0% | 0% | 61.55% | 58.74% | 63.53%
General Service | 86.54% | 78.83% | 86.46% | 75.73% | 77.53% | 59.9% | 65.68% | 63.12% | 74.08% | 83.2% | 82.51% | 79.53% |  | General Service | 86.54% | 78.83% | 86.46% | 75.73% | 77.53% | 59.9% | 65.68% | 63.12% | 74.08% | 83.2% | 82.51% | 79.53% |  | General Service | 86.54% | 78.83% | 86.46% | 75.73% | 77.53% | 59.9% | 65.68% | 63.12% | 74.08% | 83.2% | 82.51% | 79.53%
Large Use | 92.21% | 81.77% | 84.45% | 80.93% | 89.34% | 100.7% | 99.26% | 88.28% | 77.81% | 78.54% | 74.3% | 79.73% |  | Large Use | 92.21% | 81.77% | 84.45% | 80.93% | 89.34% | 100.7% | 99.26% | 88.28% | 77.81% | 78.54% | 74.3% | 79.73% |  | Street Lighting | 62.16% | 51.99% | 51.67% | 43.94% | 0% | 0% | 0% | 0% | 0% | 61.63% | 58.82% | 63.61%
Street Lighting | 62.16% | 51.99% | 51.67% | 43.94% | 0% | 0% | 0% | 0% | 0% | 61.63% | 58.82% | 63.61% |  | Street Lighting | 62.16% | 51.99% | 51.67% | 43.94% | 0% | 0% | 0% | 0% | 0% | 61.63% | 58.82% | 63.61%
SUB TOTAL | 79.62% | 70.33% | 79.83% | 74.47% | 82.87% | 63.4% | 68.98% | 67.92% | 73.06% | 77.49% | 74.42% | 72.74% |  | SUB TOTAL | 79.62% | 70.33% | 79.83% | 74.47% | 82.87% | 63.4% | 68.98% | 67.92% | 73.06% | 77.49% | 74.42% | 72.74%
Table 2-2
[15 empty] | ONTARIO HYDRO-MEU LOAD DATA (1980'S DATA) May: ENERGY (kWh) WEIGHTING | [6 empty] | ENERGY (kWh) WEIGHTING
[15 empty] | ONTARIO HYDRO-MEU LOAD DATA (1980'S DATA) Apr: ONTARIO HYDRO-MEU LOAD DATA (1980' DATA) | [5 empty] | ONTARIO HYDRO-MEU LOAD DATA (1980' DATA)
[15 empty] | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sept | Oct | Nov | Dec | Annual Total |  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sept | Oct | Nov | Dec
ENERGY (kWh) WEIGHTING | [13 empty] | ENERGY (kWh) WEIGHTING | [13 empty] | ENERGY (kWh) WEIGHTING
Residential | [13 empty] | Residential | [13 empty] | Residential
Peak | 5.52% | 4.849% | 4.967% | 3.698% | 3.723% | 4.001% | 3.936% | 4.124% | 3.251% | 3.524% | 4.527% | 4.619% | 50.74% | Peak | 5.52% | 4.849% | 4.967% | 3.698% | 3.723% | 4.001% | 3.936% | 4.124% | 3.251% | 3.524% | 4.527% | 4.619% | 50.74% | Peak | 5.52% | 4.849% | 4.967% | 3.698% | 3.723% | 4.001% | 3.936% | 4.124% | 3.251% | 3.524% | 4.527% | 4.619%
Off-Peak | 5.532% | 4.569% | 4.254% | 4.362% | 3.343% | 3.121% | 4.205% | 3.667% | 3.457% | 3.48% | 3.865% | 5.405% | 49.26% | Off-Peak | 5.532% | 4.569% | 4.254% | 4.362% | 3.343% | 3.121% | 4.205% | 3.667% | 3.457% | 3.48% | 3.865% | 5.405% | 49.26% | Off-Peak | 5.532% | 4.569% | 4.254% | 4.362% | 3.343% | 3.121% | 4.205% | 3.667% | 3.457% | 3.48% | 3.865% | 5.405%
TOTAL | 11.05% | 9.418% | 9.221% | 8.059% | 7.066% | 7.123% | 8.141% | 7.791% | 6.708% | 7.004% | 8.393% | 10.02% | 100% | TOTAL | 11.05% | 9.418% | 9.221% | 8.059% | 7.066% | 7.123% | 8.141% | 7.791% | 6.708% | 7.004% | 8.393% | 10.02% | 100% | TOTAL | 11.05% | 9.418% | 9.221% | 8.059% | 7.066% | 7.123% | 8.141% | 7.791% | 6.708% | 7.004% | 8.393% | 10.02%
Sentinel Lighting | [13 empty] | Sentinel Lighting | [13 empty] | Sentinel Lighting
Peak | 3.27% | 2.624% | 2.462% | 1.345% | 1.26% | 1.043% | 0.981% | 1.38% | 1.725% | 2.503% | 3.27% | 3.115% | 24.98% | Peak | 3.27% | 2.624% | 2.462% | 1.345% | 1.26% | 1.043% | 0.981% | 1.38% | 1.725% | 2.503% | 3.27% | 3.115% | 24.98% | Peak | 3.27% | 2.624% | 2.462% | 1.345% | 1.26% | 1.043% | 0.981% | 1.38% | 1.725% | 2.503% | 3.27% | 3.115%
Off-Peak | 7.23% | 6.159% | 6.266% | 6.079% | 5.485% | 5.001% | 5.478% | 5.883% | 6.299% | 6.845% | 6.666% | 7.632% | 75.02% | Off-Peak | 7.23% | 6.159% | 6.266% | 6.079% | 5.485% | 5.001% | 5.478% | 5.883% | 6.299% | 6.845% | 6.666% | 7.632% | 75.02% | Off-Peak | 7.23% | 6.159% | 6.266% | 6.079% | 5.485% | 5.001% | 5.478% | 5.883% | 6.299% | 6.845% | 6.666% | 7.632%
TOTAL | 10.5% | 8.783% | 8.729% | 7.423% | 6.745% | 6.044% | 6.459% | 7.263% | 8.024% | 9.348% | 9.937% | 10.75% | 100% | TOTAL | 10.5% | 8.783% | 8.729% | 7.423% | 6.745% | 6.044% | 6.459% | 7.263% | 8.024% | 9.348% | 9.937% | 10.75% | 100% | TOTAL | 10.5% | 8.783% | 8.729% | 7.423% | 6.745% | 6.044% | 6.459% | 7.263% | 8.024% | 9.348% | 9.937% | 10.75%
General Service | [13 empty] | General Service | [13 empty] | General Service
Peak | 4.781% | 4.464% | 4.834% | 3.925% | 4.442% | 4.467% | 4.138% | 4.64% | 4.227% | 4.363% | 4.932% | 4.384% | 53.6% | Peak | 4.781% | 4.464% | 4.834% | 3.925% | 4.442% | 4.467% | 4.138% | 4.64% | 4.227% | 4.363% | 4.932% | 4.384% | 53.6% | Peak | 4.781% | 4.464% | 4.834% | 3.925% | 4.442% | 4.467% | 4.138% | 4.64% | 4.227% | 4.363% | 4.932% | 4.384%
Off-Peak | 4.599% | 3.991% | 3.846% | 3.816% | 3.384% | 3.228% | 3.76% | 3.588% | 3.573% | 3.777% | 3.832% | 5.007% | 46.4% | Off-Peak | 4.599% | 3.991% | 3.846% | 3.816% | 3.384% | 3.228% | 3.76% | 3.588% | 3.573% | 3.777% | 3.832% | 5.007% | 46.4% | Off-Peak | 4.599% | 3.991% | 3.846% | 3.816% | 3.384% | 3.228% | 3.76% | 3.588% | 3.573% | 3.777% | 3.832% | 5.007%
TOTAL | 9.38% | 8.455% | 8.68% | 7.741% | 7.826% | 7.694% | 7.898% | 8.229% | 7.8% | 8.14% | 8.765% | 9.391% | 100% | TOTAL | 9.38% | 8.455% | 8.68% | 7.741% | 7.826% | 7.694% | 7.898% | 8.229% | 7.8% | 8.14% | 8.765% | 9.391% | 100% | TOTAL | 9.38% | 8.455% | 8.68% | 7.741% | 7.826% | 7.694% | 7.898% | 8.229% | 7.8% | 8.14% | 8.765% | 9.391%
Large Use | [13 empty] | Large Use | [13 empty] | Street Lighting
Peak | 4.577% | 4.428% | 5.013% | 4.12% | 4.595% | 4.424% | 3.17% | 4.569% | 4.132% | 4.458% | 4.576% | 3.7% | 51.76% | Peak | 4.577% | 4.428% | 5.013% | 4.12% | 4.595% | 4.424% | 3.17% | 4.569% | 4.132% | 4.458% | 4.576% | 3.7% | 51.76% | Peak | 3.27% | 2.624% | 2.462% | 1.345% | 1.26% | 1.043% | 0.981% | 1.38% | 1.725% | 2.503% | 3.27% | 3.115%
Off-Peak | 4.313% | 4.191% | 3.919% | 4.38% | 4.207% | 4.086% | 3.605% | 4.371% | 3.891% | 3.958% | 3.663% | 3.654% | 48.24% | Off-Peak | 4.313% | 4.191% | 3.919% | 4.38% | 4.207% | 4.086% | 3.605% | 4.371% | 3.891% | 3.958% | 3.663% | 3.654% | 48.24% | Off-Peak | 7.23% | 6.159% | 6.266% | 6.079% | 5.485% | 5.001% | 5.478% | 5.883% | 6.299% | 6.845% | 6.666% | 7.632%
TOTAL | 8.889% | 8.619% | 8.931% | 8.5% | 8.803% | 8.51% | 6.775% | 8.94% | 8.024% | 8.416% | 8.239% | 7.354% | 100% | TOTAL | 8.889% | 8.619% | 8.931% | 8.5% | 8.803% | 8.51% | 6.775% | 8.94% | 8.024% | 8.416% | 8.239% | 7.354% | 100% | TOTAL | 10.5% | 8.783% | 8.729% | 7.423% | 6.745% | 6.044% | 6.459% | 7.263% | 8.024% | 9.348% | 9.937% | 10.75%
Street Lighting | [13 empty] | Street Lighting
Peak | 3.27% | 2.624% | 2.462% | 1.345% | 1.26% | 1.043% | 0.981% | 1.38% | 1.725% | 2.503% | 3.27% | 3.115% | 24.98% | Peak | 3.27% | 2.624% | 2.462% | 1.345% | 1.26% | 1.043% | 0.981% | 1.38% | 1.725% | 2.503% | 3.27% | 3.115% | 24.98%
Off-Peak | 7.23% | 6.159% | 6.266% | 6.079% | 5.485% | 5.001% | 5.478% | 5.883% | 6.299% | 6.845% | 6.666% | 7.632% | 75.02% | Off-Peak | 7.23% | 6.159% | 6.266% | 6.079% | 5.485% | 5.001% | 5.478% | 5.883% | 6.299% | 6.845% | 6.666% | 7.632% | 75.02%
TOTAL | 10.5% | 8.783% | 8.729% | 7.423% | 6.745% | 6.044% | 6.459% | 7.263% | 8.024% | 9.348% | 9.937% | 10.75% | 100% | TOTAL | 10.5% | 8.783% | 8.729% | 7.423% | 6.745% | 6.044% | 6.459% | 7.263% | 8.024% | 9.348% | 9.937% | 10.75% | 100%
Total Peak kWh | 4.97% | 4.563% | 4.877% | 3.862% | 4.225% | 4.303% | 3.96% | 4.46% | 3.913% | 4.112% | 4.766% | 4.376% | 52.39% | Total Peak kWh | 4.97% | 4.563% | 4.877% | 3.862% | 4.225% | 4.303% | 3.96% | 4.46% | 3.913% | 4.112% | 4.766% | 4.376% | 52.39%
Total Off-Peak kWh | 4.862% | 4.196% | 3.989% | 4.049% | 3.469% | 3.295% | 3.886% | 3.706% | 3.588% | 3.726% | 3.842% | 5.003% | 47.61% | Total Off-Peak kWh | 4.862% | 4.196% | 3.989% | 4.049% | 3.469% | 3.295% | 3.886% | 3.706% | 3.588% | 3.726% | 3.842% | 5.003% | 47.61%
SYSTEM TOTAL kWh | 9.833% | 8.759% | 8.866% | 7.911% | 7.694% | 7.598% | 7.846% | 8.166% | 7.501% | 7.839% | 8.608% | 9.379% | 100% | SYSTEM TOTAL kWh | 9.833% | 8.759% | 8.866% | 7.911% | 7.694% | 7.598% | 7.846% | 8.166% | 7.501% | 7.839% | 8.608% | 9.379% | 100%
Table 2-3
[15 empty] | ONTARIO HYDRO-MEU LOAD DATA (1980' DATA) May: CALCULATED WHOLESALE DEMAND (kW) QUANTITIES | [6 empty] | CALCULATED WHOLESALE DEMAND (kW) QUANTITIES
Calculated Wholesale Quantities | [14 empty] | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sept | Oct | Nov | Dec |  |  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sept | Oct | Nov | Dec
COINCIDENT PEAK DEMAND | JAN. | FEB. | MAR. | APR. | MAY | JUN. | JUL. | AUG. | SEP. | OCT. | NOV. | DEC. |  | COINCIDENT PEAK DEMAND | [13 empty] | COINCIDENT PEAK DEMAND
Residential | 30409.2054 | 30921.246 | 24952.0792 | 21255.174 | 14346.5284 | 21971.6624 | 22256.6536 | 20410.3553 | 18616.4453 | 19628.4482 | 25331.3296 | 30466.6405 |  | Residential | 30409.2054 | 30921.246 | 24952.0792 | 21255.174 | 14346.5284 | 21971.6624 | 22256.6536 | 20410.3553 | 18616.4453 | 19628.4482 | 25331.3296 | 30466.6405 |  | Residential | 30409.2054 | 30921.246 | 24952.0792 | 21255.174 | 14346.5284 | 21971.6624 | 22256.6536 | 20410.3553 | 18616.4453 | 19628.4482 | 25331.3296 | 30466.6405
Sentinel Lighting | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Sentinel Lighting | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Sentinel Lighting | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total GS | 43527.9561 | 43074.6403 | 40316.9177 | 41049.9899 | 40540.2677 | 51584.2624 | 48294.5399 | 52353.2044 | 42284.2272 | 39288.6395 | 42658.4361 | 47417.5267 |  | General Service | 43527.9561 | 43074.6403 | 40316.9177 | 41049.9899 | 40540.2677 | 51584.2624 | 48294.5399 | 52353.2044 | 42284.2272 | 39288.6395 | 42658.4361 | 47417.5267 |  | General Service | 43527.9561 | 43074.6403 | 40316.9177 | 41049.9899 | 40540.2677 | 51584.2624 | 48294.5399 | 52353.2044 | 42284.2272 | 39288.6395 | 42658.4361 | 47417.5267
Large Use | 6691.2552 | 7316.1157 | 7340.8778 | 7289.71 | 6838.9515 | 5866.435 | 4737.5665 | 7028.7215 | 7157.134 | 7436.6393 | 7695.9844 | 6402.2175 |  | Large Use | 6691.2552 | 7316.1157 | 7340.8778 | 7289.71 | 6838.9515 | 5866.435 | 4737.5665 | 7028.7215 | 7157.134 | 7436.6393 | 7695.9844 | 6402.2175 |  | Street Lighting | 605.1861 | 605.1861 | 605.1861 | 605.1861 | 0 | 0 | 0 | 0 | 0 | 543.3608 | 605.1861 | 605.1861
Street Lighting | 605.1861 | 605.1861 | 605.1861 | 605.1861 | 0 | 0 | 0 | 0 | 0 | 543.3608 | 605.1861 | 605.1861 |  | Street Lighting | 605.1861 | 605.1861 | 605.1861 | 605.1861 | 0 | 0 | 0 | 0 | 0 | 543.3608 | 605.1861 | 605.1861
TOTAL | 81233.6028 | 81917.1881 | 73215.0608 | 70200.06 | 61725.7476 | 79422.3599 | 75288.7599 | 79792.2812 | 68057.8065 | 66897.0879 | 76290.9361 | 84891.5709 | [17 empty] | Winter Peak |  | Summer Peak
[28 empty] | Residential |  | 161708.949 |  | 118856.819
[16 empty] | Winter Peak |  | Summer Peak | [9 empty] | Sentinel Lighting |  | 0 |  | 0
[14 empty] | Residential |  | 161708.949 |  | 118856.819 | [9 empty] | General Service |  | 256284.1164 |  | 169324.7021
[14 empty] | Sentinel Lighting |  | 0 |  | 0 | [9 empty] | Street Lighting |  | 3569.2911 |  | 605
[14 empty] | Total GS |  | 256284.1164 |  | 169324.7021
[14 empty] | Large Use |  | 42883.09 |  | 27871.7569
[14 empty] | Street Lighting |  | 3569.2911 |  | 605
[14 empty] | TOTAL |  | 464445.4465 |  | 290032.4393
Table 2-4
[17 empty] | CALCULATED MONTHLY WHOLESALE ENERGY (kWh) QUANTITIES | [13 empty] | CALCULATED MONTHLY WHOLESALE ENERGY (kWh) QUANTITIES
[15 empty] | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sept | Oct | Nov | Dec |  |  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sept | Oct | Nov | Dec
ENERGY INCLUDING LOSSES - WHOLESALE PURCHASE AMOUNT | [13 empty] | ENERGY INCLUDING LOSSES - WHOLESALE PURCHASE AMOUNT | [13 empty] | ENERGY INCLUDING LOSSES - WHOLESALE PURCHASE AMOUNT
Residential | [13 empty] | Residential | [13 empty] | Residential
Peak | 7552814.6546 | 6634276.3601 | 6796286.5923 | 5059452.7102 | 5093454.8612 | 5474628.6002 | 5385846.1424 | 5642993.7425 | 4448647.1906 | 4821690.8226 | 6194432.8967 | 6320251.4275 | 69424776.0009 | Peak | 7552814.6546 | 6634276.3601 | 6796286.5923 | 5059452.7102 | 5093454.8612 | 5474628.6002 | 5385846.1424 | 5642993.7425 | 4448647.1906 | 4821690.8226 | 6194432.8967 | 6320251.4275 |  | Peak | 7552814.6546 | 6634276.3601 | 6796286.5923 | 5059452.7102 | 5093454.8612 | 5474628.6002 | 5385846.1424 | 5642993.7425 | 4448647.1906 | 4821690.8226 | 6194432.8967 | 6320251.4275
Off-Peak | 7569875.4131 | 6252180.0474 | 5820313.3922 | 5968026.3233 | 4574739.6856 | 4270934.324 | 5753052.4037 | 5017072.8919 | 4730167.7925 | 4760996.1679 | 5288910.4966 | 7395459.9081 | 67401728.8464 | Off-Peak | 7569875.4131 | 6252180.0474 | 5820313.3922 | 5968026.3233 | 4574739.6856 | 4270934.324 | 5753052.4037 | 5017072.8919 | 4730167.7925 | 4760996.1679 | 5288910.4966 | 7395459.9081 |  | Off-Peak | 7569875.4131 | 6252180.0474 | 5820313.3922 | 5968026.3233 | 4574739.6856 | 4270934.324 | 5753052.4037 | 5017072.8919 | 4730167.7925 | 4760996.1679 | 5288910.4966 | 7395459.9081
TOTAL | 15122690.0678 | 12886456.4076 | 12616599.9845 | 11027479.0335 | 9668194.5468 | 9745562.9242 | 11138898.5461 | 10660066.6345 | 9178814.9831 | 9582686.9904 | 11483343.3932 | 13715711.3356 | 136826504.8473 | TOTAL | 15122690.0678 | 12886456.4076 | 12616599.9845 | 11027479.0335 | 9668194.5468 | 9745562.9242 | 11138898.5461 | 10660066.6345 | 9178814.9831 | 9582686.9904 | 11483343.3932 | 13715711.3356 |  | TOTAL | 15122690.0678 | 12886456.4076 | 12616599.9845 | 11027479.0335 | 9668194.5468 | 9745562.9242 | 11138898.5461 | 10660066.6345 | 9178814.9831 | 9582686.9904 | 11483343.3932 | 13715711.3356
Sentinel Lighting | [13 empty] | GS Total | [13 empty] | Sentinel Lighting
Peak | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Peak | 14017381.3147 | 13087833.4109 | 14170765.1371 | 11507508.903 | 13022141.8128 | 13094359.2119 | 12131922.6996 | 13603762.6633 | 12392685.2901 | 12789915.6744 | 14459718.5368 | 12850862.7297 |  | Peak | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Off-Peak | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Off-Peak | 13481741.9217 | 11699425.0433 | 11276140.0719 | 11186814.4801 | 9921441.1123 | 9462339.3662 | 11022447.7576 | 10519748.798 | 10473608.394 | 11073329.1436 | 11234698.8302 | 14679990.8058 |  | Off-Peak | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TOTAL | 27499123.2364 | 24787258.4542 | 25446905.2089 | 22694323.3832 | 22943582.9251 | 22556698.5781 | 23154370.4572 | 24123511.4613 | 22866293.6841 | 23863244.8179 | 25694417.367 | 27530853.5354 |  | TOTAL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GS Total | [13 empty] | Large Use | [13 empty] | General Service
Peak | 14017381.3147 | 13087833.4109 | 14170765.1371 | 11507508.903 | 13022141.8128 | 13094359.2119 | 12131922.6996 | 13603762.6633 | 12392685.2901 | 12789915.6744 | 14459718.5368 | 12850862.7297 | 157128857.3843 | Peak | 2318886.0586 | 2243518.0814 | 2539828.8736 | 2087685.2387 | 2328391.8315 | 2241615.185 | 1606329.7497 | 2315048.6961 | 2093766.2336 | 2258679.2014 | 2318431.0181 | 1874888.5184 |  | Peak | 14017381.3147 | 13087833.4109 | 14170765.1371 | 11507508.903 | 13022141.8128 | 13094359.2119 | 12131922.6996 | 13603762.6633 | 12392685.2901 | 12789915.6744 | 14459718.5368 | 12850862.7297
Off-Peak | 13481741.9217 | 11699425.0433 | 11276140.0719 | 11186814.4801 | 9921441.1123 | 9462339.3662 | 11022447.7576 | 10519748.798 | 10473608.394 | 11073329.1436 | 11234698.8302 | 14679990.8058 | 136031725.7245 | Off-Peak | 2185183.6394 | 2123688.9524 | 1985518.8635 | 2219258.33 | 2131680.464 | 2070208.6379 | 1826433.2437 | 2214616.4821 | 1971584.6109 | 2005309.8566 | 1856028.2898 | 1851380.9989 |  | Off-Peak | 13481741.9217 | 11699425.0433 | 11276140.0719 | 11186814.4801 | 9921441.1123 | 9462339.3662 | 11022447.7576 | 10519748.798 | 10473608.394 | 11073329.1436 | 11234698.8302 | 14679990.8058
TOTAL | 27499123.2364 | 24787258.4542 | 25446905.2089 | 22694323.3832 | 22943582.9251 | 22556698.5781 | 23154370.4572 | 24123511.4613 | 22866293.6841 | 23863244.8179 | 25694417.367 | 27530853.5354 | 293160583.1089 | TOTAL | 4504069.6979 | 4367207.0338 | 4525347.7371 | 4306943.5687 | 4460072.2955 | 4311823.8229 | 3432762.9934 | 4529665.1781 | 4065350.8445 | 4263989.0579 | 4174459.3079 | 3726269.5172 |  | TOTAL | 27499123.2364 | 24787258.4542 | 25446905.2089 | 22694323.3832 | 22943582.9251 | 22556698.5781 | 23154370.4572 | 24123511.4613 | 22866293.6841 | 23863244.8179 | 25694417.367 | 27530853.5354
Large Use | [13 empty] | Street Lighting | [13 empty] | Street Lighting
Peak | 2318886.0586 | 2243518.0814 | 2539828.8736 | 2087685.2387 | 2328391.8315 | 2241615.185 | 1606329.7497 | 2315048.6961 | 2093766.2336 | 2258679.2014 | 2318431.0181 | 1874888.5184 | 26227068.686 | Peak | 85519.1186 | 68627.2426 | 64392.4812 | 35165.2905 | 32948.33 | 27270.1859 | 25654.897 | 36089.8102 | 45113.835 | 65455.3644 | 85521.215 | 81449.9742 |  | Peak | 85519.1186 | 68627.2426 | 64392.4812 | 35165.2905 | 32948.33 | 27270.1859 | 25654.897 | 36089.8102 | 45113.835 | 65455.3644 | 85521.215 | 81449.9742
Off-Peak | 2185183.6394 | 2123688.9524 | 1985518.8635 | 2219258.33 | 2131680.464 | 2070208.6379 | 1826433.2437 | 2214616.4821 | 1971584.6109 | 2005309.8566 | 1856028.2898 | 1851380.9989 | 24440892.3689 | Off-Peak | 189077.9013 | 161071.8731 | 163876.8784 | 158962.8781 | 143439.9621 | 130789.1367 | 143244.9954 | 153836.0916 | 164716.4932 | 179001.4753 | 174332.7557 | 199577.8033 |  | Off-Peak | 189077.9013 | 161071.8731 | 163876.8784 | 158962.8781 | 143439.9621 | 130789.1367 | 143244.9954 | 153836.0916 | 164716.4932 | 179001.4753 | 174332.7557 | 199577.8033
TOTAL | 4504069.6979 | 4367207.0338 | 4525347.7371 | 4306943.5687 | 4460072.2955 | 4311823.8229 | 3432762.9934 | 4529665.1781 | 4065350.8445 | 4263989.0579 | 4174459.3079 | 3726269.5172 | 50667961.0549 | TOTAL | 274597.0199 | 229699.1157 | 228269.3597 | 194128.1686 | 176388.2921 | 158059.3226 | 168899.8924 | 189925.9017 | 209830.3283 | 244456.8397 | 259853.9708 | 281027.7775 |  | TOTAL | 274597.0199 | 229699.1157 | 228269.3597 | 194128.1686 | 176388.2921 | 158059.3226 | 168899.8924 | 189925.9017 | 209830.3283 | 244456.8397 | 259853.9708 | 281027.7775
Street Lighting
Peak | 85519.1186 | 68627.2426 | 64392.4812 | 35165.2905 | 32948.33 | 27270.1859 | 25654.897 | 36089.8102 | 45113.835 | 65455.3644 | 85521.215 | 81449.9742 | 653207.7448 | Total Peak Energy | 23974601.1465 | 22034255.095 | 23571273.0842 | 18689812.1424 | 20476936.8355 | 20837873.1831 | 19149753.4887 | 21597894.9121 | 18980212.5493 | 19935741.0627 | 23058103.6667 | 21127452.6497
Off-Peak | 189077.9013 | 161071.8731 | 163876.8784 | 158962.8781 | 143439.9621 | 130789.1367 | 143244.9954 | 153836.0916 | 164716.4932 | 179001.4753 | 174332.7557 | 199577.8033 | 1961928.2442 | Total Off-Peak Energy | 23425878.8754 | 20236365.9162 | 19245849.2059 | 19533062.0115 | 16771301.2239 | 15934271.4648 | 18745178.4003 | 17905274.2636 | 17340077.2906 | 18018636.6433 | 18553970.3723 | 24126409.5161
TOTAL | 274597.0199 | 229699.1157 | 228269.3597 | 194128.1686 | 176388.2921 | 158059.3226 | 168899.8924 | 189925.9017 | 209830.3283 | 244456.8397 | 259853.9708 | 281027.7775 | 2615135.989 | SYSTEM TOTAL | 47400480.022 | 42270621.0113 | 42817122.2902 | 38222874.1539 | 37248238.0594 | 36772144.6478 | 37894931.889 | 39503169.1757 | 36320289.8399 | 37954377.706 | 41612074.039 | 45253862.1658
Peak Energy | 23974601.1465 | 22034255.095 | 23571273.0842 | 18689812.1424 | 20476936.8355 | 20837873.1831 | 19149753.4887 | 21597894.9121 | 18980212.5493 | 19935741.0627 | 23058103.6667 | 21127452.6497 | 253433909.816
Off-Peak Energy | 23425878.8754 | 20236365.9162 | 19245849.2059 | 19533062.0115 | 16771301.2239 | 15934271.4648 | 18745178.4003 | 17905274.2636 | 17340077.2906 | 18018636.6433 | 18553970.3723 | 24126409.5161 | 229836275.184
SYSTEM TOTAL | 47400480.022 | 42270621.0113 | 42817122.2902 | 38222874.1539 | 37248238.0594 | 36772144.6478 | 37894931.889 | 39503169.1757 | 36320289.8399 | 37954377.706 | 41612074.039 | 45253862.1658 | 483270185
Table 2-5
[14 empty] | CALCULATED TOU WHOLESALE ENERGY (kWh) QUANTITIES | [13 empty] | CALCULATED TOU WHOLESALE ENERGY (kWh) QUANTITIES
[15 empty] | Jan: Winter Peak; Feb: Winter Off-Peak; CALCULATED MONTHLY WHOLESALE ENERGY (kWh) QUANTITIES Mar: Summer Peak; CALCULATED MONTHLY WHOLESALE ENERGY (kWh) QUANTITIES Apr: Summer Off-Peak; CALCULATED MONTHLY WHOLESALE ENERGY (kWh) QUANTITIES May: Total |  |  | Winter Peak | Winter Off-Peak | Summer Peak | Summer Off-Peak | Total
[15 empty] | Jan: kWh; Feb: kWh; CALCULATED MONTHLY WHOLESALE ENERGY (kWh) QUANTITIES Mar: kWh; CALCULATED MONTHLY WHOLESALE ENERGY (kWh) QUANTITIES Apr: kWh; CALCULATED MONTHLY WHOLESALE ENERGY (kWh) QUANTITIES May: kWh |  |  | kWh | kWh | kWh | kWh | kWh
[14 empty] | Energy including system losses - wholesale purchase amounts | [13 empty] | Energy including system losses - wholesale purchase amounts
[14 empty] | Residential | Jan: 38319752.7539; Feb: 37087735.4253; CALCULATED MONTHLY WHOLESALE ENERGY (kWh) QUANTITIES Mar: 31105023.2471; CALCULATED MONTHLY WHOLESALE ENERGY (kWh) QUANTITIES Apr: 30313993.4211; CALCULATED MONTHLY WHOLESALE ENERGY (kWh) QUANTITIES May: 136826504.8473 |  | Residential | 38319752.7539 | 37087735.4253 | 31105023.2471 | 30313993.4211 | 136826504.8473
[14 empty] | General Service | Jan: 81376476.8036; Feb: 73445325.8164; CALCULATED MONTHLY WHOLESALE ENERGY (kWh) QUANTITIES Mar: 75752380.5807; CALCULATED MONTHLY WHOLESALE ENERGY (kWh) QUANTITIES Apr: 62586399.9082; CALCULATED MONTHLY WHOLESALE ENERGY (kWh) QUANTITIES May: 293160583.1089 |  | Sentinel Lighting | 0 | 0 | 0 | 0 | 0
[14 empty] | Large Use | Jan: 13554231.7514; Feb: 12007110.6004; CALCULATED MONTHLY WHOLESALE ENERGY (kWh) QUANTITIES Mar: 12672836.9346; CALCULATED MONTHLY WHOLESALE ENERGY (kWh) QUANTITIES Apr: 12433781.7684; CALCULATED MONTHLY WHOLESALE ENERGY (kWh) QUANTITIES May: 50667961.0549 |  | General Service | 81376476.8036 | 73445325.8164 | 75752380.5807 | 62586399.9082 | 293160583.1089
[14 empty] | Street Lighting | Jan: 450965.396; Feb: 1066938.6872; CALCULATED MONTHLY WHOLESALE ENERGY (kWh) QUANTITIES Mar: 202242.3487; CALCULATED MONTHLY WHOLESALE ENERGY (kWh) QUANTITIES Apr: 894989.557; CALCULATED MONTHLY WHOLESALE ENERGY (kWh) QUANTITIES May: 2615135.989 |  | Street Lighting | 450965.396 | 1066938.6872 | 202242.3487 | 894989.557 | 2615135.989
UTILITY ANNUAL ENERGY (kWh) RETAIL SALES
[15 empty] | kWh Billed | Revenues $
[14 empty] | Total Residential | Jan: 131453349; Feb: 10634495
[14 empty] | Total General Service | Jan: 281648212; Feb: 20095977
[14 empty] | Large Use | Jan: 48678238; Feb: 2935684
[14 empty] | Street Lighting | Jan: 2512440; Feb: 145768
[14 empty] | Total | Jan: 464292239; Feb: 33811924
CALCULATION OF DISTRIBUTION SYSTEM LOSSES
[15 empty] | kWh | kWh | Total | KWH Sold | Loss
[15 empty] | Purchased | Generated | Wholesale kWh |  | Factor
[15 empty] | 483270185 | 0 | 483270185 | 464292239 | 0.040875