## Appendix C
A | B | C | D | E | F | G | H | I | J | K | L | M
Year | Ontario Seasonal Average Avoided Energy Cost (CAD$/MWh) | [7 empty] | Avoided Generation Capacity Costs (CAD$/kw-yr) | Avoided Transmission Capacity Costs (CAD$/kw-year) | Avoided Distribution Capacity Cost (CAD$/kw-year) | Avoided Capacity Costs for Demand Response (CAD$/KW-yr)
| Winter |  |  | Summer |  |  | Shoulder
| On Peak | Mid-Peak | Off-Peak | On Peak | Mid-Peak | Off-Peak | Mid-Peak | Off Peak
Hours/Period | 602 | 688 | 1614 | 522 | 783 | 1623 | 1305 | 1623 | n/a | n/a | na | na
2006 | 120.8 | 83.9 | 45.4 | 112.9 | 81.4 | 47.5 | 84.2 | 42.3 | 0 | 0 | 0 | 0
2007 | 124.6 | 84.3 | 45.2 | 111.5 | 79.6 | 45.9 | 81.4 | 40.8 | 0 | 0 | 0 | 0
2008 | 115.4 | 86.8 | 48.9 | 110.6 | 83.6 | 50.1 | 90.4 | 44.9 | 74.65 | 5.62 | 0 | 144.8418
2009 | 111.9 | 77.1 | 48.9 | 104.5 | 79.5 | 47.6 | 85.8 | 43.4 | 83.57 | 5.76 | 7.1748 | 146.6967
2010 | 113.5 | 77.4 | 52.1 | 107 | 80.5 | 48.2 | 83.5 | 43.4 | 71.49 | 5.9 | 7.3542 | 148.5539
2011 | 110.2 | 77.3 | 52.7 | 103.2 | 81.3 | 48.5 | 84.2 | 43 | 85.42 | 6.05 | 7.538 | 150.4122
2012 | 112.4 | 78.9 | 53.3 | 113.1 | 84.6 | 51.2 | 88.5 | 47.8 | 81.2 | 6.2 | 7.7265 | 152.2706
2013 | 125.2 | 86.4 | 59.9 | 116.9 | 91.3 | 54 | 92.5 | 51.9 | 61.6 | 6.36 | 7.9196 | 154.2498
2014 | 125.7 | 92.4 | 62.8 | 127.9 | 96.8 | 56.7 | 98.9 | 54.4 | 46.63 | 6.52 | 8.1176 | 156.2328
2015 | 127.4 | 94.7 | 69.6 | 151.6 | 106.7 | 62.5 | 102.8 | 59.9 | 23.16 | 6.68 | 8.3205 | 158.2184
2016 | 131.7 | 97.3 | 70.9 | 152.5 | 108.1 | 63.9 | 104.5 | 61.4 | 26.88 | 6.85 | 8.5286 | 160.2058
2017 | 136 | 100 | 72.1 | 153.5 | 109.5 | 65.3 | 106.2 | 62.8 | 29.94 | 7.02 | 8.7418 | 162.3281
2018 | 140.3 | 102.7 | 73.4 | 154.4 | 110.9 | 66.8 | 108 | 64.3 | 31.66 | 7.19 | 8.9603 | 164.3185
2019 | 144.6 | 105.4 | 74.6 | 155.3 | 112.3 | 68.2 | 109.7 | 65.7 | 32.41 | 7.37 | 9.1843 | 166.5896
2020 | 148.9 | 108.1 | 75.9 | 156.3 | 113.6 | 69.6 | 111.4 | 67.2 | 31.85 | 7.56 | 9.4139 | 168.7267
2021 | 152.4 | 110.4 | 78 | 157.1 | 116.5 | 71.5 | 114.7 | 69.1 | 38.27 | 7.74 | 9.6493 | 170.8666
2022 | 155.8 | 112.7 | 80 | 157.9 | 119.4 | 73.4 | 117.9 | 71 | 41.97 | 7.94 | 9.8905 | 173.1602
2023 | 159.3 | 115 | 82.1 | 158.7 | 122.4 | 75.3 | 121.1 | 72.9 | 44.22 | 8.14 | 10.1378 | 175.4616
2024 | 162.7 | 117.3 | 84.2 | 159.5 | 125.3 | 77.2 | 124.3 | 74.8 | 44.56 | 8.34 | 10.3912 | 177.7699
2025 | 166.1 | 119.7 | 86.3 | 160.3 | 128.2 | 79.1 | 127.5 | 76.7 | 42.02 | 8.55 | 10.651 | 180.0839