## 00 Cover
Benefit-Cost Analysis Data Filing Submission Template
All electricity distributors must complete both the Summary tab and the Annual Values tab to accompany their filing submission. Values in the Summary tab should be linked to the Annual Values tab or other additional tabs included by the electricity distributor using formulas.
Electricity distributors are strongly encouraged to include additional tabs providing the upstream calculations that deliver the Annual Values tab and Summary tab outputs.
Ontario Energy Board

## 01 Ex#1 - Summary
General Information
Electricity Distributor Name | Example LDC |  | Calculated Value
Project or Program Name | Demand Response Program to Defer Nemo Transformer Station (TS) Expansion |  | Manual Input
Description of NWS(s) (<150 words) | LDC proposes to deploy an 11MVA (~10MW) space-cooling DR solution including both institutional and large multi-residential building customers to defer the expansion of Nemo TS by 5 years.
Analysis not dynamic to year values entered here - for display only.
Year for Net Present Value | 2023
Constant Dollar Year (i.e., nominal values deflated to this year) | 2023
Distribution Service Test
DST Benefits
(Add more rows as required)
Benefit | Benefit Type | NPV (Millions 2023 $)
Distribution Capacity Benefit | Distribution Capacity (Deferral or Avoidance Benefit) | 11.2524
Total DST Benefit |  | 11.2524
DST Costs
(Add more rows as required)
Cost | Cost Type | NPV (Millions 2023 $)
Contracting Costs | DER Acquisition Cost | 0.14366
Incentive Costs | DER Acquisition Cost | 2.0113
Equipment and System Costs | DER Acquisition Cost | 0.53873
Operation and Maintenance Costs | DER Operations, Maintenance, and Administrative (OM&A) Costs | 0.35915
Administrative Costs | DER Operations, Maintenance, and Administrative (OM&A) Costs | 0.17958
Evaluation, Measurement, and Verification (EM&V) | DER Operations, Maintenance, and Administrative (OM&A) Costs | 0.35915
Total DST Cost |  | 3.5915
NPV Net DST Benefit | 7.6608
Energy System Test (Not Applicable for Example #1)
EST Benefits
(Add more rows as required)
Benefit | Benefit Type | NPV
Benefit 1 [replace name]
Benefit 2 [replace name]
Benefit 3 [replace name]
Benefit 4 [replace name]
Benefit 5 [replace name]
Benefit 6 [replace name]
Total EST Benefit
EST Costs
(Add more rows as required)
Cost | Cost Type | NPV
Cost 1 [replace name]
Cost 2 [replace name]
Cost 3 [replace name]
Cost 4 [replace name]
Cost 5 [replace name]
Cost 6 [replace name]
Total EST Cost
NPV Net EST Benefit

## 02 Ex#1 - Annual Values
Use only such rows as are required. Insert additional columns as required.
| Benefits and Costs (Millions - 2023 $) | [7 empty] | (INDEX('05 Ex#1 - Inputs and Assumption'!$E$6:$H$53,MATCH($A8,'05 Ex#1 - Inputs and Assumption'!$E$6:$E$53,0),2))
Calendar Year | Benefit 1 Distribution Capacity Benefit | Cost 1 Contracting Costs | Cost 2 Incentive Costs | Cost 3 Equipment and System Costs | Cost 4 Operation and Maintenance Costs | Cost 5 Administrative Costs | Cost 6 Evaluation, Measurement, and Verification (EM&V)
2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Calculated Value
2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Manual Input
2025 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026 | 6.7509 | 0.037693 | 0.5277 | 0.14135 | 0.094232 | 0.047116 | 0.094232
2027 | 6.4531 | 0.036954 | 0.51735 | 0.13858 | 0.092385 | 0.046192 | 0.092385
2028 | 6.1643 | 0.036229 | 0.50721 | 0.13586 | 0.090573 | 0.045287 | 0.090573
2029 | 5.8844 | 0.035519 | 0.49726 | 0.1332 | 0.088797 | 0.044399 | 0.088797
2030 | 5.6131 | 0.034822 | 0.48751 | 0.13058 | 0.087056 | 0.043528 | 0.087056
2031 | -1.4007 | 0 | 0 | 0 | 0 | 0 | 0
2032 | -1.3577 | 0 | 0 | 0 | 0 | 0 | 0
2033 | -1.3157 | 0 | 0 | 0 | 0 | 0 | 0
2034 | -1.275 | 0 | 0 | 0 | 0 | 0 | 0
2035 | -1.2353 | 0 | 0 | 0 | 0 | 0 | 0
2036 | -1.1966 | 0 | 0 | 0 | 0 | 0 | 0
2037 | -1.159 | 0 | 0 | 0 | 0 | 0 | 0
2038 | -1.1225 | 0 | 0 | 0 | 0 | 0 | 0
2039 | -1.0869 | 0 | 0 | 0 | 0 | 0 | 0
2040 | -1.0522 | 0 | 0 | 0 | 0 | 0 | 0
2041 | -1.0186 | 0 | 0 | 0 | 0 | 0 | 0
2042 | -0.98579 | 0 | 0 | 0 | 0 | 0 | 0
2043 | -0.95392 | 0 | 0 | 0 | 0 | 0 | 0
2044 | -0.92292 | 0 | 0 | 0 | 0 | 0 | 0
2045 | -0.89276 | 0 | 0 | 0 | 0 | 0 | 0
2046 | -0.86343 | 0 | 0 | 0 | 0 | 0 | 0
2047 | -0.83492 | 0 | 0 | 0 | 0 | 0 | 0
2048 | -0.80718 | 0 | 0 | 0 | 0 | 0 | 0
2049 | -0.78022 | 0 | 0 | 0 | 0 | 0 | 0
2050 | -0.754 | 0 | 0 | 0 | 0 | 0 | 0
2051 | -0.7285 | 0 | 0 | 0 | 0 | 0 | 0
2052 | -0.70372 | 0 | 0 | 0 | 0 | 0 | 0
2053 | -0.67963 | 0 | 0 | 0 | 0 | 0 | 0
2054 | -0.65622 | 0 | 0 | 0 | 0 | 0 | 0
2055 | -0.63346 | 0 | 0 | 0 | 0 | 0 | 0
2056 | -0.61134 | 0 | 0 | 0 | 0 | 0 | 0
2057 | -0.58985 | 0 | 0 | 0 | 0 | 0 | 0
2058 | -0.56896 | 0 | 0 | 0 | 0 | 0 | 0
2059 | -0.54866 | 0 | 0 | 0 | 0 | 0 | 0
2060 | -0.52895 | 0 | 0 | 0 | 0 | 0 | 0
2061 | -0.50979 | 0 | 0 | 0 | 0 | 0 | 0
2062 | -0.49118 | 0 | 0 | 0 | 0 | 0 | 0
2063 | -0.47311 | 0 | 0 | 0 | 0 | 0 | 0
2064 | -0.45556 | 0 | 0 | 0 | 0 | 0 | 0
2065 | -0.43851 | 0 | 0 | 0 | 0 | 0 | 0
2066 | -0.42196 | 0 | 0 | 0 | 0 | 0 | 0
2067 | -0.33095 | 0 | 0 | 0 | 0 | 0 | 0
2068 | -0.24334 | 0 | 0 | 0 | 0 | 0 | 0
2069 | -0.15905 | 0 | 0 | 0 | 0 | 0 | 0
2070 | -0.077965 | 0 | 0 | 0 | 0 | 0 | 0
NPV | 11.2524 | 0.14366 | 2.0113 | 0.53873 | 0.35915 | 0.17958 | 0.35915

## 03 Ex#1 - Inputs and Assumption
Assumptions
Calculated Value
Economic Assumption | Value | Source |  | Manual Input
Debt % | 60% | Assumed
Equity % | 40%
Allowed Return on Equity (ROE) | 9.21% | Ontario Energy Board, 2024 Cost of Capital Parameters, October 2023
Deemed Long-Term Debt Rate | 4.88%
Federal Tax Rate | 15% | Government of Canada, Corporation Tax Rates, May 2022
Provincial Tax Rate | 11.5% | Government of Canada, Ontario – Provincial corporation tax, August 2023
Pre-tax Weighted Average Cost of Capital (WACC) | 7.94% | Calculated
O&M (percentage of capital expenditure) | 1.5% | Assumed
Inflation Rate | 2% | IESO Guide for NWAs
Social Discount Rate | 4%
Capital Recovery Factor | 11.94% | Calculated
LDC Calculations Inputs - Traditional Asset (Poles and Wires)
Inputs | Value | Source
Asset Life (years) | 40 | Assumed
Asset Cost (Millions $ - Nominal) | 60 | From previous experience
Contract DR Cost | 5 | From previous experience
Asset Depreciation | Straight-line 1.5% per year for 40 years | Assumed
Depreciation | 2.5% | Assumed
LDC Calculations Inputs - Non Wire Solution Costs and Benefits (Millions $)
Inputs | Value | Source
Contract DR Cost (2023 $) | 3.5915 | Per LDC Calculations
Distribution Capacity Benefit (2023 $) | 11.2524 | Per LDC Calculations
Contracting Costs (Nominal $) | 0.2 | From previous experience (Support to be provided by LDC) |  | Cost 1 Contracting Costs
Incentive Costs (Nominal $) | 2.8 | From previous experience (Support to be provided by LDC) |  | Cost 2 Incentive Costs
Equipment and System Costs (Nominal $) | 0.75 | From previous experience (Support to be provided by LDC) |  | Cost 3 Equipment and System Costs
Operation and Maintenance Costs (Nominal $) | 0.5 | From previous experience (Support to be provided by LDC) |  | Cost 4 Operation and Maintenance Costs
Administrative Costs (Nominal $) | 0.25 | From previous experience (Support to be provided by LDC) |  | Cost 5 Administrative Costs
Evaluation, Measurement, and Verification (EM&V) (Nominal $) | 0.5 | From previous experience (Support to be provided by LDC) |  | Cost 6 Evaluation, Measurement, and Verification (EM&V)
Actual Asset Costs - Millions $ (Nominal)
Year | Inflation Index | Traditional Poles and Wires | Contract DR Cost | Deferral via NWS
2023 | 100% | 10
2024 | 102% | 30
2025 | 104% | 20
2026 | 106.1% |  | 1
2027 | 108.2% |  | 1
2028 | 110.4% |  | 1 | 11.0408
2029 | 112.6% |  | 1 | 33.1224
2030 | 114.9% |  | 1 | 22.0816
2031 | 117.2%
2032 | 119.5%
2033 | 121.9%
2034 | 124.3%
2035 | 126.8%
2036 | 129.4%
2037 | 131.9%
2038 | 134.6%
2039 | 137.3%
2040 | 140%
2041 | 142.8%
2042 | 145.7%
2043 | 148.6%
2044 | 151.6%
2045 | 154.6%
2046 | 157.7%
2047 | 160.8%
2048 | 164.1%
2049 | 167.3%
2050 | 170.7%
2051 | 174.1%
2052 | 177.6%
2053 | 181.1%
2054 | 184.8%
2055 | 188.5%
2056 | 192.2%
2057 | 196.1%
2058 | 200%
2059 | 204%
2060 | 208.1%
2061 | 212.2%
2062 | 216.5%
2063 | 220.8%
2064 | 225.2%
2065 | 229.7%
2066 | 234.3%
2067 | 239%
2068 | 243.8%
2069 | 248.7%
2070 | 253.6%

## 04 Ex#1 - LDC Calculations
Local DR | [8 empty] | Alternative (Expansion) | [9 empty] | NPV Summary
[7 empty] | NPV | 3.5915 |  |  |  | NPV | 63.1897 |  |  |  | NPV | 51.9373
[8 empty] | Cost - Millions (2023 $) |  | Installed at Time of Need |  |  |  |  | Deferred Installation |  |  |  |  | Cost of NWA | 3.5915
[12 empty] | Nominal | 2023 $ | [6 empty] | Total Benefit of NWA | 11.2524
| Calendar Year | Cost 1 Contracting Costs | Cost 2 Incentive Costs | Cost 3 Equipment and System Costs | Cost 4 Operation and Maintenance Costs | Cost 5 Administrative Costs | Cost 6 Evaluation, Measurement, and Verification (EM&V) | Contract DR Cost | Calendar Year | Opening Net Book Value | Dep'n | CRF / Revenue Requirements | CRF / Revenue Requirements | Calendar Year | Opening Net Book Value | Dep'n | CRF / Revenue Requirements | CRF / Revenue Requirements |  | Net Benefit | 7.6608
| 2023 | [6 empty] | 0 | 2023 | 0 |  | 0 | 0 | 2023 |  |  | 0 | 0
| 2024 | [6 empty] | 0 | 2024 | 0 |  | 0 | 0 | 2024 |  |  | 0 | 0
| 2025 | [6 empty] | 0 | 2025 | 0 |  | 0 | 0 | 2025 |  |  | 0 | 0
| 2026 | 0.037693 | 0.5277 | 0.14135 | 0.094232 | 0.047116 | 0.094232 | 0.94232 | 2026 | 60 | -1.5 | 7.1641 | 6.7509 | 2026 |  |  | 0 | 0
| 2027 | 0.036954 | 0.51735 | 0.13858 | 0.092385 | 0.046192 | 0.092385 | 0.92385 | 2027 | 58.5 | -1.5 | 6.985 | 6.4531 | 2027 |  |  | 0 | 0
| 2028 | 0.036229 | 0.50721 | 0.13586 | 0.090573 | 0.045287 | 0.090573 | 0.90573 | 2028 | 57 | -1.5 | 6.8059 | 6.1643 | 2028 |  |  | 0 | 0
| 2029 | 0.035519 | 0.49726 | 0.1332 | 0.088797 | 0.044399 | 0.088797 | 0.88797 | 2029 | 55.5 | -1.5 | 6.6268 | 5.8844 | 2029 |  |  | 0 | 0
| 2030 | 0.034822 | 0.48751 | 0.13058 | 0.087056 | 0.043528 | 0.087056 | 0.87056 | 2030 | 54 | -1.5 | 6.4477 | 5.6131 | 2030 |  |  | 0 | 0
| 2031 | [7 empty] | 2031 | 52.5 | -1.5 | 6.2686 | 5.3502 | 2031 | 66.2448 | -1.6561 | 7.9098 | 6.7509
| 2032 | [7 empty] | 2032 | 51 | -1.5 | 6.0895 | 5.0954 | 2032 | 64.5887 | -1.6561 | 7.7121 | 6.4531
| 2033 | [7 empty] | 2033 | 49.5 | -1.5 | 5.9104 | 4.8486 | 2033 | 62.9326 | -1.6561 | 7.5143 | 6.1643
| 2034 | [7 empty] | 2034 | 48 | -1.5 | 5.7313 | 4.6095 | 2034 | 61.2765 | -1.6561 | 7.3166 | 5.8844
| 2035 | [7 empty] | 2035 | 46.5 | -1.5 | 5.5522 | 4.3779 | 2035 | 59.6204 | -1.6561 | 7.1188 | 5.6131
| 2036 | [7 empty] | 2036 | 45 | -1.5 | 5.3731 | 4.1536 | 2036 | 57.9642 | -1.6561 | 6.9211 | 5.3502
| 2037 | [7 empty] | 2037 | 43.5 | -1.5 | 5.194 | 3.9364 | 2037 | 56.3081 | -1.6561 | 6.7233 | 5.0954
| 2038 | [7 empty] | 2038 | 42 | -1.5 | 5.0149 | 3.7261 | 2038 | 54.652 | -1.6561 | 6.5256 | 4.8486
| 2039 | [7 empty] | 2039 | 40.5 | -1.5 | 4.8358 | 3.5226 | 2039 | 52.9959 | -1.6561 | 6.3278 | 4.6095
| 2040 | [7 empty] | 2040 | 39 | -1.5 | 4.6567 | 3.3256 | 2040 | 51.3398 | -1.6561 | 6.1301 | 4.3779
| 2041 | [7 empty] | 2041 | 37.5 | -1.5 | 4.4776 | 3.135 | 2041 | 49.6836 | -1.6561 | 5.9323 | 4.1536
| 2042 | [7 empty] | 2042 | 36 | -1.5 | 4.2985 | 2.9506 | 2042 | 48.0275 | -1.6561 | 5.7346 | 3.9364
| 2043 | [7 empty] | 2043 | 34.5 | -1.5 | 4.1194 | 2.7722 | 2043 | 46.3714 | -1.6561 | 5.5369 | 3.7261
| 2044 | [7 empty] | 2044 | 33 | -1.5 | 3.9403 | 2.5997 | 2044 | 44.7153 | -1.6561 | 5.3391 | 3.5226
| 2045 | [7 empty] | 2045 | 31.5 | -1.5 | 3.7612 | 2.4329 | 2045 | 43.0592 | -1.6561 | 5.1414 | 3.3256
| 2046 | [7 empty] | 2046 | 30 | -1.5 | 3.5821 | 2.2716 | 2046 | 41.403 | -1.6561 | 4.9436 | 3.135
| 2047 | [7 empty] | 2047 | 28.5 | -1.5 | 3.403 | 2.1157 | 2047 | 39.7469 | -1.6561 | 4.7459 | 2.9506
| 2048 | [7 empty] | 2048 | 27 | -1.5 | 3.2239 | 1.965 | 2048 | 38.0908 | -1.6561 | 4.5481 | 2.7722
| 2049 | [7 empty] | 2049 | 25.5 | -1.5 | 3.0448 | 1.8195 | 2049 | 36.4347 | -1.6561 | 4.3504 | 2.5997
| 2050 | [7 empty] | 2050 | 24 | -1.5 | 2.8657 | 1.6789 | 2050 | 34.7785 | -1.6561 | 4.1526 | 2.4329
| 2051 | [7 empty] | 2051 | 22.5 | -1.5 | 2.6866 | 1.5431 | 2051 | 33.1224 | -1.6561 | 3.9549 | 2.2716
| 2052 | [7 empty] | 2052 | 21 | -1.5 | 2.5075 | 1.412 | 2052 | 31.4663 | -1.6561 | 3.7572 | 2.1157
| 2053 | [7 empty] | 2053 | 19.5 | -1.5 | 2.3283 | 1.2854 | 2053 | 29.8102 | -1.6561 | 3.5594 | 1.965
| 2054 | [7 empty] | 2054 | 18 | -1.5 | 2.1492 | 1.1633 | 2054 | 28.1541 | -1.6561 | 3.3617 | 1.8195
| 2055 | [7 empty] | 2055 | 16.5 | -1.5 | 1.9701 | 1.0454 | 2055 | 26.4979 | -1.6561 | 3.1639 | 1.6789
| 2056 | [7 empty] | 2056 | 15 | -1.5 | 1.791 | 0.93175 | 2056 | 24.8418 | -1.6561 | 2.9662 | 1.5431
| 2057 | [7 empty] | 2057 | 13.5 | -1.5 | 1.6119 | 0.82213 | 2057 | 23.1857 | -1.6561 | 2.7684 | 1.412
| 2058 | [7 empty] | 2058 | 12 | -1.5 | 1.4328 | 0.71645 | 2058 | 21.5296 | -1.6561 | 2.5707 | 1.2854
| 2059 | [7 empty] | 2059 | 10.5 | -1.5 | 1.2537 | 0.61461 | 2059 | 19.8735 | -1.6561 | 2.3729 | 1.1633
| 2060 | [7 empty] | 2060 | 9 | -1.5 | 1.0746 | 0.51648 | 2060 | 18.2173 | -1.6561 | 2.1752 | 1.0454
| 2061 | [7 empty] | 2061 | 7.5 | -1.5 | 0.89552 | 0.42196 | 2061 | 16.5612 | -1.6561 | 1.9774 | 0.93175
| 2062 | [7 empty] | 2062 | 6 | -1.5 | 0.71641 | 0.33095 | 2062 | 14.9051 | -1.6561 | 1.7797 | 0.82213
| 2063 | [7 empty] | 2063 | 4.5 | -1.5 | 0.53731 | 0.24334 | 2063 | 13.249 | -1.6561 | 1.582 | 0.71645
| 2064 | [7 empty] | 2064 | 3 | -1.5 | 0.35821 | 0.15905 | 2064 | 11.5928 | -1.6561 | 1.3842 | 0.61461
| 2065 | [7 empty] | 2065 | 1.5 | -1.5 | 0.1791 | 0.077965 | 2065 | 9.9367 | -1.6561 | 1.1865 | 0.51648
| 2066 | [7 empty] | 2066 |  |  |  |  | 2066 | 8.2806 | -1.6561 | 0.98872 | 0.42196
| 2067 | [7 empty] | 2067 |  |  |  |  | 2067 | 6.6245 | -1.6561 | 0.79098 | 0.33095
| 2068 | [7 empty] | 2068 |  |  |  |  | 2068 | 4.9684 | -1.6561 | 0.59323 | 0.24334
| 2069 | [7 empty] | 2069 |  |  |  |  | 2069 | 3.3122 | -1.6561 | 0.39549 | 0.15905
| 2070 | [7 empty] | 2070 |  |  |  |  | 2070 | 1.6561 | -1.6561 | 0.19774 | 0.077965

## 99 LookUps (hidden)
DST Benefit Types
Distribution Capacity (Deferral or Avoidance Benefit)
Reliability (Net Avoided Outage Costs)
Resilience (Critical Load Benefits)
Innovation & Market
Transformation
Planning Value
DST Cost Types
DER Acquisition Cost
DER Operations, Maintenance, and Administrative (OM&A) Costs
Distribution System Ancillary Services Costs
Risks (Distribution System)
EST Benefit Types
DST Benefits
Transmission Capacity
Avoided Energy Costs
Avoided Generation Capacity Costs
Reliability (Net Avoided Outage Costs)
Resilience (Critical Load Benefits)
Planning Value
Innovation & Market Transformation
EST Cost Types
DST Costs
DER Acquisition Cost
DER (OM&A) Costs
Energy System Ancillary Costs
Risks (Energy System)